## Sheet1
DDW Notification Matrix
Incident Type | Director | EQDWMANG | RWAU | LHD | DE | DEM | EPA | SARS | ISAC | DWQ | PN Req.?
Natural Event | x | x | x | x | x | x | x |  |  |  | x
Water Outage | x | x | x | x | x | [5 empty] | x
Operational Failure | x | x | x | x | x
Security Threat | [7 empty] | x | x
Cyber Security Threat | [7 empty] | x | x
Tank Intrusion | x | x | x | x | x | [5 empty] | x
Chemical Spill/Overfeed | x | x | x | x | x | x | x |  |  | x | x
TC+/EC+ Samples | x | x | x | x | x |  | x |  |  |  | x
MCL Violation | x | x | x | x | x | [5 empty] | x
Consumer Reported Incidents
Major Incident | x | x | x | x | x | x | x |  |  |  | x