## Turb Compliance
Division of Drinking Water
Monthly Report for Water Treatment Technique Compliance - Turbidity
Conventional
| Date of 1st Day | 2016-03-01 |  |  |  | Filtration Technology: |  |  |  | Direct Filtration | Instructions:
| Month: | 2016-03-01 |  |  |  | Utility Name: |  |  |  | Membrane Filtration | 1) Enter the date of 1st day of the reporting month.
| Year: | 2016-03-01 |  |  |  | Treatment Plant: |  |  |  | Slow Sand Filtration | 2) Enter the System number
| System #: |  |  |  |  | Prepared by: |  |  |  | Bag Filtration | 2) Select the Filtration Technology (Note: select the cell to show the dropdown list)
[10 empty] | Diatomaceous Earth Filtration | 3) Enter the other fields as applicable
A. | Combined Filter Effluent (CFE) Turbidity | [8 empty] | Other (attach description)
| Record the date and turbidity value for any measurements exceeding the plant limit. Indicate whether the event | [8 empty] | None | Note: Cells with a gray background are calculated automatically, no data entry is required.
being reported also exceeds 1 NTU. Attach details of public notice for each event. If none, enter "none."
Max NTU
|  | Type of Event (Turbidity |  |  | Pertinent | Date |  | Date of
| Date | exceeds 1 NTU or plant |  | Duration | Turbidity | Reported |  | Public
|  | limit only) |  | (Hours) | Value | to State |  | Notice
none
none
none
none
B. | Individual Filter (IF) Turbidity
List the turbidity values in the following catagories for any individual filter exdeedances
|  | a* |  | b* Systems >10,000 only |  | c* |  | d*
|  | >1.0 NTU anytime |  | >0.5 NTU at 4 hrs |  | >1.0 NTU |  | >2.0 NTU
| Date | based upon two |  | based upon two |  | on same |  | on same
| of | consecutive |  | consecutive |  | filter for 3 |  | filter for 2
| Exceedance | 15 min reads |  | 15 min reads |  | months in a row |  | months in a row
|  | Filter # | NTU | Filter # | NTU | Filter # | NTU | Filter # | NTU
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
|  |  | none |  | none |  | none |  | none
*a. Action item - filter profile must be completed within 7 days of exceedance.
|  |  | Date of profile: | n/a
*b. Action item - filter profile must be completed within 7 days of exceedance.
|  |  | Date of profile: | n/a
*c. Action item - filter self assessment must be completed within 14 days of exceedance.
|  |  | Date of self assesment: | n/a
*d. Action item - Systems >10,000 -third party comprehensive preformance evaulation arranged for within 30 days
and must be completed within 90 days of exceedance
Systems <10,000 -third party comprehensive preformance evaulation arranged for within 60 days
and must be completed within 120 days of exceedance
C. | Turbidimeter Calibration Data
Please record the date of the following turbidimeter calibrations.
All turbidimeters on CFE and IF must be checked for accuracy or calibrated monthly.
Combined Filter Effluent (CFE) Turbidimeter Last Checked for Accuracy or Calibrated:
Individual Filter (IF) Turbidimeter Last Checked for Accuracy or Calibrated:
Notify DEQ within 24 hours of any turbidity exceedances (801-536-4200)
updated: 3/14/2016

## Turb Data
Monthly Report for Water Treatment Technique Compliance - Turbidity
| Month: | 2016-03-01 |  |  |  |  | Utility Name: |  |  |  | Conventional
| Year: | 2016-03-01 |  |  |  |  | Treatment Plant: |  |  |  | Direct Filtration
| System Number: | [5 empty] | Filtration Technology: |  |  |  | Membrane Filtration
[7 empty] | Prepared by: |  |  |  | Slow Sand Filtration
Bag Filtration
|  | 4 Hour Combined Filter Turbidity Readings | [8 empty] | Diatomaceous Earth Filtration
| Hours | 1st - 4 hr | 2nd - 4 hr | 3rd - 4 hr | 4th - 4 hr | 5th - 4 hr | 6th - 4 hr | Daily | Number | Number | Other (attach description)
Date | of | Max NTU | Max NTU | Max NTU | Max NTU | Max NTU | Max NTU | Max | Readings | Turbidity | None
| Operation | Reading | Reading | Reading | Reading | Reading | Reading | (NTU) | <0.3 NTU | Readings
2016-03-01 | 24 | [6 empty] | 0 | 0 | 0
2016-03-02 | 24 | [6 empty] | 0 | 0 | 0
2016-03-03 | 24 | [6 empty] | 0 | 0 | 0
2016-03-04 | 24 | [6 empty] | 0 | 0 | 0
2016-03-05 | 24 | [6 empty] | 0 | 0 | 0
2016-03-06 | 24 | [6 empty] | 0 | 0 | 0
2016-03-07 | 24 | [6 empty] | 0 | 0 | 0
2016-03-08 | 24 | [6 empty] | 0 | 0 | 0
2016-03-09 | 24 | [6 empty] | 0 | 0 | 0
2016-03-10 | 24 | [6 empty] | 0 | 0 | 0
2016-03-11 | 24 | [6 empty] | 0 | 0 | 0
2016-03-12 | 24 | [6 empty] | 0 | 0 | 0
2016-03-13 | 24 | [6 empty] | 0 | 0 | 0
2016-03-14 | 24 | [6 empty] | 0 | 0 | 0
2016-03-15 | 24 | [6 empty] | 0 | 0 | 0
2016-03-16 | 24 | [6 empty] | 0 | 0 | 0
2016-03-17 | 24 | [6 empty] | 0 | 0 | 0
2016-03-18 | 24 | [6 empty] | 0 | 0 | 0
2016-03-19 | 24 | [6 empty] | 0 | 0 | 0
2016-03-20 | 24 | [6 empty] | 0 | 0 | 0
2016-03-21 | 24 | [6 empty] | 0 | 0 | 0
2016-03-22 | 24 | [6 empty] | 0 | 0 | 0
2016-03-23 | 24 | [6 empty] | 0 | 0 | 0
2016-03-24 | 24 | [6 empty] | 0 | 0 | 0
2016-03-25 | 24 | [6 empty] | 0 | 0 | 0
2016-03-26 | 24 | [6 empty] | 0 | 0 | 0
2016-03-27 | 24 | [6 empty] | 0 | 0 | 0
2016-03-28 | 24 | [6 empty] | 0 | 0 | 0
2016-03-29 | 24 | [6 empty] | 0 | 0 | 0
2016-03-30 | 24 | [6 empty] | 0 | 0 | 0
2016-03-31 | 24 | [6 empty] | 0 | 0 | 0
[7 empty] | Total Number of Turbidity Measurements Taken: | 0
[7 empty] | Total Number of Turbidity Less Than 0.3 NTU | 0
[7 empty] | Percent of Turbidity Measurements Less Than 0.3 NTU: | #DIV/0!
Individual filter turbidity data (15 minute) compiled and checked for compliance (Y/N):
Formulas:
Date = [Date, row above]+1

## WQP Report
Monthly Report for Water Compliance - Water Quality Parameters
| Month: | 2016-03-01 |  | Utility Name: |  |  | Conventional
| Year: | 2016-03-01 |  | Treatment Plant: |  |  | Direct Filtration
| System Number: |  |  | Filtration Technology: |  |  | Membrane Filtration
|  |  |  | Prepared by: |  |  | Slow Sand Filtration
Bag Filtration
Diatomaceous Earth Filtration
Other (attach description)
|  | Raw Water |  |  | Finished Water Data |  | None
Date | Temperature | Max Turb |  | Temperature | Max Turb
| (°C) | (NTU) | pH | (°C) | (NTU) | pH
2016-03-01 |  |  |  |  | 0
2016-03-02 |  |  |  |  | 0
2016-03-03 |  |  |  |  | 0
2016-03-04 |  |  |  |  | 0
2016-03-05 |  |  |  |  | 0
2016-03-06 |  |  |  |  | 0
2016-03-07 |  |  |  |  | 0
2016-03-08 |  |  |  |  | 0
2016-03-09 |  |  |  |  | 0
2016-03-10 |  |  |  |  | 0
2016-03-11 |  |  |  |  | 0
2016-03-12 |  |  |  |  | 0
2016-03-13 |  |  |  |  | 0
2016-03-14 |  |  |  |  | 0
2016-03-15 |  |  |  |  | 0
2016-03-16 |  |  |  |  | 0
2016-03-17 |  |  |  |  | 0
2016-03-18 |  |  |  |  | 0
2016-03-19 |  |  |  |  | 0
2016-03-20 |  |  |  |  | 0
2016-03-21 |  |  |  |  | 0
2016-03-22 |  |  |  |  | 0
2016-03-23 |  |  |  |  | 0
2016-03-24 |  |  |  |  | 0
2016-03-25 |  |  |  |  | 0
2016-03-26 |  |  |  |  | 0
2016-03-27 |  |  |  |  | 0
2016-03-28 |  |  |  |  | 0
2016-03-29 |  |  |  |  | 0
2016-03-30 |  |  |  |  | 0
2016-03-31 |  |  |  |  | 0
AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
MAX | 0 | 0 | 0 | 0 | 0 | 0
MIN | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Date = [Date, row above]+1

## DISINFECTION REPORT
Monthly Report for Water Treatment Technique Compliance - Disinfection
| Month: | 2016-03-01 |  |  | Utility Name: |  |  |  | Conventional
| Year: | 2016-03-01 |  |  | Treatment Plant: |  |  |  | Direct Filtration
| System Number: |  |  |  | Filtration Technology: |  |  |  | Membrane Filtration
[5 empty] | Prepared by: |  |  |  | Slow Sand Filtration
Bag Filtration
D. | Record the daily minimum disinfectant residual at the point-of-entry (POE) to the distribution system | [7 empty] | Diatomaceous Earth Filtration
| and the minimum daily plant total inactivation ratio (CTprovided/CTrequired). | [7 empty] | Other (attach description)
None
|  | Min POE |  |  |  | Min POE
|  | Cl2 Res | Total Inactivation |  |  | Cl2 Res | Total Inactivation
| Date | (mg/L) | Ratio |  | Date | (mg/L) | Ratio
| 2016-03-01 |  | 0 |  | 2016-03-16 |  | 0
| 2016-03-02 |  | 0 |  | 2016-03-17 |  | 0
| 2016-03-03 |  | 0 |  | 2016-03-18 |  | 0
| 2016-03-04 |  | 0 |  | 2016-03-19 |  | 0
| 2016-03-05 |  | 0 |  | 2016-03-20 |  | 0
| 2016-03-06 |  | 0 |  | 2016-03-21 |  | 0
| 2016-03-07 |  | 0 |  | 2016-03-22 |  | 0
| 2016-03-08 |  | 0 |  | 2016-03-23 |  | 0
| 2016-03-09 |  | 0 |  | 2016-03-24 |  | 0
| 2016-03-10 |  | 0 |  | 2016-03-25 |  | 0
| 2016-03-11 |  | 0 |  | 2016-03-26 |  | 0
| 2016-03-12 |  | 0 |  | 2016-03-27 |  | 0
| 2016-03-13 |  | 0 |  | 2016-03-28 |  | 0
| 2016-03-14 |  | 0 |  | 2016-03-29 |  | 0
| 2016-03-15 |  | 0 |  | 2016-03-30 |  | 0
[5 empty] | 2016-03-31 |  | 0
E. | Record the date of occurrence, duration and date reported for each time the disinfectant residual
was less than 0.2 mg/L or the total Inactivation Ratio was less than 1. Attach details of public
notice for each event. If none, enter "none".
|  | Type of Event |  | Pertinent Residual or
| Date | (Residual or Total | Duration | Total Inactivation |  | Date Reported | Date of Public
|  | Inactivation) | (Hours) | Ratio Value |  | to State | Notice
none
none
none
none
F. | Distribution System Disinfectant Residual Criteria
[6 empty] | Number of sites where disinfectant residual measurements were made | A =
[6 empty] | Number of sites where HPC samples were taken instead of residual measurements | B =
[6 empty] | Number of sites where no residual was detected and no HPC sample was taken | C =
[6 empty] | Number of sites where no residual was detected and HPC exceeded 500 | D =
[6 empty] | Number of sites where no residual measurement was made and HPC exceeded 500 | E =
| Violation percentage for this month* |  |  | #DIV/0! | Violation percentage for last month* |  |  | 0
Violation percentage = 100x(C+D+E)/(A+B)

## SEQUENCE 1
FIRST DISINFECTION SEQUENCE | [11 empty] | 65.3651 | -25.1799 | 5.3729 | 0.13583 | -21.0607 | 8.7299 | -1.1983 | 0.053508
| Month: | 2016-03-01 |  |  | Utility Name:
| Year: | 2016-03-01 |  |  | Treatment Plant:
| System Number: |  |  |  | Prepared by: | [6 empty] | -204.2399 | 169.0885 | -35.8183 | 2.3157 | 40.0957 | -16.7906 | 2.3238 | -0.10631
[12 empty] | 162.8669 | -110.8682 | 21.5511 | -1.2712 | -22.277 | 9.3493 | -1.2972 | 0.059385
[12 empty] | -35.0942 | 21.8017 | -4.0306 | 0.2291 | 3.7308 | -1.5712 | 0.21879 | -0.010046
[12 empty] | -624.0289 | 260.5181 | -36.1906 | 1.6036 | 0.94149 | -0.38955 | 0.053357 | -0.0023787
|  | Log Inactivation Credit assigned by the Division of Drinking Water for this treatment facility: | [5 empty] | 2.5 |  |  |  | 1141.9863 | -489.7483 | 69.4313 | -3.258 | -1.7929 | 0.74862 | -0.10331 | 0.0047132
[12 empty] | -599.3181 | 259.4069 | -37.1033 | 1.7463 | 1.0001 | -0.4181 | 0.057795 | -0.002637
| Inactivation Ratio Calculation - All data for the same point in time, and at the end of the sequence. | [10 empty] | 97.7448 | -42.7328 | 6.1666 | -0.29213 | -0.16736 | 0.070161 | -0.0097272 | 0.00044499
[12 empty] | 193.2259 | -80.3113 | 11.0611 | -0.49461 | -0.014746 | 0.0060931 | -0.00083331 | 3.7096e-05
|  | Peak Flow | Peak Flow Cl2 |  |  |  |  | Inactivation |  |  |  | -364.4075 | 153.4256 | -21.3486 | 0.98198 | 0.027982 | -0.011662 | 0.0016063 | -7.3152e-05
| Date | Detention Time | Residual |  | Temperature | CT Provided | CT Required | Ratio |  |  |  | 199.4472 | -84.3243 | 11.7853 | -0.54307 | -0.015597 | 0.0065043 | -0.00089704 | 4.0845e-05
|  | (Minutes) | (mg/l) | pH | (Deg C) | (min.*mg/L) | (min.*mg/L) | Provided | Cl2 | pH | Temp | -33.2159 | 14.1164 | -1.9828 | 0.09174 | 0.0026014 | -0.0010874 | 0.00015037 | -6.8638e-06
| 1 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 2 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 3 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 4 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 5 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 6 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 7 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 8 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 9 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 10 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 11 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 12 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 13 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 14 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 15 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 16 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 17 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 18 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 19 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 20 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 21 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 22 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 23 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 24 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 25 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 26 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 27 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 28 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 29 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 30 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 31 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
| MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SEQUENCE 2
SECOND DISINFECTION SEQUENCE | [11 empty] | 65.3651 | -25.1799 | 5.3729 | 0.13583 | -21.0607 | 8.7299 | -1.1983 | 0.053508
| Month: | 2016-03-01 |  |  | Utility Name: | [6 empty] | -204.2399 | 169.0885 | -35.8183 | 2.3157 | 40.0957 | -16.7906 | 2.3238 | -0.10631
| Year: | 2016-03-01 |  |  | Treatment Plant: | [6 empty] | 162.8669 | -110.8682 | 21.5511 | -1.2712 | -22.277 | 9.3493 | -1.2972 | 0.059385
| System Number: |  |  |  | Prepared by: | [6 empty] | -35.0942 | 21.8017 | -4.0306 | 0.2291 | 3.7308 | -1.5712 | 0.21879 | -0.010046
[12 empty] | -624.0289 | 260.5181 | -36.1906 | 1.6036 | 0.94149 | -0.38955 | 0.053357 | -0.0023787
|  | Log Inactivation Credit assigned by the Division of Drinking Water for this treatment facility: | [5 empty] | 2.5 |  |  |  | 1141.9863 | -489.7483 | 69.4313 | -3.258 | -1.7929 | 0.74862 | -0.10331 | 0.0047132
[12 empty] | -599.3181 | 259.4069 | -37.1033 | 1.7463 | 1.0001 | -0.4181 | 0.057795 | -0.002637
| Inactivation Ratio Calculation - All data for the same point in time, and at the end of the sequence. | [10 empty] | 97.7448 | -42.7328 | 6.1666 | -0.29213 | -0.16736 | 0.070161 | -0.0097272 | 0.00044499
[12 empty] | 193.2259 | -80.3113 | 11.0611 | -0.49461 | -0.014746 | 0.0060931 | -0.00083331 | 3.7096e-05
|  | Peak Flow | Peak Flow Cl2 |  |  |  |  | Inactivation |  |  |  | -364.4075 | 153.4256 | -21.3486 | 0.98198 | 0.027982 | -0.011662 | 0.0016063 | -7.3152e-05
| Date | Detention Time | Residual |  | Temperature | CT Provided | CT Required | Ratio |  |  |  | 199.4472 | -84.3243 | 11.7853 | -0.54307 | -0.015597 | 0.0065043 | -0.00089704 | 4.0845e-05
|  | (Minutes) | (mg/l) | pH | (Deg C) | (min.*mg/L) | (min.*mg/L) | Provided | Cl2 | pH | Temp | -33.2159 | 14.1164 | -1.9828 | 0.09174 | 0.0026014 | -0.0010874 | 0.00015037 | -6.8638e-06
| 1 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 2 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 3 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 4 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 5 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 6 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 7 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 8 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 9 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 10 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 11 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 12 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 13 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 14 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 15 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 16 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 17 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 18 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 19 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 20 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 21 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 22 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 23 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 24 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 25 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 26 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 27 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 28 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 29 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 30 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 31 |  |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| AVG | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
| MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SEQUENCE 3
THIRD DISINFECTION SEQUENCE | [11 empty] | 65.3651 | -25.1799 | 5.3729 | 0.13583 | -21.0607 | 8.7299 | -1.1983 | 0.053508
| Month: | 2016-03-01 |  |  | Utility Name: | [6 empty] | -204.2399 | 169.0885 | -35.8183 | 2.3157 | 40.0957 | -16.7906 | 2.3238 | -0.10631
| Year: | 2016-03-01 |  |  | Treatment Plant: | [6 empty] | 162.8669 | -110.8682 | 21.5511 | -1.2712 | -22.277 | 9.3493 | -1.2972 | 0.059385
| System Number: |  |  |  | Prepared by: | [6 empty] | -35.0942 | 21.8017 | -4.0306 | 0.2291 | 3.7308 | -1.5712 | 0.21879 | -0.010046
[12 empty] | -624.0289 | 260.5181 | -36.1906 | 1.6036 | 0.94149 | -0.38955 | 0.053357 | -0.0023787
|  | Log Inactivation Credit assigned by the Division of Drinking Water for this treatment facility: | [5 empty] | 2.5 |  |  |  | 1141.9863 | -489.7483 | 69.4313 | -3.258 | -1.7929 | 0.74862 | -0.10331 | 0.0047132
[12 empty] | -599.3181 | 259.4069 | -37.1033 | 1.7463 | 1.0001 | -0.4181 | 0.057795 | -0.002637
| Inactivation Ratio Calculation - All data for the same point in time, and at the end of the sequence. | [10 empty] | 97.7448 | -42.7328 | 6.1666 | -0.29213 | -0.16736 | 0.070161 | -0.0097272 | 0.00044499
[12 empty] | 193.2259 | -80.3113 | 11.0611 | -0.49461 | -0.014746 | 0.0060931 | -0.00083331 | 3.7096e-05
|  | Peak Flow | Peak Flow Cl2 |  |  |  |  | Inactivation |  |  |  | -364.4075 | 153.4256 | -21.3486 | 0.98198 | 0.027982 | -0.011662 | 0.0016063 | -7.3152e-05
| Date | Detention Time | Residual |  | Temperature | CT Provided | CT Required | Ratio |  |  |  | 199.4472 | -84.3243 | 11.7853 | -0.54307 | -0.015597 | 0.0065043 | -0.00089704 | 4.0845e-05
|  | (Minutes) | (mg/l) | pH | (Deg C) | (min.*mg/L) | (min.*mg/L) | Provided | Cl2 | pH | Temp | -33.2159 | 14.1164 | -1.9828 | 0.09174 | 0.0026014 | -0.0010874 | 0.00015037 | -6.8638e-06
| 1 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 2 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 3 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 4 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 5 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 6 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 7 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 8 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 9 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 10 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 11 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 12 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 13 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 14 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 15 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 16 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 17 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 18 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 19 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 20 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 21 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 22 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 23 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 24 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 25 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 26 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 27 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 28 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 29 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 30 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 31 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| AVG | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
| MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SEQUENCE 4
FOURTH DISINFECTION SEQUENCE | [11 empty] | 65.3651 | -25.1799 | 5.3729 | 0.13583 | -21.0607 | 8.7299 | -1.1983 | 0.053508
| Month: | 2016-03-01 |  |  | Utility Name: | [6 empty] | -204.2399 | 169.0885 | -35.8183 | 2.3157 | 40.0957 | -16.7906 | 2.3238 | -0.10631
| Year: | 2016-03-01 |  |  | Treatment Plant: | [6 empty] | 162.8669 | -110.8682 | 21.5511 | -1.2712 | -22.277 | 9.3493 | -1.2972 | 0.059385
| System Number: |  |  |  | Prepared by: | [6 empty] | -35.0942 | 21.8017 | -4.0306 | 0.2291 | 3.7308 | -1.5712 | 0.21879 | -0.010046
[12 empty] | -624.0289 | 260.5181 | -36.1906 | 1.6036 | 0.94149 | -0.38955 | 0.053357 | -0.0023787
|  | Log Inactivation Credit assigned by the Division of Drinking Water for this treatment facility: | [5 empty] | 2.5 |  |  |  | 1141.9863 | -489.7483 | 69.4313 | -3.258 | -1.7929 | 0.74862 | -0.10331 | 0.0047132
[12 empty] | -599.3181 | 259.4069 | -37.1033 | 1.7463 | 1.0001 | -0.4181 | 0.057795 | -0.002637
| Inactivation Ratio Calculation - All data for the same point in time, and at the end of the sequence. | [10 empty] | 97.7448 | -42.7328 | 6.1666 | -0.29213 | -0.16736 | 0.070161 | -0.0097272 | 0.00044499
[12 empty] | 193.2259 | -80.3113 | 11.0611 | -0.49461 | -0.014746 | 0.0060931 | -0.00083331 | 3.7096e-05
|  | Peak Flow | Peak Flow Cl2 |  |  |  |  | Inactivation |  |  |  | -364.4075 | 153.4256 | -21.3486 | 0.98198 | 0.027982 | -0.011662 | 0.0016063 | -7.3152e-05
| Date | Detention Time | Residual |  | Temperature | CT Provided | CT Required | Ratio |  |  |  | 199.4472 | -84.3243 | 11.7853 | -0.54307 | -0.015597 | 0.0065043 | -0.00089704 | 4.0845e-05
|  | (Minutes) | (mg/l) | pH | (Deg C) | (min.*mg/L) | (min.*mg/L) | Provided | Cl2 | pH | Temp | -33.2159 | 14.1164 | -1.9828 | 0.09174 | 0.0026014 | -0.0010874 | 0.00015037 | -6.8638e-06
| 1 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 2 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 3 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 4 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 5 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 6 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 7 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 8 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 9 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 10 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 11 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 12 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 13 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 14 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 15 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 16 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 17 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 18 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 19 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 20 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 21 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 22 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 23 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 24 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 25 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 26 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 27 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 28 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 29 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 30 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 31 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| AVG | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
| MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0

## SEQUENCE 5
FIFTH DISINFECTION SEQUENCE | [11 empty] | 65.3651 | -25.1799 | 5.3729 | 0.13583 | -21.0607 | 8.7299 | -1.1983 | 0.053508
| Month: | 2016-03-01 |  |  | Utility Name: | [6 empty] | -204.2399 | 169.0885 | -35.8183 | 2.3157 | 40.0957 | -16.7906 | 2.3238 | -0.10631
| Year: | 2016-03-01 |  |  | Treatment Plant: | [6 empty] | 162.8669 | -110.8682 | 21.5511 | -1.2712 | -22.277 | 9.3493 | -1.2972 | 0.059385
| System Number: |  |  |  | Prepared by: | [6 empty] | -35.0942 | 21.8017 | -4.0306 | 0.2291 | 3.7308 | -1.5712 | 0.21879 | -0.010046
[12 empty] | -624.0289 | 260.5181 | -36.1906 | 1.6036 | 0.94149 | -0.38955 | 0.053357 | -0.0023787
|  | Log Inactivation Credit assigned by the Division of Drinking Water for this treatment facility: | [5 empty] | 2.5 |  |  |  | 1141.9863 | -489.7483 | 69.4313 | -3.258 | -1.7929 | 0.74862 | -0.10331 | 0.0047132
[12 empty] | -599.3181 | 259.4069 | -37.1033 | 1.7463 | 1.0001 | -0.4181 | 0.057795 | -0.002637
| Inactivation Ratio Calculation - All data for the same point in time, and at the end of the sequence. | [10 empty] | 97.7448 | -42.7328 | 6.1666 | -0.29213 | -0.16736 | 0.070161 | -0.0097272 | 0.00044499
[12 empty] | 193.2259 | -80.3113 | 11.0611 | -0.49461 | -0.014746 | 0.0060931 | -0.00083331 | 3.7096e-05
|  | Peak Flow | Peak Flow Cl2 |  |  |  |  | Inactivation |  |  |  | -364.4075 | 153.4256 | -21.3486 | 0.98198 | 0.027982 | -0.011662 | 0.0016063 | -7.3152e-05
| Date | Detention Time | Residual |  | Temperature | CT Provided | CT Required | Ratio |  |  |  | 199.4472 | -84.3243 | 11.7853 | -0.54307 | -0.015597 | 0.0065043 | -0.00089704 | 4.0845e-05
|  | (Minutes) | (mg/l) | pH | (Deg C) | (min.*mg/L) | (min.*mg/L) | Provided | Cl2 | pH | Temp | -33.2159 | 14.1164 | -1.9828 | 0.09174 | 0.0026014 | -0.0010874 | 0.00015037 | -6.8638e-06
| 1 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 2 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 3 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 4 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 5 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 6 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 7 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 8 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 9 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 10 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 11 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 12 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 13 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 14 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 15 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 16 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 17 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 18 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 19 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 20 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 21 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 22 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 23 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 24 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 25 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 26 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 27 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 28 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 29 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 30 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| 31 | 0 |  |  |  | 0 | 0 | 0 | 3 | 9 | 25 | -78.6643 | 294.9548 | -341.0624 | 189.1888 | -9.2168 | 323.0829 | -764.1573 | 495.2188 | 922.6816 | -3706.8846 | 4878.5536 | -2111.988 | -827.9992 | 3162.0255 | -3968.2331 | 1639.9501
| AVG | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0
| MAX | 0 | 0 | 0 | 0 | 0 | 0 | 0
| MIN | 0 | 0 | 0 | 0 | 0 | 0 | 0