| UTAH UST PROGRAM TEMPORARY CLOSURE NOTICE (REVISED 12/05) |  | FACILITY ID# |  |
| --- | --- | --- | --- |
| State Use Only |
| Date Received |
| Date Processed | by |
| Temporary Closure Notice prepared at the request of the owner/operator (identified below) by |
| of (company name) | Phone # |
| Address | City | State | Zip |

| OWNER AND FACILITY INFORMATION |
| --- |
| Tank Owner | Phone # |
| Address | City | State | Zip |
| Facility Name |
| Address | City | State | Zip |
| Contact person | Phone # |
| Number of regulated USTs at this facility: | Number of regulated USTs to be temporarily closed: |

### TANKS TEMPORARILY CLOSED

| Tank # |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Type (Steel,FRP,etc.) |  |  |  |  |  |  |
| Date Installed |  |  |  |  |  |  |
| Capacity (Gallons) |  |  |  |  |  |  |
| Substance stored* |  |  |  |  |  |  |
| Date last operated |  |  |  |  |  |  |
| Inches of Product remaining in tank (to the nearest 1/8 inch) |  |  |  |  |  |  |
| * Indicate the specific substance stored in each tank to be closed (regular, unleaded, diesel, waste oil, etc.) |
| Vent lines open and functioning | Product lines capped/secured | Pumps, manways secured |
| Fuel was emptied to less than 1" | Corrosion protection is operating | Release detection equipment is operating |

#### Temporary closure requirements:

When an UST system is temporarily closed, the owner/operator must:

●  continue operation and maintenance of corrosion protection on tanks, lines, flex connectors, and other metallic system components.

●  continue operation and maintenance of release detection  OR  empty the UST system to less than 1 inch of product.

When an UST system is temporarily closed for 3 months or more, the owner/operator must also:

●  leave vent lines open and functioning

●  cap and secure all other lines, pumps, manways, and ancillary equipment

●  send a properly-completed Temporary Closure Notice form to the DERR/UST Section.

I certify under penalty of law that I am the Owner of the tank(s) described above and that I am familiar with the information on this form and that it is true, accurate and complete and further, that the procedures described herein were followed during tank closure.

| Full Name of UST Owner: |  |
| --- | --- |
| Signature of UST Owner: |  | Date: |

Return completed Temporary Closure Notice form to:

State of Utah Dept. of Environmental Quality

Division of Environmental Response and Remediation / UST Section

PO Box 144840

195 North 1950 West

Salt Lake City, Utah 84114-4840				Closnoticetemp1205.doc