Instructions for Monitoring Violation Notice - Non Community (Tier 3 – Coliform)

Template on Reverse

Since most monitoring violations are included in Tier 3, you must provide public notice to persons served within one year after you learn of the violation (R309-220-7(2)). Multiple monitoring violations can be serious, check with the Division of Drinking Water (801-536-4200) to make sure you meet all the public notification requirements.

Non-community systems must use one of the following methods (R309-220-7(3)(b)):

- Posting in conspicuous locations

- Hand delivery

- Mail

In addition, you must use another method reasonably calculated to reach others if they would not be reached by the first method (R309-220-7(3)).  Such methods could include newsletters, e-mail, or delivery to community organizations.  The language to encourage distribution of the notice is included on this notice; however, if you post this notice, omit the mandatory language to encourage distribution, as it is not needed since posting makes the notice available to everyone who passes by.

You must post the notice until the violation is resolved. If the violation has been resolved, you must post the notice for at least one week (R309-220-7(2)). If you mail, post, or hand deliver, print your notice on letterhead, if available.

The notice on the reverse is appropriate for an annual notice combining notification for several violations, as well as for notices for individual violations. This example presents violations in a table; however, you may write out an explanation for each violation if you wish.

You may need to modify the notice if you had any monitoring violations for which monitoring later showed a maximum contaminant level or other violation. In such cases, you should refer to the public notice you issued at that time.

Include in your notice the standard language for monitoring and testing procedure violations in italics (R309-220-8(4)(b)).  If you modify the notice, you may not alter this mandatory language.

Corrective Actions

In your notice describe corrective actions you took or are taking. Listed below are some steps commonly taken by water systems with monitoring violations. Choose the appropriate language, or develop your own:

- We have since taken the required samples, as described in the last column of the table above. The samples showed we are meeting drinking water standards.

- We have since taken the required samples, as described in the last column of the table above. The sample for [contaminant] exceeded the limit. [Describe corrective action; use information from public notice prepared for violating the limit.]

- We plan to take the required samples soon, as described in the last column of the table above.

After Issuing the Notice

Make sure to send the Division of Drinking Water (PO Box 144830, SLC, UT  84114-4830) a copy of each type of notice and a certification that you have met all the public notice requirements within ten days after issuing the notice (R309-105-16(3)).

DRINKING WATER NOTICE

Monitoring requirements not met for [system]

We violated a drinking water standard. Even though this was not an emergency, as our customers, you have a right to know what happened and what we are doing to correct this situation.

We are required to monitor your drinking water for specific contaminants on a regular basis. Results of regular monitoring are an indicator of whether or not our drinking water meets health standards. During [compliance period] we ['did not monitor' or 'did not complete all monitoring'] for [contaminant(s)] and therefore cannot be sure of the quality of our drinking water during that time.

What This Means

There is nothing you need to do at this time. The table below lists the contaminant(s) we did not properly test for, how often we are supposed to sample for [it/them] and how many samples we are supposed to take, how many samples we took, when samples should have been taken, and the date on which follow-up samples were (or will be) taken.

| Contaminant | Required sampling frequency | Number of samples taken | When all samples should have been taken | When samples were or will be taken |
| --- | --- | --- | --- | --- |
| Coliform (example) | twice per month | 1 | July 1, July 15, August 1 | July 1, August 1 |

Steps We Are Taking

[Describe corrective action.] For more information, please contact [name of contact] of [system] at [phone number] or [location/address].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

State Water System ID#: __________.  Date distributed: