[Public Entity]

Grease, Oil and Sand Management Program

Purpose:

The purpose of this program is to provide for the control and management of grease, oil and sand discharges to the District collection system.  This program will provide a means to reduce interference with the collection system operation and pass through at the treatment plant.

Regulatory Authority:

Regulatory authority to implement this program is found in the Code of Federal Regulations in 40 CFR 403, General Pretreatment Regulations.  State authority for the program is given in the Utah Administrative Code R317-8-8, Pretreatment.  Local Authority is found in ____________________________________________________.

Program Implementation:

This program shall be implemented in such a manner as to minimize the impact on businesses which may be affected by this program.  In all cases [public entity] will maintain a uniform decision making process.  [Public Entity] shall allow for appeals of program requirements in accordance with the appeal process approved by [public entity].

The following steps detail the procedure that [public entity] personnel shall follow in implementing this program.

Evaluation:

[Public Entity] staff will evaluate an industrial user (IU) discharge to determine if grease, oil or sand management is required at the following events:

Issuance of a construction or remodeling building permit.

When the collection line in front of the business is CCTV inspected as part of the sanitary sewer system preventative maintenance program.

When a downstream sanitary sewer pipeline plugs due to oil, grease or sand.

No further action will be taken if it is determined that no potential exists for significant enrichment of the wastewater with grease, oil or sand.  Enrichment is defined as a discharge with greater volume or concentration of grease, oil or sand than that discharged from a typical residential connection.   For oil and grease, the typical residential discharge has less than 100 mg/L of oil and grease for any sample taken.  Greater concentrations would be enrichment.  Also, a significant buildup of oil and grease in the lateral would indicate enrichment.  Sand and dirt is not typically discharged from a residential connection.  Any potential for sand or dirt discharge would be enrichment.

Implementation:

IU’s which are determined to enrich or have the potential to enrich the wastewater with grease, oil, or sand will be required to development a management plan in accordance with the following tracks.

TRACK 1

This track is available for IU’s which exist at the time of program implementation.  However, not all existing IU’s may be permitted to use it.  Determination will be made on a case by case basis.  IU’s on this track will be permitted to either pay a contractor or [public entity] to clean the main sewer line from their place of business to the nearest trunk line.  A trunk line is any sewer line which has an inside diameter of eighteen inches or larger or has been classified as a trunk line by [public entity].  Cleaning frequency will be determined by inspections performed by the [public entity].

TRACK 2

This track requires the IU to install and maintain a grease, oil and/or sand trap on their premises.  Quarterly cleaning reports may be required at the discretion of [public entity].  [Public entity] shall inspect and test the grease trap on a periodic basis.  The following fees shall apply:

Inspection Fee	$XX.00

Testing Fee		$XX.00

Should the testing reveal grease and oil in excess of 100 mg/L, a fine of $X.XX for each pound of oil and grease discharged for the past reporting period shall be assessed.  The pounds of grease and oil shall be determined by using the following equation:

(Total Reporting Period water use in MG)(mg/L O&G - 100)(8.34)

The IU will also be ordered to return to compliance immediately.  Retesting will be done within thirty days if the trap has not been cleaned and a cleaning report submitted.  Another inspection and testing fee will be assessed.  Should the test results still not comply with the 100 mg/L oil and grease limit, enforcement will be escalated in accordance with the [public entity]’s Enforcement Response Plan.  In addition, an entity which is frequently violating the 100 mg/L limit may be issued a pretreatment permit in order to further regulate the IU

Should the testing reveal TSS in excess of 250 mg/L, a fine of $X.XX for each pound of TSS discharged for the past reporting period shall be assessed.  The pounds of TSS shall be determined by using the following equation:

(Total Reporting Period water use in MG)(mg/L TSS - 250)(8.34)

The IU will also be ordered to return to compliance immediately.  Retesting will be done within thirty days if the trap has not been cleaned and a cleaning report submitted.  Another inspection and testing fee will be assessed.  Should the test results still not comply with the 250 mg/L TSS surcharge limit, the IU will be placed on a continuous inspection, testing and the surcharge schedule for TSS.

By following the steps discussed above, [Public entity] hopes to maintain a collection system free from excessive backups and a treatment plant in compliance with UPDES discharge conditions.

List of Acceptable Entities That Recycle Oil and Grease

The following list of grease and oil recyclers should be given to all IU’s who operate a grease trap.  This list may not be all inclusive.  Other recyclers may be used if it can be shown that they discharge of the waste appropriately.

| Recycler | Phone Number | Address |
| --- | --- | --- |
| Renegade Oil | 801-973-7912 | 1141 S. 3200 W, SLC, Utah 84104 |

[This GOSI program is optional for small agencies.  Large agencies may use their own GOSI program.]