## Raw Data
Great Salt Lake Statistical Round Robin Design
Graph # | Depth | Spike Level | Spike Value [Se Metal in 1% Nitric Acid] | Sample Number | Kennecott Reported Value (Hydride) | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | ACZ Reported Value (AA Hydride SM 3114B) | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | ACZ Reported Value (ICP-MS M200.8) | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | AWAL Reported Value (ICP-MS) 94 | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | AWAL Reported Value (ICP-MS) 96 | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | AWAL Reported Value (GFAA EPA 7740) | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | Frontier GeoSciences, Inc. Seattle | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | Agilent 7500 Octopol. H2 Carrier Gas. ICP/MS w/ Collison Cell | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV] | USGS Hydride Generation [Values marked 1 are in reality <1] | (RV-SV) [Error] | Mean | Std. Dev. [Preci-sion] | % Recov-ery [Accu-racy (0.5)] | Std Dev / Mean [RSD- CV]
1 | 1 Meter | 0.1-1.0 | 0.53 | 1 | 1 | 0.47 |  |  |  |  | 1 | 0.47 |  |  |  |  | <10 | [5 empty] | 27 | 26.47 |  |  |  |  | 25.7 | 25.17 |  |  |  |  | 30 | 29.47 |  |  |  |  | 1.09 | 0.56 |  |  |  |  | 0.8863 | 0.3563 |  |  |  |  | 1 | 0.47
2 | 1 Meter | 0.1-1.0 | 0.53 | 58 | 0.86 | 0.33 |  |  |  |  | <1 | [5 empty] | 12 | 11.47 |  |  |  |  | 9.2 | 8.67 |  |  |  |  | 12.8 | 12.27 |  |  |  |  | 37 | 36.47 |  |  |  |  | 1.11 | 0.58 |  |  |  |  | 0.9066 | 0.3766 |  |  |  |  | 1 | 0.47
3 | 1 Meter | 0.1-1.0 | 0.53 | 91 | 0.97 | 0.44 | 0.94333 | 0.073711 | 91.59% | 7.814% | <1 |  | 1 |  | 97.09% |  | 14 | 13.47 | 13 | 1.4142 | 1262% | 10.88% | 6.2 | 5.67 | 14.1333 | 11.2434 | 1372% | 79.55% | 13.3 | 12.77 | 17.2667 | 7.3078 | 1676% | 42.32% | 56 | 55.47 | 41 | 13.4536 | 3981% | 32.81% | 1.12 | 0.59 | 1.1067 | 0.015275 | 107.4% | 1.38% | 0.93 | 0.4 | 0.90763 | 0.021868 | 88.12% | 2.409% | 1.1 | 0.57 | 1.0333 | 0.057735 | 100.3% | 5.587%
4 | 1 Meter | 10-20 | 17 | 55 | 16.6 | -0.4 |  |  |  |  | 22 | 5 |  |  |  |  | 24 | 7 |  |  |  |  | 21 | 4 |  |  |  |  | 31.9 | 14.9 |  |  |  |  | 53 | 36 |  |  |  |  | 16.4 | -0.6 |  |  |  |  | 17.24 | 0.24 |  |  |  |  | 15 | -2
5 | 1 Meter | 10-20 | 17 | 62 | 16.7 | -0.3 |  |  |  |  | 21 | 4 |  |  |  |  | 25 | 8 |  |  |  |  | 18 | 1 |  |  |  |  | 19.3 | 2.3 |  |  |  |  | 51 | 34 |  |  |  |  | 14.7 | -2.3 |  |  |  |  | 15.31 | -1.69 |  |  |  |  | 17 | 0
6 | 1 Meter | 10-20 | 17 | 76 | 17.8 | 0.8 | 17.0333 | 0.66583 | 97.33% | 3.909% | 22 | 5 | 21.6667 | 0.57735 | 123.8% | 2.665% | 25 | 8 | 24.6667 | 0.57735 | 141% | 2.341% | 26 | 9 | 21.6667 | 4.0415 | 123.8% | 18.65% | 44.6 | 27.6 | 31.9333 | 12.65 | 182.5% | 39.61% | 72 | 55 | 58.6667 | 11.5902 | 335.2% | 19.76% | 15.7 | -1.3 | 15.6 | 0.8544 | 89.14% | 5.477% | 16.36 | -0.64 | 16.3033 | 0.96625 | 93.16% | 5.927% | 16 | -1 | 16 | 1 | 91.43% | 6.25%
7 | 1 Meter | 1-5 | 3 | 33 | 3.2 | 0.2 |  |  |  |  | 4 | 1 |  |  |  |  | 14 | 11 |  |  |  |  | 9.1 | 6.1 |  |  |  |  | 19.7 | 16.7 |  |  |  |  | 33 | 30 |  |  |  |  | 3.32 | 0.32 |  |  |  |  | 2.59 | -0.41 |  |  |  |  | 3 | 0
8 | 1 Meter | 1-5 | 3 | 44 | 3.3 | 0.3 |  |  |  |  | 4 | 1 |  |  |  |  | 22 | 19 |  |  |  |  | 9.3 | 6.3 |  |  |  |  | 19.4 | 16.4 |  |  |  |  | 44 | 41 |  |  |  |  | 3.4 | 0.4 |  |  |  |  | 2.573 | -0.427 |  |  |  |  | 3.5 | 0.5
9 | 1 Meter | 1-5 | 3 | 95 | 3.33 | 0.33 | 3.2767 | 0.068069 | 93.62% | 2.077% | 4 | 1 | 4 | 0 | 114.3% | 0% | 9 | 6 | 15 | 6.5574 | 428.6% | 43.72% | 13 | 10 | 10.4667 | 2.1962 | 299% | 20.98% | 17.9 | 14.9 | 19 | 0.96437 | 542.9% | 5.076% | 54 | 51 | 43.6667 | 10.504 | 1248% | 24.05% | 3.36 | 0.36 | 3.36 | 0.04 | 96% | 1.19% | 2.6 | -0.4 | 2.5877 | 0.01365 | 73.93% | 0.5275% | 3.4 | 0.4 | 3.3 | 0.26458 | 94.29% | 8.017%
10 | 1 Meter | 50-100 | 67 | 10 | 65.7 | -1.3 |  |  |  |  | 59 | -8 |  |  |  |  | 70 | 3 |  |  |  |  | 87 | 20 |  |  |  |  | 91.8 | 24.8 |  |  |  |  | 79 | 12 |  |  |  |  | 63.7 | -3.3 |  |  |  |  | 73.86 | 6.86 |  |  |  |  | 59 | -8
11 | 1 Meter | 50-100 | 67 | 74 | 64 | -3 |  |  |  |  | 59 | -8 |  |  |  |  | 57 | -10 |  |  |  |  | 75 | 8 |  |  |  |  | 73.4 | 6.4 |  |  |  |  | 97 | 30 |  |  |  |  | 59.7 | -7.3 |  |  |  |  | 65.88 | -1.12 |  |  |  |  | 63 | -4
12 | 1 Meter | 50-100 | 67 | 75 | 65.5 | -1.5 | 65.0667 | 0.92916 | 96.4% | 1.428% | 57 | -10 | 58.3333 | 1.1547 | 86.42% | 1.979% | 65 | -2 | 64 | 6.5574 | 94.81% | 10.25% | 80 | 13 | 80.6667 | 6.0277 | 119.5% | 7.472% | 82.4 | 15.4 | 82.5333 | 9.2007 | 122.3% | 11.15% | 97 | 30 | 91 | 10.3923 | 134.8% | 11.42% | 60.6 | -6.4 | 61.3333 | 2.0984 | 90.86% | 3.421% | 70.3 | 3.3 | 70.0133 | 3.9977 | 103.7% | 5.71% | 63 | -4 | 61.6667 | 2.3094 | 91.36% | 3.745%
13 | 1 Meter | GSL | 0 | 26 | 0.5 | 0.5 |  |  |  |  | <1 | [5 empty] | <10 | [5 empty] | 7.1 | 7.1 |  |  |  |  | 11.4 | 11.4 |  |  |  |  | 44 | 44 |  |  |  |  | 0.641 | 0.641 |  |  |  |  | 0.6379 | 0.6379 |  |  |  |  | 1 | 1
14 | 1 Meter | GSL | 0 | 52 | 0.4 | 0.4 |  |  |  |  | <1 | [5 empty] | 20 | 20 |  |  |  |  | 8.1 | 8.1 |  |  |  |  | 10.4 | 10.4 |  |  |  |  | 40 | 40 |  |  |  |  | 0.568 | 0.568 |  |  |  |  | 0.4224 | 0.4224 |  |  |  |  | 1 | 1
15 | 1 Meter | GSL | 0 | 57 | 0.42 | 0.42 | 0.44 | 0.052915 |  | 12.03% | <1 | [5 empty] | 9 | 9 | 14.5 | 7.7782 |  | 53.64% | 7.2 | 7.2 | 7.4667 | 0.55076 |  | 7.376% | 17 | 17 | 12.9333 | 3.5572 |  | 27.5% | 40 | 40 | 41.3333 | 2.3094 | 8267% | 5.587% | 0.66 | 0.66 | 0.623 | 0.04857 | 124.6% | 7.796% | 0.4795 | 0.4795 | 0.51327 | 0.11165 | 102.7% | 21.75% | 1 | 1 | 1 | 0 | 200% | 0%
16 | 1 Meter | 173 g/l Na2SO4 | 0 | 15 | 0.4 | 0.4 |  |  |  |  | <1 | [5 empty] | 10 | 10 |  |  |  |  | <1 | [5 empty] | 4.4 | 4.4 | 10.6 | 6.3024 |  | 59.46% | 120 | 120 |  |  |  |  | 0.326 | 0.326 |  |  |  |  | 1.017 | 1.017 |  |  |  |  | 1 | 1
17 | 1 Meter | 173 g/l Na2SO4 | 0 | 71 | <.05 | [5 empty] | <1 | [5 empty] | 9 | 9 |  |  |  |  | <1 | [5 empty] | 0.2 | 0.2 | 7.2 | 8.743 |  | 121.4% | 150 | 150 |  |  |  |  | 0.336 | 0.336 |  |  |  |  | 0.3482 | 0.3482 |  |  |  |  | 1 | 1
18 | 1 Meter | 173 g/l Na2SO4 | 0 | 92 | <.05 | [5 empty] | <1 | [5 empty] | 10 | 10 |  |  |  |  | 2.5 | 2.5 |  |  |  |  | 2.5 | 2.5 |  |  |  |  | 160 | 160 | 143.3333 | 20.8167 | 28667% | 14.52% | 0.293 | 0.293 | 0.31833 | 0.022502 | 63.67% | 7.069% | 0.27 | 0.27 | 0.54507 | 0.41057 | 109% | 75.33% | 1 | 1 | 1 | 0 | 200% | 0%
19 | 7 Meter | 0.1-1.0 | 0.76 | 22 | 1 | 0.24 |  |  |  |  | 1 | 0.24 |  |  |  |  | 120 | 119.24 |  |  |  |  | 14 | 13.24 |  |  |  |  | 28.6 | 27.84 |  |  |  |  | 78 | 77.24 |  |  |  |  | 1 | 0.24 |  |  |  |  | 1.249 | 0.489 |  |  |  |  | 1 | 0.24
20 | 7 Meter | 0.1-1.0 | 0.76 | 31 | 1.1 | 0.34 |  |  |  |  | 2 | 1.24 |  |  |  |  | 140 | 139.24 |  |  |  |  | 25 | 24.24 |  |  |  |  | 34.6 | 33.84 |  |  |  |  | 66 | 65.24 |  |  |  |  | 1.06 | 0.3 |  |  |  |  | 1.048 | 0.288 |  |  |  |  | 1.2 | 0.44
21 | 7 Meter | 0.1-1.0 | 0.76 | 67 | 0.97 | 0.21 | 1.0233 | 0.068069 | 81.22% | 6.652% | 1 | 0.24 | 1.3333 | 0.57735 | 105.8% | 43.3% | 140 | 139.24 | 133.3333 | 11.547 | 10582% | 8.66% | 15 | 14.24 | 18 | 6.0828 | 1429% | 33.79% | 22 | 21.24 | 28.4 | 6.3024 | 2254% | 22.19% | 76 | 75.24 | 73.3333 | 6.4291 | 5820% | 8.767% | 1.09 | 0.33 | 1.05 | 0.045826 | 83.33% | 4.364% | 1.341 | 0.581 | 1.2127 | 0.14984 | 96.24% | 12.36% | 2.2 | 1.44 | 1.4667 | 0.64291 | 116.4% | 43.83%
22 | 7 Meter | 10-20 | 16 | 6 | 10.6 | -5.4 |  |  |  |  | 12 | -4 |  |  |  |  | 40 | 24 |  |  |  |  | 35 | 19 |  |  |  |  | 34.8 | 18.8 |  |  |  |  | 77 | 61 |  |  |  |  | 8.57 | -7.43 |  |  |  |  | 9.882 | -6.118 |  |  |  |  | 9.2 | -6.8
23 | 7 Meter | 10-20 | 16 | 42 | 10.6 | -5.4 |  |  |  |  | 12 | -4 |  |  |  |  | 190 | 174 |  |  |  |  | 18 | 2 |  |  |  |  | 35.6 | 19.6 |  |  |  |  | 69 | 53 |  |  |  |  | 5.15 | -10.85 |  |  |  |  | 8.666 | -7.334 |  |  |  |  | 8.6 | -7.4
24 | 7 Meter | 10-20 | 16 | 46 | 10.4 | -5.6 | 10.5333 | 0.11547 | 63.84% | 1.096% | 11 | -5 | 11.6667 | 0.57735 | 70.71% | 4.949% | 180 | 164 | 136.6667 | 83.865 | 828.3% | 61.36% | 31 | 15 | 28 | 8.8882 | 169.7% | 31.74% | 35.7 | 19.7 | 35.3667 | 0.49329 | 214.3% | 1.395% | 69 | 53 | 71.6667 | 4.6188 | 434.3% | 6.445% | 7.49 | -8.51 | 7.07 | 1.7483 | 42.85% | 24.73% | 8.176 | -7.824 | 8.908 | 0.87837 | 53.99% | 9.86% | 8 | -8 | 8.6 | 0.6 | 52.12% | 6.977%
25 | 7 Meter | 1-5 | 2 | 17 | 1.7 | -0.3 |  |  |  |  | 2 | 0 |  |  |  |  | 120 | 118 |  |  |  |  | 32 | 30 |  |  |  |  | 36.9 | 34.9 |  |  |  |  | 77 | 75 |  |  |  |  | 1.53 | -0.47 |  |  |  |  | 1.18 | -0.82 |  |  |  |  | 1.7 | -0.3
26 | 7 Meter | 1-5 | 2 | 32 | 1.7 | -0.3 |  |  |  |  | 2 | 0 |  |  |  |  | 200 | 198 |  |  |  |  | 20 | 18 |  |  |  |  | 26.8 | 24.8 |  |  |  |  | 68 | 66 |  |  |  |  | 1.47 | -0.53 |  |  |  |  | 1.583 | -0.417 |  |  |  |  | 1.3 | -0.7
27 | 7 Meter | 1-5 | 2 | 82 | 1.7 | -0.3 | 1.7 | 0 | 68% | 0% | 2 | 0 | 2 | 0 | 80% | 0% | 440 | 438 | 253.3333 | 166.5333 | 10133% | 65.74% | 16 | 14 | 22.6667 | 8.3267 | 906.7% | 36.74% | 26.5 | 24.5 | 30.0667 | 5.9197 | 1203% | 19.69% | 100 | 98 | 81.6667 | 16.5025 | 3267% | 20.21% | 1.6 | -0.4 | 1.5333 | 0.065064 | 61.33% | 4.243% | 1.93 | -0.07 | 1.5643 | 0.37535 | 62.57% | 23.99% | 1.6 | -0.4 | 1.5333 | 0.20817 | 61.33% | 13.58%
28 | 7 Meter | 50-100 | 85 | 9 | 54.1 | -30.9 |  |  |  |  | 45 | -40 |  |  |  |  | 90 | 5 |  |  |  |  | 40 | -45 |  |  |  |  | 53.1 | -31.9 |  |  |  |  | 83 | -2 |  |  |  |  | 43.6 | -41.4 |  |  |  |  | 90.35 | 5.35 |  |  |  |  | 44 | -41
29 | 7 Meter | 50-100 | 85 | 23 | 57.1 | -27.9 |  |  |  |  | 43 | -42 |  |  |  |  | 140 | 55 |  |  |  |  | 34 | -51 |  |  |  |  | 44.8 | -40.2 |  |  |  |  | 54 | -31 |  |  |  |  | 42.6 | -42.4 |  |  |  |  | 43.08 | -41.92 |  |  |  |  | 43 | -42
30 | 7 Meter | 50-100 | 85 | 72 | 57.2 | -27.8 | 56.1333 | 1.7616 | 65.65% | 3.138% | 45 | -40 | 44.3333 | 1.1547 | 51.85% | 2.605% | 170 | 85 | 133.3333 | 40.4145 | 155.9% | 30.31% | 40 | -45 | 38 | 3.4641 | 44.44% | 9.116% | 42.7 | -42.3 | 46.8667 | 5.4994 | 54.81% | 11.73% | 79 | -6 | 72 | 15.7162 | 84.21% | 21.83% | 41.7 | -43.3 | 42.6333 | 0.95044 | 49.86% | 2.229% | 51.22 | -33.78 | 61.55 | 25.2714 | 71.99% | 41.06% | 40 | -45 | 42.3333 | 2.0817 | 49.51% | 4.917%
31 | 7 Meter | GSL | 0 | 20 | 0.56 | 0.56 |  |  |  |  | <.05 | [5 empty] | 120 | 120 |  |  |  |  | 20 | 20 |  |  |  |  | 30.1 | 30.1 |  |  |  |  | 75 | 75 |  |  |  |  | 0.797 | 0.797 |  |  |  |  | 0.8794 | 0.8794 |  |  |  |  | 1 | 1
32 | 7 Meter | GSL | 0 | 37 | 0.6 | 0.6 |  |  |  |  | <.06 | [5 empty] | 200 | 200 |  |  |  |  | 36 | 36 |  |  |  |  | 27.4 | 27.4 |  |  |  |  | 64 | 64 |  |  |  |  | 0.784 | 0.784 |  |  |  |  | 0.9546 | 0.9546 |  |  |  |  | 1 | 1
33 | 7 Meter | GSL | 0 | 69 | 0.51 | 0.51 | 0.55667 | 0.045092 |  | 8.1% | <.07 | [5 empty] | 150 | 150 | 156.6667 | 40.4145 |  | 25.8% | 16 | 16 | 24 | 10.583 |  | 44.1% | 17.6 | 17.6 | 25.0333 | 6.5775 |  | 26.27% | 76 | 76 | 71.6667 | 6.6583 | 14333% | 9.291% | 0.745 | 0.745 | 0.77533 | 0.027062 | 155.1% | 3.49% | 1.169 | 1.169 | 1.001 | 0.15027 | 200.2% | 15.01% | 1 | 1 | 1 | 0 | 200% | 0%
34 | 7 Meter | 249 g/l Na2SO4 | 0 | 47 | 0.11 | 0.11 |  |  |  |  | <.08 | [5 empty] | 140 | 140 |  |  |  |  | 1.4 | 1.4 |  |  |  |  | 4.1 | 4.1 |  |  |  |  | 150 | 150 |  |  |  |  | 0.455 | 0.455 |  |  |  |  | 0.391 | 0.391 |  |  |  |  | 1 | 1
35 | 7 Meter | 249 g/l Na2SO4 | 0 | 51 | 0.09 | 0.09 |  |  |  |  | <.09 | [5 empty] | 150 | 150 |  |  |  |  | 1.4 | 1.4 |  |  |  |  | 6.1 | 6.1 |  |  |  |  | 170 | 170 |  |  |  |  | 0.405 | 0.405 |  |  |  |  | 0.3593 | 0.3593 |  |  |  |  | 1 | 1
36 | 7 Meter | 249 g/l Na2SO4 | 0 | 56 | 0.13 | 0.13 | 0.11 | 0.02 |  | 18.18% | <.10 | [5 empty] | 120 | 120 | 136.6667 | 15.2753 |  | 11.18% | 1.4 | 1.4 | 1.4 | 2.7195e-16 |  | 1.942e-14% | 3.6 | 3.6 | 4.6 | 1.3229 |  | 28.76% | 160 | 160 | 160 | 10 | 32000% | 6.25% | 0.423 | 0.423 | 0.42767 | 0.025325 | 85.53% | 5.922% | 0.5066 | 0.5066 | 0.41897 | 0.07753 | 83.79% | 18.51% | 1 | 1 | 1 | 0 | 200% | 0%
[6 empty] | Average |  | 0.34545 | 82.21% | 5.857% |  | Average |  | 0.57735 | 91.25% | 7.928% |  | Average |  | 34.6304 | 2953% | 29.44% |  | Average |  | 5.5822 | 558% | 26.32% |  | Average |  | 5.757 | 781.2% | 32.05% |  | Average |  | 10.7493 | 8214% | 15.08% |  | Average |  | 0.49509 | 87.47% | 5.943% |  | Average |  | 2.702 | 94.95% | 19.37% |  | Average |  | 0.59704 | 121.4% | 7.742%
[6 empty] | 1 meter |  | 0.35794 | 94.73% | 5.451% |  | 1 meter |  | 0.57735 | 105.4% | 1.548% |  | 1 meter |  | 4.5769 | 481.6% | 24.16% |  | 1 meter |  | 4.8119 | 478.6% | 26.81% |  | 1 meter |  | 6.9608 | 631% | 43.79% |  | 1 meter |  | 11.511 | 7105% | 18.03% |  | 1 meter |  | 0.51319 | 95.29% | 4.389% |  | 1 meter |  | 0.92028 | 95.1% | 18.61% |  | 1 meter |  | 0.60529 | 129.6% | 3.933%
[6 empty] | 7 meter |  | 0.33504 | 69.68% | 6.195% |  | 7 meter |  | 0.57735 | 77.09% | 12.71% |  | 7 meter |  | 59.6749 | 5425% | 33.84% |  | 7 meter |  | 6.2241 | 637.3% | 25.91% |  | 7 meter |  | 4.3525 | 931.4% | 18.34% |  | 7 meter |  | 9.9875 | 9323% | 12.13% |  | 7 meter |  | 0.477 | 79.66% | 7.496% |  | 7 meter |  | 4.4838 | 94.8% | 20.13% |  | 7 meter |  | 0.58879 | 113.2% | 11.55%

## Summary Statistics
Round Robin Summary Statistics |  | % Recovery [Accuracy] | Std Dev / Mean [CV]
|  | Accuracy | Precision
Agilent 7500 Octopol. H2 Carrier Gas. ICP/MS w/ Collison Cell | Average | 94.95% | 19.37%
| 1 meter | 95.1% | 18.61%
| 7 meter | 94.8% | 20.13%
ACZ Reported Value (AA Hydride SM 3114B) | Average | 91.25% | 7.928%
| 1 meter | 105.4% | 1.548%
| 7 meter | 77.09% | 12.71%
Frontier GeoSciences, Inc. Seattle | Average | 87.47% | 5.943%
| 1 meter | 95.29% | 4.389%
| 7 meter | 79.66% | 7.496%
Kennecott Reported Value (Hydride) | Average | 82.21% | 5.857%
| 1 meter | 94.73% | 5.451%
| 7 meter | 69.68% | 6.195%
ACZ Reported Value (ICP-MS M200.8) | Average | 2953% | 29.44%
| 1 meter | 481.6% | 24.16%
| 7 meter | 5425% | 33.84%
AWAL Reported Value (ICP-MS) 94 | Average | 558% | 26.32%
| 1 meter | 478.6% | 26.81%
| 7 meter | 637.3% | 25.91%
AWAL Reported Value (ICP-MS) 96 | Average | 781.2% | 32.05%
| 1 meter | 631% | 43.79%
| 7 meter | 931.4% | 18.34%
AWAL Reported Value (GFAA EPA 7740) | Average | 8214% | 15.08%
| 1 meter | 7105% | 18.03%
| 7 meter | 9323% | 12.13%
Pre-Publication Data. Funding provided by: USEPA and UTAH DWQ. William Moellmer, Ph.D.