## WorksheetColumnHeadersKey
Version 1.0 November 3, 2014
Worksheet Name | Field/ Column Header Name | Field/ Column Header Description | Field/ Column Header Format (e.g., the Data Type) | Submitter Required to Fill it out (Y/N) | Additional Notes | Field/ Column Header Example
OrganizationInfo | Submitter of Data Package/ Owner of the Data | This column should be populated with the contact information of the organization that is submitting the data to DWQ. If the submitter also sampled and/or processed the analytical samples, then copy the contact information from this column into the other columns. | -- | N | --
OrganizationInfo | Field Sampler Information (if different than Submitter Information) | This column should be populated with the contact information of the organization that collected the data. If the sampler is also submitting the data to DWQ and/or processed the analytical samples, then copy the contact information from this column into the other columns. | -- | N | --
OrganizationInfo | Laboratory Information | This column should be populated with the contact information of the laboratory that analyzed the analytical sample(s). If the laboratory is also submitting the information to DWQ and/or sampled the sites, then copy the contact information from the other columns. If more than one laboratory was used, please create a new column header and populate all the necessary laboratory contact information. | -- | N | --
OrganizationInfo | Organization_Name | Populate the full name (e.g., no acronyms, please) of the organization that is submitting the data, sampled the site, and/or processed the analytical samples. If the organization had more than one role/responsibility for this data package, copy the information into the other columns. | Text | Y | -- | Utah Department of Environmental Quality, Division of Water Quality
OrganizationInfo | Organization_Name_Abbreviation | Populate the abbreviated name (e.g., the acronym) of the organization. Please use all capital letters | Text (All Capital Letters) | Y | -- | UDWQ
OrganizationInfo | Organization_Type | Populate one organization classification from the "Additional Notes" column. Please only use the categories in the "Additional Notes" column. | Text | Y | City, County, State, Federal, Tribal, Municipal, Water District, Waste Water Treatment Plant, Oil/Gas/Mining, Consultant, Legal Group, Nonprofit, Private, Watershed Coordinator, School/University, Other | State
OrganizationInfo | Organization_StreetAddress | Populate the mailing street (or post office box) address or the organization | Text | Y | -- | 195 North 1950 West
OrganizationInfo | Organization_City | Populate mailing city of the organization | Text | Y | -- | Salt Lake City
OrganizationInfo | Organization_State | Populate the mailing state of the organization. Please use all capital letters | Text (All Capital Letters) | Y | -- | UT
OrganizationInfo | Organization_ZipCode | Populate the mailing zip code of the organization | Text | Y | -- | 84116
OrganizationInfo | Organization_Phone | Populate the phone number of the organization | Text | Y | -- | 801-536-4300
OrganizationInfo | Organization_WebsiteAddress | Populate the web address (url) of the organization | Text | Y | -- | http://www.waterquality.utah.gov/WQAssess/
OrganizationInfo | OrganizationContact_Email | Populate the general contact/email address for the organization | Text | Y | -- | jamesharris@utah.gov
OrganizationInfo | OrganizationContact_LastName | Populate the last name of the person who is the general contact for the organization | Text | Y | -- | Harris
OrganizationInfo | OrganizationContact_FirstName | Populate the first name of the person who is the general contact for the organization | Text | Y | -- | James
OrganizationInfo | OrganizationContact_JobTitle | Populate the job title of the person who is the general contact for the organization | Text | Y | -- | Program Manager
OrganizationInfo | OrganizationContact_Phone | Populate the phone number of the person who is the general contact for the organization | Text | Y | -- | 801-536-4360
OrganizationInfo | OrganizationSubmitter_Email | If the person submitting the data package to UDWQ is also the general contact for the organization, you do not need to fill out this information. If the contact and submitter are different, please populate the general contact/email address for the person who is submitting the data package to UDWQ. | Text | Y | -- | eflemer@utah.gov
OrganizationInfo | OrganizationSubmitter_LastName | If the person submitting the data package to UDWQ is also the general contact for the organization, you do not need to fill out this information. If the contact and submitter are different, please populate the last name of the person who is submitting the data package to UDWQ. | Text | Y | -- | Flemer
OrganizationInfo | OrganizationSubmitter_FirstName | If the person submitting the data package to UDWQ is also the general contact for the organization, you do not need to fill out this information. If the contact and submitter are different, please populate the first name of the person who is submitting the data package to UDWQ. | Text | Y | -- | Emilie
OrganizationInfo | OrganizationSubmitter_JobTitle | If the person submitting the data package to UDWQ is also the general contact for the organization, you do not need to fill out this information. If the contact and submitter are different, please populate the job title of the person who is submitting the data package to UDWQ. | Text | Y | -- | Environmental Scientist III
OrganizationInfo | OrganizationSubmitter_Phone | If the person submitting the data package to UDWQ is also the general contact for the organization, you do not need to fill out this information. If the contact and submitter are different, please populate the phone number of the person who is submitting the data package to UDWQ. | Text | Y | -- | 801-536-4105
ChemistryGrabSampleResults | Organization_Submitter | Populate the abbreviated name (e.g., the acronym) of the organization submitting the data. Please use all capital letters | Text | Y | -- | UDWQ
ChemistryGrabSampleResults | Organization_Sampling | Populate the abbreviated name (e.g., the acronym) of the organization sampling the data. Please use all capital letters | Text | Y | -- | UDWQ
ChemistryGrabSampleResults | Organization_SamplerInitials1 | Populate the initials of the person who collected the data. Please use all capital letters | Text | Y | -- | JH
ChemistryGrabSampleResults | Organization_SamplerInitials2 | Populate the initials of the person who collected the data. Please use all capital letters | Text | Y | -- | EF
ChemistryGrabSampleResults | Organization_Laboratory | Populate the abbreviated name (e.g., the acronym) of the organization analyzing the samples/ performing the analytical work. Please use all capital letters | Text | Y | -- | UDOH
ChemistryGrabSampleResults | Nationally Accredited Laboratory | Populate Y or N if the Laboratory has a national accreditation | Text | Y | -- | Y
ChemistryGrabSampleResults | Laboratory Certification | Populate the Laboratory Certification | Text | Y | UDWQ recommends Utah Bureau of Laboratory Improvement certification or NELAC for Assessment Grade A or B data quality. (If the laboratory is neither a Utah Bureau of Laboratory or NELAC, please populate the certification. If the laboratory does not have a certification, please populate "None"). | NELAC
ChemistryGrabSampleResults | Activity ID | Populate a unique ID that groups a sampling event/ activity. | Text | Y | This field should be populated by performing a concatenation of the Monitoring Locations ID, Activity Start Date, Activity Start Time, and Activity Type | 4901100-06062012-1:00PM-Sample-Routine
ChemistryGrabSampleResults | Activity Group ID | Please do not populate | -- | N | UDWQ will populate this field as needed. Reminder to DWQ: This field is a concatenation of: TripIDmmddyy-MLID-Lab Number (last 4 digits)-Sample Type-Lab Code
ChemistryGrabSampleResults | Activity Type | Populate one activity type classification from the "Additional Notes" column. Please only use the categories in the "Additional Notes" column. | Text | Y | Please use only one of the following categories: Sample-Routine, Sample-Integrated Vertical Profile, Quality Control Sample-Equipment Blank, Quality Control Sample-Trip Blank, Quality Control Sample-Field Replicate, Quality Control Sample-Field Duplicate, Quality Control Sample-Lab Re-Analysis, Quality Control Sample-Lab Spike | Sample-Routine
ChemistryGrabSampleResults | Activity Comment | Populate a comment to UDWQ to indicate if what other data is associated with the Activity ID | Text | Y | UDWQ recommends using a comment similar to the following: Additional data submitted with this Activity ID is: Flow, Field, QC, Bugs, or Ecoli. | Additional data submitted with this Activity ID is: Flow, Field, and QC.
ChemistryGrabSampleResults | Activity Media Name | Populate the type of media/sample associated with the Activity ID | Text | Y | Recommended populations: Water, Soil, Algae, or Air. Please use one category. | Water
ChemistryGrabSampleResults | Activity Chain of Custody ID | Populate the ID associate with Chain of Custody Form. | Numeric | Y - If a chain of custody is associated with the sample. | If there is no chain of custody associated with the sample, please leave the field blank.
ChemistryGrabSampleResults | Project ID | Please do not populate | -- | N | UDWQ will populate as needed
ChemistryGrabSampleResults | ResultUID | Please do not populate | -- | N | UDWQ will populate this field. This field is the primary key once all of the data is merged for an assessment
ChemistryGrabSampleResults | Monitoring Location ID | Populate the organization's unique identifier for the sample site. | Text | Y | Note: This ID needs to be unique. You should not submit two sampling locations with different lat/lons and the same Monitoring Location ID. | 4953030
ChemistryGrabSampleResults | Monitoring Location Name | Populate the organization's name for the sample site | Text | Y - If your Monitoring Location IDs are not unique and you have two or more Monitoring Location IDs with different lats/lons | If you Monitoring Location IDs are unique UDWQ will populate this field by linking the Monitoring Location ID to the Sample Site Info List you provided
ChemistryGrabSampleResults | Monitoring Location Description | Please do not populate | -- | N | UDWQ will populate this by liming the Monitoring Location ID to the information provided in the Sample Site Info worksheet
ChemistryGrabSampleResults | Laboratory Sample ID | Populate the Unique Identifier/Sample ID provided from the laboratory organization that processed the samples | Text | Y | This field should be provided by the laboratory | 200302418
ChemistryGrabSampleResults | Laboratory Sample Matrix | Please do not populate | -- | N | UDWQ will populate as needed
ChemistryGrabSampleResults | Laboratory Batch ID | Populate the batch ID provided from the laboratory organization that processed the samples | Text | Y | -- | 22302409
ChemistryGrabSampleResults | Activity Start Date | Populate the date the sample was collected. | Date/Time | Y | Format for the date is: mm/dd/yyyy | 2012-10-16
ChemistryGrabSampleResults | Activity Start Time | Populate the time of day the sample was collected. | Date/Time | Y | Format for time is: 12 hour hh:mm:ss AM/PM | 13:30
ChemistryGrabSampleResults | Sample Receive Date | Populate the date the laboratory received the sample from the sampling organization | Date/Time | Y - If available | Format for the date is: mm/dd/yyyy | 2012-10-17
ChemistryGrabSampleResults | Sample Preparation Date | Populate the date the laboratory begins processing the sample for analysis if analysis is not to be performed immediately. | Date/Time | Y - If available | Format for the date is: mm/dd/yyyy | 2012-10-17
ChemistryGrabSampleResults | Sample Freeze Date | Populate the date the sampler or laboratory placed the sample in the freezer | Date/Time | Y - If submitting Glyphosate, the sample was frozen, and the information is available | Format for the date is: mm/dd/yyyy | 2012-10-17
ChemistryGrabSampleResults | Sample Extraction Start Date | Populate the date the laboratory performs sample extraction | Date/Time | Y - If available | Format for the date is: mm/dd/yyyy | 2012-10-17
ChemistryGrabSampleResults | Sample Analysis Start Date | Populate the date the laboratory began analyzing the sample | Date/Time | Y | Format for the date is: mm/dd/yyyy | 2012-10-17
ChemistryGrabSampleResults | Sample Analysis End Date | Populate the date the laboratory finished analyzing the sample | Date/Time | Y - If available | Format for the date is: mm/dd/yyyy | 2012-10-17
ChemistryGrabSampleResults | Sample Type | Populate Depth descriptor provided in the Additional Notes column | Text | Y | Depending on the waterbody that was sampled, please use just one of the following categories: If you sampled Rivers/Streams: Surface. If you sampled Lakes/ Reservoirs: Surface (<=2 m from water level surface), Above Halocline, Below Halocline, Above Thermocline, Below Thermocline, Midwater (>2 m from water level surface AND >1 m from lake bottom), Near Bottom (<=1 m above lake bottom), Photic Zone | Surface
ChemistryGrabSampleResults | Sample Collection Method ID | Please do not populate | -- | N | Note: Default value is blank/null
ChemistryGrabSampleResults | Sample Collection Equipment Name | Please do not populate | -- | N | Note: Default value is blank/null
ChemistryGrabSampleResults | Activity Relative Depth Name | Please do not populate | -- | N | DWQ will populate this based on the Sample Type provided by the submitter
ChemistryGrabSampleResults | Sample Depth | Populate the below surface water depth that the sample was collected | Text | Y - If submitting lake or reservoir data. | UDWQ recommends submitting sample depth in "m". Note: Please do not populate a negative sign. That is assumed. | 6
ChemistryGrabSampleResults | Sample Depth Unit | Populate the unit of the sample depth | Text | Y - If populated a lake measurement sample depth value | UDWQ recommends submitting sample depth in "m" | m
ChemistryGrabSampleResults | CAS Number | Populate the CAS Registry Number (e.g., the CASRN or CAS Number) for the characteristic that was sampled. This is typically provided by the laboratory. It is a unique identifier assigned to a chemical substance. | Text | Y | This is typically provided by the laboratory that processed the sample. If it is not provided UDWQ recommends using the CAS Numbers assigned to the parameter in the Assessed Parameter List that is located on the call for data website. If there is no CAS Number provided by the lab OR you cannot ID one, please leave the field blank/null. Reminder: Also, indicated in the Assessment Parameter list on the website are additional/ supplemental characteristics that UDWQ will need to do a full assessment of a characteristic | 2148878
ChemistryGrabSampleResults | Characteristic Name | Populate the analyte, parameter, or characteristic that was measured in the field/lab | Text | Y | To review the characteristics that UDWQ assesses for the Integrate Report, please refer to the Assessed Parameter List that is located on the call for data website. Also, indicated in that list are additional/ supplemental characteristics that UDWQ will need to do a full assessment of a characteristic | Iron
ChemistryGrabSampleResults | Method Speciation | Populate the speciation of the reported laboratory analyte/ characteristic | Text | Y | Please refer to the Parameter Method Speciation Translations file on the website. Note: Default value is Null/ Blank
ChemistryGrabSampleResults | Result Sample Fraction | Populate the fraction of the analyte, parameter, or characteristic that was measured in the field/lab | Text | Y | Recommended fractions are "Dissolved" or Total". Note: The default value is "Total". | Dissolved
ChemistryGrabSampleResults | Result Status ID | Please do not populate | -- | N | DWQ will populate the grade level based on the data quality review
ChemistryGrabSampleResults | Result Detection Condition | Populate a UDWQ defined descriptor for the result value to flag/indicate if the result value is above or below a laboratory limit. | Text | Y | Available Options: Detected, Not Quantified; Not Reported; Present Above Quantitation Limit, Present Below Quantitation Limit; Not Detected; Not Reported. UDWQ Recommends Using the Following: Detected, Not Detected and Present Above Quantitation Limit. Note: Please populate only one option. | Detected
ChemistryGrabSampleResults | Result Qualifier | Populate the alphabetic code associated with the result value | Text | Y - If provided by the laboratory | -- | J
ChemistryGrabSampleResults | Result Qualifier Definition | Populate the definition of the result qualifier | Text | Y - If the Result Qualifier is populated | If the laboratory provides a result qualifier, the laboratory should have a qualifier description | The associated numerical value is an estimated quantity
ChemistryGrabSampleResults | Result Value Type | Populate a description of the sample result value type (e.g., actual = existing now/ present/ current; estimated = approximation, educated guess; calculated = uses a mathematical equation) | Text | Y - If a result value is populated | Please populate only one of the following options: Actual , Estimated, Calculated, | Actual
ChemistryGrabSampleResults | Result Value | Populate the results of a field measurement, observation, or laboratory analysis. | Numeric | Y | -- | 0.63
ChemistryGrabSampleResults | Result Unit | Populate the unit of the field measurement, observation, or laboratory analysis. | Text | Y - If the result value is populated | Recommended Parameter Result Units are indicated in the Assessed Parameter List that is located on the call for data website | ug/l
ChemistryGrabSampleResults | Result Analytical Method ID | Populate the Method Number/ ID. This should be populated by the Laboratory organization. | Text | Y - If the result value is populated | -- | 353.2
ChemistryGrabSampleResults | Result Analytical Method Context | Populate the Analytical Method Context. This should be populated by the Laboratory organization. | Text | Y - If the result value is populated | Method Agency is populated by the laboratory. Typically, this field is populate as EPA or SM for Standard Method under APHA. | USEPA
ChemistryGrabSampleResults | Result Analytical Method Name | Populate the Method Name. This should be populated by the Laboratory organization. | Text | Y - If the result value is populated | -- | Nitrate-Nitrite Nitrogen by Colorimetry
ChemistryGrabSampleResults | Result Analytical Method Description | Populate the Method Description. This should be populated by the Laboratory organization. | Text | Y - If the result value is populated | -- | Dry and Ash-Free Weight
ChemistryGrabSampleResults | Method Agency | Populate the Method Agency/Result Analytical Method Context. This should be populated by the Laboratory organization. | Text | Y - If the result value is populated | Method Agency is populated by the laboratory. Typically, this field is populate as USEPA or SM for Standard Method under APHA. | USEPA
ChemistryGrabSampleResults | Result Detection Limit Type1 | Populate the analytical detection/quanitation limit provided by the laboratory | Text | Y - If a Limit is reported by the laboratory | Please populate only one of the following options: Method Detection Limit, Lower Quantitation Limit, and Upper Quantitation Limit. If you have 2 limits to report, please report them in the Result Detection Limit- Type2/-Measurement2, -Unit2 fields | Lower Reporting Limit
ChemistryGrabSampleResults | Result Detection Limit Measurement1 | Populate the Detection Limit Measurement | Numeric | Y - If a Limit is reported by the laboratory | -- | 0.03
ChemistryGrabSampleResults | Result Detection Limit Unit1 | Populate the unit of the Result Detection Limit Measurement | Text | Y - If a Limit is reported by the laboratory | Note: This unit should match the Result Unit | ug/l
ChemistryGrabSampleResults | Result Detection Limit Type2 | Populate the analytical detection/quanitation limit provided by the laboratory | Text | Y - If a second limit is reported by the laboratory | Note: This field should only be populated if the laboratory provides 2 types of limits associated with the sample/characteristic. If two limits are provided by the laboratory, please populate only one of the following options:Method Detection Limit, Lower Quantitation Limit, and Upper Quantitation Limit. If you have 2 limits to report, please report them in the Result Detection Limit- Type2/-Measurement2, -Unit2 fields
ChemistryGrabSampleResults | Result Detection Limit Measurement2 | Populate the Detection Limit Measurement | Numeric | Y - If a second limit is reported by the laboratory | --
ChemistryGrabSampleResults | Result Detection Limit Unit2 | Populate the unit of the Result Detection Limit Measurement | Text | Y - If a second limit is reported by the laboratory | Note: This unit should match the Result Unit AND Result Detection Limit Unit1
ChemistryGrabSampleResults | Substance Dilution Factor | Populate the Dilution factor reported by the laboratory | Numeric | Y - If provided by the laboratory | Dilution Factor must be reported as an integer (i.e., not a ratio or percent) | 2
ChemistryGrabSampleResults | Laboratory QC Type | Please do not populate | -- | N | DWQ will populate during the assessment data quality review in the IR Flag and IR Flag Comments assessment data files
ChemistryGrabSampleResults | Laboratory QC Limits | Please do not populate | -- | N | DWQ will populate during the assessment data quality review in the IR Flag and IR Flag Comments assessment data files
ChemistryGrabSampleResults | Laboratory QC Comments | Please do not populate | -- | N | DWQ will populate during the assessment data quality review in the IR Flag and IR Flag Comments assessment data files
ChemistryGrabSampleResults | Spike Level | Populate the amount of spike used for the laboratory QC sample | Numeric | Y - If provided by the laboratory | -- | 5
ChemistryGrabSampleResults | Spike Unit | Populate the amount of spike used for the laboratory QC sample | Text | Y - If the Spike Level is populated | -- | ug/l
ChemistryGrabSampleResults | Recovery | Populate the recovery of the spiked analyte/characteristic in the laboratory QC sample | Numeric | Y - If the Spike Level is populated | Note: Format as a percent recovery | 105
ChemistryGrabSampleResults | Laboratory Result Comment | Populate the comment associated with the result value. This is provided by the lab. | Text | Y - If the laboratory provided a comment | -- | 30-Holding time was exceeded before analysis was completed.
ChemistryGrabSampleResults | Sample Collector Comment | Populate if there is an important field or QAQC note associated with the result value. | Text | Y - If these is sampling event is associated with not normal/ representative conditions of the sampling location | -- | Bottle Preservative Leaked a little
ChemistryGrabSampleResults | Sample Event Conditions Comment | Populate if the sample event/ activity is indicative or normal or anomalous conditions | Text | Y | Please populate only one of the following options if you are submitting River/Stream data: Normal (this indicates water is flowing), Stagnant Water (this means there is no evidence of flow), Flooding/ Water Rising, Evidence of Recent Flood, Spill, Evidence of Fire, Evidence of Landslide/Mudslide, Livestock Present, Evidence of Livestock, Sample upstream of Beaver Dam, Sample below Beaver Dam, Other. Note: By populating Other, will indicate a follow up from UDWQ if there is concern with quality of the data. | Normal
ChemistryGrabSampleResults | QAQC Protocol Followed | Populating this field indicates that there is a QAQC protocol associated with the submitted data and that is was followed. If UDWQ has a question about this submitted data, this information may be requested | Text | Y | Populate as Y or N | Y
ChemistryGrabSampleResults | QAPP Plan | Populating this field indicates that there is a QAPP associated with the submitted data and that if UDWQ has a question about the submitted data, this information can be quickly provided to UDWQ. | Text | Y | Populate as Y or N. Note: If the QAPP is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the QAPP on file for at least 6 years after submitting the data to UDWQ. | Y
ChemistryGrabSampleResults | SAP Plan | Populating this field indicates that there is a SAP associated with the submitted data and that if UDWQ has a question about the submitted data, this information can be quickly provided to UDWQ. | Text | Y | Populate as Y or N. Note: If the SAP is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the SAP on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | Organization_Submitter | Populate the abbreviated name (e.g., the acronym) of the organization submitting the data. Please use all capital letters | Text | Y | -- | UDWQ
FieldGrabSampleResults | Organization_Sampling | Populate the abbreviated name (e.g., the acronym) of the organization sampling the data. Please use all capital letters | Text | Y | -- | UDWQ
FieldGrabSampleResults | Organization_Laboratory | Please do not populate | -- | N | UDWQ will populate this. Default value is Organization_Sampling
FieldGrabSampleResults | Organization_SamplerInitials1 | Populate the initials of the person who collected the data. Please use all capital letters | Text | Y | -- | JH
FieldGrabSampleResults | Organization_SamplerInitials2 | Populate the initials of the person who collected the data. Please use all capital letters | Text | Y | -- | EF
FieldGrabSampleResults | Activity ID | Populate a unique ID that groups a sampling event/ activity. | Text | Y | This field should be populated by doing a concatenation of the Monitoring Locations ID, Activity Start Date, Activity Start Time, and Activity Type | 4901100-06062012-1:00PM-Sample-Routine
FieldGrabSampleResults | Activity Group ID | Please do not populate | -- | N | UDWQ will populate this field as needed. Reminder to DWQ: This field is a concatenation of: TripIDmmddyy-MLID-Lab Number (last 4 digits)-Sample Type-Lab Code
FieldGrabSampleResults | Activity Type | Populate one activity type classification from the "Additional Notes" column. Please only use the categories in the "Additional Notes" column. | Text | Y | Please use only one of the following categories: Field Msr/Obs, Quality Control Replicate Field Msr/Obs, Field Msr/Obs-Portable Data Logger, Quality Control Replicate Field Msr/Obs-Portable Data Logger, Quality Control Field Calibration Check | Field Msr/ Obs
FieldGrabSampleResults | Activity Comment | Populate a comment to UDWQ to indicate if what other data is associated with the Activity ID | Text | Y | UDWQ recommends using a comment similar to the following: Additional data submitted with this Activity ID is: Flow, Chemistry, QC, Bugs, or Ecoli. | Additional data submitted with this Activity ID is: Flow, Chemistry, and QC.
FieldGrabSampleResults | Activity Media Name | Populate the type of media/sample associated with the Activity ID | Text | Y | Recommended populations: Water, Soil, Algae, or Air. Please use one category. | Water
FieldGrabSampleResults | Activity Chain of Custody ID | Populate the ID associate with Chain of Custody Form. | Numeric | Y - If a chain of custody is associated with the sample. | If there is no chain of custody associated with the sample, please leave the field blank.
FieldGrabSampleResults | Project ID | Please do not populate | -- | N | UDWQ will populate as needed
FieldGrabSampleResults | ResultUID | Please do not populate | -- | N | UDWQ will populate this field. This field is the primary key once all of the data is merged for an assessment
FieldGrabSampleResults | Monitoring Location ID | Populate the organization's unique identifier for the sample site. | Text | Y | -- | 4953030
FieldGrabSampleResults | Monitoring Location Name | Populate the organization's name for the sample site | Text | Y - If your Monitoring Location IDs are not unique and you have two or more Monitoring Location IDs with different lats/lons | If you Monitoring Location IDs are unique UDWQ will populate this field by linking the Monitoring Location ID to the Sample Site Info List you provided
FieldGrabSampleResults | Monitoring Location Description | Please do not populate | -- | N | UDWQ will populate this by liming the Monitoring Location ID to the information provided in the Sample Site Info worksheet
FieldGrabSampleResults | Laboratory Sample ID | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Laboratory Batch ID | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Sample Preparation Date | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Sample Analysis Start Date | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Activity Start Date | Populate the date the sample was collected. | Date/Time | Y | Format for the date is: mm/dd/yyyy | 2012-10-16
FieldGrabSampleResults | Activity Start Time | Populate the time of day the sample was collected. | Date/Time | Y | Format for time is: 12 hour hh:mm:ss AM/PM | 13:30
FieldGrabSampleResults | Sample Type | Populate Depth descriptor provided in the Additional Notes column | Text | Y | Depending on the waterbody that was sampled, please use just one of the following categories: If you sampled Rivers/Streams: Surface. If you sampled Lakes/ Reservoirs: Surface (<=2 m from water level surface), Above Halocline, Below Halocline, Above Thermocline, Below Thermocline, Midwater (>2 m from water level surface AND >1 m from lake bottom), Near Bottom (<=1 m above lake bottom), Photic Zone | Surface
FieldGrabSampleResults | Activity Relative Depth Name | Please do not populate | -- | N | DWQ will populate this based on the Sample Type provided by the submitter
FieldGrabSampleResults | Sample Depth | Populate the below surface water depth that the sample was collected | Text | Y - If submitting lake or reservoir data. | UDWQ recommends submitting sample depth in "m". Note: Please do not populate a negative sign. That is assumed. | 6
FieldGrabSampleResults | Sample Depth Unit | Populate the unit of the sample depth | Text | Y - If populated a lake measurement sample depth value | UDWQ recommends submitting sample depth in "m" | m
FieldGrabSampleResults | Characteristic Name | Populate the analyte, parameter, or characteristic that was measured in the field/lab | Text | Y | To review the characteristics that UDWQ assesses for the Integrate Report, please refer to the Assessed Parameter List that is located on the call for data website. Also, indicated in that list are additional/ supplemental characteristics that UDWQ will need to do a full assessment of a characteristic. Note 1: If submitting Dissolved Oxygen data, UDWQ recommends submitting Water Temperature AND Barometric Pressure measurements to help with QAQC reviews. Note 2: Flow measurements are not required but are used to assign a UDWQ data quality grade and confirm assessment results | pH
FieldGrabSampleResults | Method Speciation | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Sample Fraction | Populate the fraction of the analyte, parameter, or characteristic that was measured in the field/lab | Text | Y | Recommended fractions are "Dissolved" or Total". Note: The default value is "Total". | Total
FieldGrabSampleResults | Result Status ID | Please do not populate | -- | N | DWQ will populate the grade level based on the data quality review
FieldGrabSampleResults | Result Detection Condition | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Qualifier | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Value Type | Populate a description of the sample result value type (e.g., actual = existing now/ present/ current; estimated = approximation, educated guess; calculated = uses a mathematical equation) | Text | Y - If a result value is populated | Please populate only one of the following options: Actual , Estimated, Calculated, | Actual
FieldGrabSampleResults | Result Value | Populate the results of a field measurement, observation, or laboratory analysis. | Numeric | Y | -- | 6.5
FieldGrabSampleResults | Result Unit | Populate the unit of the field measurement, observation, or laboratory analysis. | Text | Y - If the result value is populated | Recommended Parameter Result Units are indicated in the Assessed Parameter List that is located on the call for data website. Note: Recommended result unit for a flow measurement is cfs | None
FieldGrabSampleResults | Result Analytical Method ID | Populate the Method Agency/Result Analytical Method ID. | Text | Y | Populate the default value: FIELD MEASURES. Please use all capital letters | FIELD MEASURES
FieldGrabSampleResults | Result Analytical Method Context | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Analytical Method Name | Populate the Method Name | Text | Y | Populate the Following: Field Measurements performed by [enter the sampler organization abbreviation] | Field Measurements performed by Utah DWQ
FieldGrabSampleResults | Result Analytical Method Description | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Method Agency | Populate the Method Agency/Result Analytical Method ID. | Text | Y | Populate: FIELD MEASURES. Please use all Capital letters | FIELD MEASURES
FieldGrabSampleResults | Result Detection Limit Type1 | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Detection Limit Measurement1 | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Detection Limit Unit1 | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Detection Limit Type2 | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Detection Limit Measurement2 | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Result Detection Limit Unit2 | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Sample Collection Method ID | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Sample Collection Equipment Name | Populate the equipment used to collect the sample in the field | Text | Y | -- | Hydrolab
FieldGrabSampleResults | Substance Dilution Factor | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Equipment Precision Lower Value | Populate the lower precision bounds of the equipment used to measure the result value (e.g., how reproducible the instrument's measurements are) | Numeric | Y - but not required if populating a flow result value | Please do not populate a negative/"-" sign. The negative sign is assumed | 0.01
FieldGrabSampleResults | Equipment Precision Upper Value | Populate the upper precision bounds of the equipment used to measure the result value (e.g., how reproducible the instrument's measurements are) | Numeric | Y - but not required if populating a flow result value | -- | 0.01
FieldGrabSampleResults | Equipment Precision Unit | Populate the unit of the precision bounds | Text | Y - but not required if populating a flow result value | -- | S.U.
FieldGrabSampleResults | Equipment Accuracy Lower Value | Populate the lower precision bounds of the equipment used to measure the result value (e.g., how close the instrument is to the real result value) | Numeric | Y - but not required if populating a flow result value | Please do not populate a negative/"-" sign. The negative sign is assumed | 0.2
FieldGrabSampleResults | Equipment Accuracy Upper Value | Populate the upper precision bounds of the equipment used to measure the result value (e.g., how close the instrument is to the real result value) | Numeric | Y - but not required if populating a flow result value | -- | 0.2
FieldGrabSampleResults | Equipment Accuracy Unit | Populate the unit of the precision bounds | Text | Y - but not required if populating a flow result value | -- | S.U.
FieldGrabSampleResults | Laboratory Result Comment | Please do not populate | -- | N | Default value is blank/null
FieldGrabSampleResults | Sample Collector Comment | Populate if there is an important field or QAQC note associated with the result value. | Text | Y - If these is sampling event is associated with not normal/ representative conditions of the sampling location | -- | Equipment Failure - Measurement Suspect
FieldGrabSampleResults | Sample Event Conditions Comment | Populate if the sample event/ activity is indicative or normal or anomalous conditions | Text | Y | Please populate only one of the following options if you are submitting River/Stream data: Normal (this indicates water is flowing), Stagnant Water (this means there is no evidence of flow), Flooding/ Water Rising, Evidence of Recent Flood, Spill, Evidence of Fire, Evidence of Landslide/Mudslide, Livestock Present, Evidence of Livestock, Sample upstream of Beaver Dam, Sample below Beaver Dam, Other. Note: By populating Other, will indicate a follow up from UDWQ if there is concern with quality of the data.
FieldGrabSampleResults | QAQC Protocol Followed | Populating this field indicates that there is a QAQC protocol associated with the submitted data and that is was followed. If UDWQ has a question about this submitted data, this information may be requested | Text | Y | Populate as Y or N | Y
FieldGrabSampleResults | QAPP Plan | Populating this field indicates that there is a QAPP associated with the submitted data and that if UDWQ has a question about the submitted data, this information can be quickly provided to UDWQ. | Text | Y | Populate as Y or N. Note: If the QAPP is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the QAPP on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | SAP Plan | Populating this field indicates that there is a SAP associated with the submitted data and that if UDWQ has a question about the submitted data, this information can be quickly provided to UDWQ. | Text | Y | Populate as Y or N. Note: If the SAP is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the SAP on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | Calibrated pH | Populating this field indicates that the pH probe was calibrated according to the submitter's QAQC protocol and that if UDWQ has a question about the submitted data, proof of calibration (and the associated information) can be quickly provided to UDWQ. | Text | Y - If pH data is submitted | Populate as Y or N. Note: If the calibration is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the calibration information on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | Calibrated Temperature | Populating this field indicates that the Temperature probe was calibrated according to the submitter's QAQC protocol and that if UDWQ has a question about the submitted data, proof of calibration (and the associated information) can be quickly provided to UDWQ. | Text | Y - If Temperature data is submitted | Populate as Y or N. Note: If the calibration is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the calibration information on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | Calibrated DO | Populating this field indicates that the DO probe was calibrated according to the submitter's QAQC protocol and that if UDWQ has a question about the submitted data, proof of calibration (and the associated information) can be quickly provided to UDWQ. | Text | Y - If DO data is submitted | Populate as Y or N. Note: If the calibration is not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the calibration information on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | Field Form | Populating this field indicates that there is a field form/notes available and that if UDWQ has a question about the submitted data, this information can be quickly provided to UDWQ. | Text | Y | Populate as Y or N. Note: If the field forms/notes are not included as part of the data package submitted to UDWQ, UDWQ recommends keeping the information on file for at least 6 years after submitting the data to UDWQ. | Y
FieldGrabSampleResults | Barometric Pressure Measurement | Populate the Barometric Measurement/ Result Value | Numeric | Y - If submitting Dissolved Oxygen data in a concentration or percent saturation | --
FieldGrabSampleResults | Barometric Pressure Measurement Unit | Populate the unit of the Barometric Measurement/ Result Value | Text | Y - If a Barometric Pressure Measurement is populated | --
FieldGrabSampleResults | Barometric Pressure Measurement Source | Populate the source/how the Barometric Pressure Measurement was obtained | Text | Y - If a Barometric Pressure Measurement is populated | -- | Estimated by UDWQ Hydrolab SOP: http://www.willardspur.utah.gov/documents/draftsops/SOP_Hydrolabs_09092011_WS.pdf
FieldGrabSampleResults | Barometric Pressure Measurement Latitude | Populate the latitude in decimal degrees (e.g., ##.####) | Numeric | Y - If a Barometric Pressure Measurement is populated | -- | 37.2518
FieldGrabSampleResults | Barometric Pressure Measurement Longitude | Populate the longitude in decimal degrees (e.g., ###.####) | Numeric | Y - If a Barometric Pressure Measurement is populated | -- | 109.8617

## OrganizationInfo
| Submitter of Data Package/ Owner of the Data | Field Sampler Information (if different than Submitter Information) | Laboratory Information
Organization_Name
Organization_Name_Abbreviation
Organization_Type
Organization_StreetAddress
Organization_City
Organization_State
Organization_ZipCode
Organization_Phone | XXX-XXX-XXX | XXX-XXX-XXX | XXX-XXX-XXX
Organization_WebsiteAddress
OrganizationContact_Email
OrganizationContact_LastName
OrganizationContact_FirstName
OrganizationContact_JobTitle
OrganizationContact_Phone | XXX-XXX-XXX | XXX-XXX-XXX | XXX-XXX-XXX
OrganizationSubmitter_Email |  | Do Not Fill Out | Do Not Fill Out
OrganizationSubmitter_LastName |  | Do Not Fill Out | Do Not Fill Out
OrganizationSubmitter_FirstName |  | Do Not Fill Out | Do Not Fill Out
OrganizationSubmitter_JobTitle |  | Do Not Fill Out | Do Not Fill Out
OrganizationSubmitter_Phone | XXX-XXX-XXX | Do Not Fill Out | Do Not Fill Out

## ChemistryGrabSampleResults
Organization_Submitter | Organization_Sampling | Organization_SamplerInitials1 | Organization_SamplerInitials2 | Organization_Laboratory | Nationally Accredited Laboratory | Laboratory Certification | Activity ID | Activity Group ID | Activity Type | Activity Comment | Activity Media Name | Activity Chain of Custody ID | Project ID | ResultUID | Monitoring Location ID | Monitoring Location Name | Monitoring Location Description | Laboratory Sample ID | Laboratory Sample Matrix | Laboratory Batch ID | Activity Start Date | Activity Start Time | Sample Recieve Date | Sample Preparation Date | Sample Freeze Date | Sample Extraction Start Date | Sample Analysis Start Date | Sample Analysis End Date | Sample Type | Sample Collection Method ID | Sample Collection Equipment Name | Activity Relative Depth Name | Sample Depth | Sample Depth Unit | CAS Number | Charateristic Name | Method Speciation | Result Sample Fraction | Result Status ID | Result Detection Condition | Result Qualifier | Result Qualifier Definition | Result Value Type | Result Value | Result Unit | Result Analytical Method ID | Result Analytical Method Context | Result Analytical Method Name | Result Analytical Method Description | Method Agency | Result Detection Limit Type1 | Result Detection Limit Measurement1 | Result Detection Limit Unit1 | Result Detection Limit Type2 | Result Detection Limit Measurement2 | Result Detection Limit Unit2 | Substance Dilution Factor | Laboratory QC Type | Laboratory QC Limits | Laboratory QC Comments | Spike Level | Spike Unit | Recovery | Laboratory Result Comment | Sample Collector Comment | Sample Event Conditions Comment | QAQC Protocol Followed | QAPP Plan | SAP Plan

## FieldGrabSampleResults
Organization_Submitter | Organization_Sampling | Organization_Laboratory | Organization_SamplerInitials1 | Organization_SamplerInitials2 | Activity ID | Activity Group ID | Activity Type | Activity Comment | Activity Media Name | Activity Chain of Custody ID | Project ID | ResultUID | Monitoring Location ID | Monitoring Location Name | Monitoring Location Description | Laboratory Sample ID | Laboratory Batch ID | Sample Preparation Date | Sample Analysis Start Date | Activity Start Date | Activity Start Time | Sample Type | Activity Relative Depth Name | Sample Depth | Sample Depth Unit | Charateristic Name | Method Speciation | Result Sample Fraction | Result Status ID | Result Detection Condition | Result Qualifier | Result Value Type | Result Value | Result Unit | Result Analytical Method ID | Result Analytical Method Context | Result Analytical Method Name | Result Analytical Method Description | Method Agency | Result Detection Limit Type1 | Result Detection Limit Measurement1 | Result Detection Limit Unit1 | Result Detection Limit Type2 | Result Detection Limit Measurement2 | Result Detection Limit Unit2 | Sample Collection Method ID | Sample Collection Equipment Name | Substance Dilution Factor | Equipment Precision Lower Value | Equipment Precision Upper Value | Equipment Precision Unit | Equipment Accuracy Lower Value | Equipment Accuracy Upper Value | Equipment Accuracy Unit | Laboratory Result Comment | Sample Collector Comment | Sample Event Conditions Comment | QAQC Protocol Followed | QAPP Plan | SAP Plan | Calibrated pH | Calibrated Temperature | Calibrated DO | Field Form | Barometric Pressure Measurement | Barometric Pressure Measurement Unit | Barometric Pressure Measurement Source | Barometric Pressure Measurement Latitude | Barometric Pressure Measurement Longitude