## Instructions_ReadFirst
Version 1.0 November 3, 2014
File Name | Worksheet Name | Data Submission Templates: Column Headers | Description
2016 Integrated Report Notice of Data |  |  | DWQ's solicitation for external data to be used in an Integrated Report. Typically advertised in the Salt Lake Tribune, Desert Morning News, DWQ's Public Notices/ List serve/ Assessment Website, and DWQ Cooperator's Website/ List Serves/ News Letters.
Acceptance Form | -- | -- | Form that the data submitter must include as part of their data package. Including the form is an acknowledgement that the following is true: Field Grab Sample Data submissions 1) Instrument calibration and verification were documented and these records will be available within a reasonable amount of time determined by DWQ if questions should arise during DWQ’s data quality review process 2) Instrument calibration and verifications met the criteria within the Assessment Data Quality Matrix (unless otherwise noted by the submitter in another data package form/ template). All Grab Sample Data submissions 3) Additional information can be made available within a reasonable amount of time to DWQ if QA concerns arise during the data quality review process. 4) The data and any other information you submit will become part of the IR’s public record and made available during the internal and external IR review process (as all IR information is). 5) If after reviewing the data package (and any additional information provided or requested), DWQ will assign a grade to the submitted data as outlined on the IR call for data website, Assessment Data Quality Matrix file. DWQ will not delete data records that are submitted to the Assessment Program, but will instead include a “Flag” and “Flag Comment” to the data record, so it is clear to stakeholders why the data was assigned a certain grade and was/was not used for 305(b) and 303(d) assessments.
Assessed Parameters | -- | -- | List of Parameters (and recommended CAS Numbers) that DWQ assesses and has numeric criteria for. The file also contains information on what parameters DWQ would like to encourage submitters to provide because the parameter has new or revised water quality criteria or were impacted by a change in the assessment methodology. Submitters should pay attention to parameters that are indicated as requiring supplemental data for a complete assessment and/or additional data that is needed for data quality checks of confirming an assessment decision.
AWQMS | -- | -- | Link to DWQ's online water quality database: http://www.deq.utah.gov/Compliance/monitoring/water/Data.htm
Parameter Method Speciation Translations | -- | -- | List of Parameters that may need to have a method speciation populated in the Data Submission Templates. This file provides the parameter name, CAS Number, and required method specification.
Current Assessment Methodology | -- | -- | The most recent Assessment Methodology that underwent a public review process. This is typically the assessment methodology that was used in the most recent Integrated Reporting (IR) cycle.
Data Quality Matrices | -- | -- | File that describes the process DWQ goes through to assign a rank/ quality to external data submissions for the IR. Indicated in this file are the requirements and recommendations for submitters to include for Grade "A" or "B" data quality. Currently, DWQ uses Grade "A" and "B" data for assessment purposes.
Data Submission Templates | Column Headers Key | -- | DWQ requires that all quantitative data submissions to be considered for the IR be provided in the templates provided on the IR call for data website. Each template is provided in an EXCEL format and contains several worksheets or information the submitter must fill out for each year of data they are submitting for. Column Headers Key Worksheet: This worksheet is provided in every submission template and contains helpful information on what each field means in the different template worksheets. Also provided in this worksheet is guidance on how to format and populate the cells associated with a data record.
Data Submission Templates | Sample Site Info | -- | DWQ requires that all quantitative data submissions to be considered for the IR be provided in the templates provided on the IR call for data website. Each template is provided in an EXCEL format and contains several worksheets or information the submitter must fill out for each year of data they are submitting for. Sample Site Information Worksheet: This template only needs to be submitted once (e.g., you can submit 1 site ID template for multiple data types). This template identifies the geographical information associated the data results.
Data Submission Templates | Organization Info | -- | DWQ requires that all quantitative data submissions to be considered for the IR be provided in the templates provided on the IR call for data website. Each template is provided in an EXCEL format and contains several worksheets or information the submitter must fill out for each year of data they are submitting for. Organization Information Worksheet: This worksheet is located in every data type/sample template and contains information on the various organization involved with a data result. This information is used by DWQ if questions about the data need to be answered during the data quality review process.
Data Submission Templates | Sample Results | -- | DWQ requires that all quantitative data submissions to be considered for the IR be provided in the templates provided on the IR call for data website. Each template is provided in an EXCEL format and contains several worksheets or information the submitter must fill out for each year of data they are submitting for. Sample Results Worksheet: This worksheet is located in every data type/sample template and contains fields that need to be populated if submitting data to DWQ for consideration in the IR. Note: Please refer to the Column Headers Key on what fields are required and how to populate the cells.
Data Submission Templates | Other Worksheets |  | DWQ requires that all quantitative data submissions to be considered for the IR be provided in the templates provided on the IR call for data website. Each template is provided in an EXCEL format and contains several worksheets or information the submitter must fill out for each year of data they are submitting for. Other Worksheet: Currently, E. coli submissions are the only data type that require filling out information in an additional worksheet (i.e., the E. coli Bench Sheet). The additional worksheet provides DWQ with the details of the sample analysis for QAQC purposes.
Data Submittal General Information | Instructions | -- | Worksheet that briefly describes all of the links and files provided on the call for data website.
Data Submittal General Information | Acronyms |  | Worksheet that defines the Acronyms used in the call for data website and files submitters must review and populate
Data Type Matrix | -- | -- | File that describes some of the types of data that DWQ considers for an Integrated Report and how that data is used by the Assessment Program
DWQ 10-year Strategic and Annual Monitoring Plans | -- | -- | Link to DWQ's online water quality monitoring plans: http://www.deq.utah.gov/Compliance/monitoring/water/Plan.htm
DWQ Cooperator Program | -- | -- | Link to DWQ's online water quality monitoring plans: http://www.deq.utah.gov/workgroups/watermoncouncil/index.htm
DWQ Monitoring Field Form Template | -- | -- | File is an example of a field form that DWQ currently uses. Submitters without a field template, may consider using this one in the future
DWQ Monitoring Multi-probe Calibration Form | -- | -- | File is an example of a multi-probe calibration form that DWQ currently uses. Submitters without a calibration template, may consider using this one in the future
DWQ QAPP and SOPs | -- | -- | Link to DWQ's online water quality monitoring plans: http://www.deq.utah.gov/Compliance/monitoring/water/qaqc.htm
DWQ SAPP Checklist | -- | -- | File contains information on what DWQ looks for in a SAPP. This guidance is currently used by DWQ cooperators and internally at DWQ.
EPA Recommended Water Quality Criteria | -- | -- | Link to EPA recommended National Water Quality criteria for Aquatic Life and Human Health: http://water.epa.gov/scitech/swguidance/standards/criteria/current/index.cfm
EPA Volunteer Guide to Developing QAPPs | -- | -- | Link to EPA's Guidance on developing a QAPP: http://water.epa.gov/type/rsl/monitoring/qappcovr.cfm
FAQs | -- | -- | Files contains information on Frequently Asked Questions. Recommended that submitters read these questions because these files contain important submission information.
Monitoring and Assessment Quick Reference Guide | -- | -- | File contains information on DWQ's tiered/ rotating basin approach to monitoring and the schedule for intensive sampling in each watershed management unit.
Naming Files | -- | -- | File contains information and guidance on how to name files for a data package.
NWIS |  |  | Link to USGS' online water quality database: http://waterdata.usgs.gov/nwis
STORET/WQX | -- | -- | Link to EPA's online water quality database: http://www.epa.gov/storet/
Submission Checklist | -- | -- | File contains a checklist of all of the files on the call for data website that are required for a data submission package. Note: Submitters should read all files provided on the call for data website and not just read the files on the check list. Important submission information is provided files that are not required in a data submission package (i.e., FAQs files).
Utah's Standards/ R317-2 | -- | -- | Link to Utah's current water quality Standards and Numerical Criteria: http://www.rules.utah.gov/publicat/code/r317/r317-002.htm
Utah's Volunteer Citizen Monitoring Program | -- | -- | Link to Utah's volunteer citizen monitoring program through Utah State University: http://extension.usu.edu/utahwaterwatch/
WMU Map | -- | -- | File contains a map of DWQ's Watershed Management Units.

## Acronyms
Acronyms | Acronym Definition
AWQMS | Ambient Water Quality Monitoring System
CAS | CAS Registry Number
CAS Number | CAS Registry Number
CASRN | CAS Registry Number
DEQ | Department of Environmental Quality
DOGM | Division of Oil, Gas and Mining
DPM | Designated Project Manager
DWQ | Division of Water Quality
EPA | Environmental Protection Agency
FAQ | Frequently Asked Questions
IDEXX Colilert
IR | Integrated Report
NELAC
NELAP
NIST | National Institute of Standards and Technology
NIST | National Institute of Standards and Technology
QA | Quality Assurance
QA/QC | Quality Assurance/ Quality Control
QAPP | Quality Assurance Project Plan
QAQC | Quality Assurance Quality Control
QC | Quality Control
SAP | Sampling and Analysis Plan
SMP | Strategic Monitoring Plan
SOP | Standard Operating Procedure
STORET | Storage Retrieval
UDEQ | Utah Department of Environmental Quality
UDWQ | Utah Division of Water Quality
USGS | United State Geological Survey
UT | Utah
WMU | Watershed Management Units
WQA | Water Quality Assessment
WQX | Water Quality Exchange
WQX/STORET | Water Quality Exchange / Storage Retrieval