[Public Entity]

Operations and Maintenance Program

[Public Entity] has established this sanitary sewer system operations and maintenance program to ensure proper system operations, to minimize any basement backups or SSOs, and to provide for replacement, refurbishment, or repair of damaged or deteriorated piping systems.  The combined maintenance program should insure that the environment and health of the public are protected at a reasonable cost for the end users.  To this end, the following areas are described and included in this maintenance program [delete programs not desired or needed]:

- System Mapping

- System Cleaning

- System CCTV Inspection

- Pump Station/Pressure Lines Inspection

- Manhole Inspection

- Defect Reporting

- Damage Assessment

System Mapping

An up to date map is essential for effective system operations.  [Public entity] has assigned the mapping responsibility to the facility engineer [or other person this responsibility is assigned to] who will prepare and maintain current mapping for the entire sanitary sewer system.  Mapping may be maintained on either paper or in a graphical information system (GIS) or a combination of both.  Current mapping is available at the following locations:

____________________________________

____________________________________

____________________________________

____________________________________

Should any employee identify an error in the mapping, they should document the error on a defect report and give it to the engineer [or other responsible person].

System Cleaning

Sanitary sewer system cleaning is accomplished through various means and methods.  [Public entity] has established a goal to clean the entire system every five years[insert own goal].   Based on experience over the past 20 years, this frequency significantly reduces the number of basement backups, controls grease problems and flushes any bellies in the system.  In addition [public entity] has a listing of identified hot spots which are maintained at a higher frequency.   Systems which may have roots are mechanically rodded or hydraulically cut out and areas where restaurants are close together are hydraulically flushed with a high pressure jet truck.  The following methods are employed to provide system cleaning:

[Public Entity] Hydraulic Cleaning

Contractor Hydraulic Cleaning [if contractors are used]

[Public Entity or Contractor] Mechanical Rodding.

Chemical Root Control

Chemical FOG Control

Cleaning records are maintained at   __________________________________       ______________________________[location of record].  Contractors are required to provide cleaning records associated with their work.  Cleaning history may also be entered into the GIS; however, this is not always necessary.   Should the cleaning process identify a serious defect, the problem should be reported on a Defect Report Form.   The [responsible position] should be given the defect reports for further action.  The defect report should be specific as to location and type of problem.  A copy of the Defect Report Form is included at the end of this narrative section.   A summary of cleaning activities shall be prepared annually by the [responsible position] or designee.  This summary will normally be presented to _____

_______________________________. [name of management position or board/council]

System CCTV Inspection

Closed Circuit TV inspections of the sanitary sewer system are used to assess pipe condition and identify problems or possible future failures which need current attention.  The CCTV process also identifies the piping condition to allow for replacement prior to failure.  Generally [public entity] will conduct CCTV inspection with [its own staff, contractor or both].  Inspections of the system will occur every 10 to 15 years [or other frequency].  This inspection frequency is based on the pipe aging process.   As such, once the system has been inspected completely, change usually occurs gradually.  CCTV will also be employed when a systems operation or capacity is questioned or when an SSO occurs.  Any defects identified during the CCTV process should be reported on a Defect Report Form and the form should be given to the [responsible position] for possible repairs.  Documentation of CCTV activities will be maintained at ________________________________________________.  When contractors are employed to inspect the sanitary sewer system they will be required to submit records for their work.   The [responsible position] will prepare an annual summary of CCTV completed for that calendar year.

Pump Station/Pressure Line Inspection [delete if there are no pump stations]

Staff inspects each pump station at least weekly for correct operations.  Included in this inspection is a visual observation of the pressure line alignment in order to insure there are no leaks.  Pump stations are also monitored via remote monitoring [if available]. Operators inspecting the pump stations will complete the included Pump Station Inspection Form.   Should a problem be encountered that cannot be corrected during the inspection, a Defect Report Form should be completed and the form given to the [responsible position].  If the defect has the potential to cause a sanitary sewer overflow, immediate action should be taken to insure no overflow occurs.  During the inspection of the pressure sewer alignment, operators should be looking for unusual puddles.   If a potential leak is identified a Defect Report should be completed and given to the [responsible position] for further action.  An evaluation will be made to determine if there is an actual leak and appropriate action taken.

Manhole Inspection

[Public entity] schedules annual inspection of the sanitary sewer manholes (M/H).  The M/H inspection involves the identification of foreign objects and surcharging that may be present.  Crews inspecting the manholes will be given maps by the District Engineer who will monitor the progress and completeness of the inspection process.  When a potential defect is identified the manhole should be flagged.  Flagged manholes should be checked by an operator within several days to determine further action.  If, during the inspection process, the inspection crew believes a problem is imminent, they should immediately cease inspecting and inform the [responsible position] of the problem.  A cleaning crew should be dispatched immediately to ensure correct system operations.   All inspection records should be retained for documentation of work performed.

Defect Reporting

Defect Reports generated through the cleaning, CCTV inspection, pump station inspection or manhole inspection programs will be prioritized for correction by the [responsible position].   Any defects which have the potential for catastrophic failure and thus create a sanitary sewer overflow should be evaluated immediately and discussed with the [responsible position] for repair.   Repair methods may include:

Spot Excavation Repairs

Spot Band Repairs

Segment Excavation Replacements

Segment Lining

Manhole Rehabilitation

When a defect is not flagged for immediate repair, it should be considered for placement on the “hot spot” list.  This will allow for vigilant maintenance to ensure failure and a subsequent sanitary sewer overflow do not take place.  Defect reports should be used in the Budget process to determine what financial allocation should be made in the next Budget year.  The [responsible person] should include outstanding defects in the annual report.

Collection System Damage

Collection damage may occur as a result of multiple factors, some identified as a result of inspection activities and some identified as a result of damage by third parties such as contractors.

Damage Identification

The identification of system damage which may result in an SSO or basement backup is important to prevent environmental, public health, or economic harm.  Identification of damage may be from either internal activities or external activities.

Internal activities which may result in the identification of damage include the following:

1.	Collections Maintenance Activities

2.	CCTV Inspection Activities

3.	Manhole Inspection Activities

These three activities are discussed in this Maintenance Program and the identification of damage will result in the generation of a Defect Report.   Generally, damage identification is an iterative and continuous process.

External activities which identify damages include:

1.	Contractor Notification of Damage

2.	Directional Drilling Notification of Damage

3.	Public Damage Complaints

All three of these notifications generally require immediate response.  Staff should respond and evaluate the seriousness of the damage and the effect on the environment.   Damages which include a release to the environment should be handled in accordance with the SORP.   Damages which cause a basement backup should trigger the Basement Backup program.   Damages which remain in the trench should be de minimis and do not require more action than the repair of the damage.

Whatever the cause of collection system damage, the response should be expeditious to prevent environmental or economic harm.   District staff should consider all damages an emergency until it is shown by inspection to be a lower priority.

Damage Response Actions

When damages occur in the collection system, the following actions help define the path staff should take.  These action plans are not inclusive of all options available but are indicative of the types of response that may be taken.

Stable Damage

Inspection activities may show a system damage which has been there for an extended period of time.  Such damage may not require immediate action but may be postponed for a period of time.  When stable damage is identified and not acted upon immediately, a defect report should be prepared.   If such a defect is identified and repaired immediately, a defect report is not needed.   An example of stable damage could be a major crack in a pipeline or a severely misaligned lateral connection where infiltration is occurring.

Unstable Damage

Unstable damage is damage which has a high likely hood that failure will occur in the near future.   Such damage may be a broken pipe with exposed soil or a line which has complete crown corrosion.  In these cases, action should be taken as soon as there is a time, a contractor, materials and other necessary resources available.   When such unstable damage is identified, if possible, consideration should be given to trenchless repairs which may be able to be completed quicker than standard excavation.  Immediately after identification the Manager should be contacted to review and take care of budget considerations.

Immediate Damage

When a contractor or others damage a collection line such that the line is no longer capable of functioning as a sewer, this immediate damage must be handled expeditiously.   Such damage allows untreated wastewater to pool in the excavation site, spill into the environment or possibly backup into a basement.  Under such conditions priority should be given to an immediate repair.   Since excavation damage may be a result of contractor negligence or it could be a failure of [public entity] to adequately protect the line by appropriately following the Damages to Underground Utilities Statute 54-8A, priority should be given to effecting a repair and not to determining the eventual responsible party.

As can be determined from the above action plans, priority should always be preventing SSO’s and attendant environmental damage, to prevent basement backups and financial impacts, and to prevent public health issues.