### Utah General Permit for Discharges from Small Municipal Separate Storm Sewer Systems

In 1990, EPA established Phase I of the National Pollutant Discharge Elimination System (NPDES) storm water program. Utah’s Pollutant Discharge Elimination System (UPDES) program, administered by the UDWQ, issues permits to individuals, industries or public utilities that discharge pollutants to waters of the state. The UPDES program includes EPA’s Phase I rules for “medium” and “large” municipal separate storm sewer systems (MS4s serving populations of 100,000 or more). EPA’s Stormwater Phase II Rule is intended to improve waterways by reducing the quantity of pollutants that storm water picks up and carries into storm sewer systems. This permit applies to municipal storm water systems such as cities and counties, who must develop, implement, and enforce a storm water management program designed to reduce the discharge of pollutants from their small municipal separate storm sewer systems to the maximum extent practicable. This typically requires the development and implementation of BMPs and achievement of measurable goals for each of six minimum control measures:

- Public Education and Outreach

- Public Participation/Involvement

- Illicit Discharge Detection and Elimination

- Construction Site Runoff Control

- Post-Construction Runoff Control

- Pollution Prevention/Good Housekeeping

A NOI describing the storm water management program is submitted as the UPDES permit application. Annual reports are submitted during the first permit term of up to 5 years. The Storm Water Management Program should be phased in over this five year period.