## Reduction Summer
| Cutler Reservoir Modeling Results | [11 empty] | Table for Report
|  |  | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall | Interpretation | Units | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall
TOTAL P MG/M3 | Total phosphorus | ug/l | 65.349 | 66.2147 | 67.1858 | 90.3858 | 19.9338 | 66.2499 | 55.1598 | 98.4888 |  | mg/l | 0.065349 | 0.066215 | 0.067186 | 0.090386 | 0.019934 | 0.06625 | 0.05516 | 0.098489
| Trophic state index TP | index | [10 empty] | 64.4219 | 64.6117 | 64.8216 | 69.0989 | 47.3007 | 64.6184 | 58.1998 | 62.0509

## Reduction Winter
Cutler Reservoir Modeling Results
|  |  | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall | Interpretation | Units | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall
TOTAL P MG/M3 | Total phosphorus | ug/l | 74.6561 | 76.0108 | 75.5907 | 159.5666 | 28.267 | 75.4192 | 93.9168 | 112.3693 |  | mg/l | 0.074656 | 0.076011 | 0.075591 | 0.15957 | 0.028267 | 0.075419 | 0.093917 | 0.11237
| Trophic state index TP | index | [10 empty] | 66.3419 | 66.6012 | 66.5213 | 77.2949 | 52.3373 | 66.4881 | 64.8161 | 65.8193

## Baseline Summer
| Cutler Reservoir Modeling Results | [11 empty] | Table for Report
|  |  | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall | Interpretation | Units | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall
TOTAL P MG/M3 | Total phosphorus | ug/l | 124.7248 | 126.8648 | 128.9828 | 234.2214 | 89.7935 | 126.8575 | 162.0075 | 190.3578 |  | mg/l | 0.12472 | 0.12686 | 0.12898 | 0.23422 | 0.089794 | 0.12686 | 0.16201 | 0.19036
| Trophic state index TP | index | [10 empty] | 73.7425 | 73.9878 | 74.2266 | 82.8294 | 69.0145 | 73.9856 | 75.922 | 74.7602

## Baseline Winter
Cutler Reservoir Modeling Results
|  |  | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall | Interpretation | Units | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5 | North | South | Overall
TOTAL P MG/M3 | Total phosphorus | ug/l | 131.1043 | 133.7804 | 130.85 | 310.4019 | 143.4317 | 131.9116 | 226.9168 | 237.7293 |  | mg/l | 0.1311 | 0.13378 | 0.13085 | 0.3104 | 0.14343 | 0.13191 | 0.22692 | 0.23773
| Trophic state index TP | index | [10 empty] | 74.4618 | 74.7532 | 74.4338 | 86.8901 | 75.7577 | 74.5496 | 81.3239 | 77.2593

## Compare Summer
Table 6.Q. Predicted Reservoir Response to Target Phosphorus Load Reduction in Summer Season (May – October)
|  | Segment 1 |  |  | Segment 2 |  |  | Segment 3 |  |  | Segment 4 |  |  | Segment 5 |  |  | Northern Reservoir |  |  | Southern Reservoir |  |  | Overall
|  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction
Total phosphorus | ug/l | 124.7248 | 65.349 |  | 126.8648 | 66.2147 |  | 128.9828 | 67.1858 |  | 234.2214 | 90.3858 |  | 89.7935 | 19.9338 |  | 126.8575 | 66.2499 |  | 162.0075 | 55.1598 |  | 190.3578 | 98.4888
Total phosphorus | mg/l | 0.12472 | 0.065349 | 0 | 0.12686 | 0.066215 | 0 | 0.12898 | 0.067186 | 0 | 0.23422 | 0.090386 | 0 | 0.089794 | 0.019934 | 0 | 0.12686 | 0.06625 | 0 | 0.16201 | 0.05516 | 0 | 0.19036 | 0.098489
Trophic state index TP | index | 73.7425 | 64.4219 |  | 73.9878 | 64.6117 |  | 74.2266 | 64.8216 |  | 82.8294 | 69.0989 |  | 69.0145 | 47.3007 |  | 73.9856 | 64.6184 |  | 75.922 | 58.1998 |  | 74.7602 | 62.0509

## Compare Winter
Table 6.Q. Predicted Reservoir Response to Target Phosphorus Load Reduction in Winter Season (November - April)
|  | Segment 1 |  |  | Segment 2 |  |  | Segment 3 |  |  | Segment 4 |  |  | Segment 5 |  |  | Northern Reservoir |  |  | Southern Reservoir |  |  | Overall
|  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction |  | Baseline | Reduction
Total phosphorus | ug/l | 131.1043 | 74.6561 |  | 133.7804 | 76.0108 |  | 130.85 | 75.5907 |  | 310.4019 | 159.5666 |  | 143.4317 | 28.267 |  | 131.9116 | 75.4192 |  | 226.9168 | 93.9168 |  | 237.7293 | 112.3693
TP | mg/l | 0.1311 | 0.074656 | 0 | 0.13378 | 0.076011 | 0 | 0.13085 | 0.075591 | 0 | 0.3104 | 0.15957 | 0 | 0.14343 | 0.028267 | 0 | 0.13191 | 0.075419 | 0 | 0.22692 | 0.093917 | 0 | 0.23773 | 0.11237
Trophic state index TP | Percentage | 74.4618 | 66.3419 |  | 74.7532 | 66.6012 |  | 74.4338 | 66.5213 |  | 86.8901 | 77.2949 |  | 75.7577 | 52.3373 |  | 74.5496 | 66.4881 |  | 81.3239 | 64.8161 |  | 77.2593 | 65.8193

## PercentExceedance
BASELINE
|  | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5
Percent of time during growing season that Chl a exceeds 10 ug/L | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 20 ug/L | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 30 ug/L | 30 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 40 ug/L | 40 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 50 ug/L | 50 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 60 ug/L | 60 | #REF! | #REF! | #REF! | #REF! | #REF!
Reduction Scenario
|  | Segment 1 | Segment 2 | Segment 3 | Segment 4 | Segment 5
Percent of time during growing season that Chl a exceeds 10 ug/L | 10 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 20 ug/L | 20 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 30 ug/L | 30 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 40 ug/L | 40 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 50 ug/L | 50 | #REF! | #REF! | #REF! | #REF! | #REF!
Percent of time during growing season that Chl a exceeds 60 ug/L | 60 | #REF! | #REF! | #REF! | #REF! | #REF!