## CN
C-1 | 383.5 |  |  | Basin Area Weighted CN
Subbasin | Acreage | CN |  | Subbasin | Acreage | CN
1 | 38.22 | 95 | 3630.9 | C-1 | 383.5 | 89 | 34131.5
2 | 21.23 | 90 | 1910.7 | C-2 | 135.8 | 83 | 11271.4
3 | 15.51 | 81 | 1256.31 | C-3 | 348.55 | 86 | 29975.3
4 | 44.04 | 89 | 3919.56 |  | 867.85 |  | 75378.2
5 | 17.46 | 95 | 1658.7 | Area Weighted CN |  | 86.8563
6 | 19.73 | 95 | 1874.35
7 | 52.55 | 94 | 4939.7
8 | 29.47 | 87 | 2563.89
9 | 32.13 | 90 | 2891.7
10 | 62.73 | 86 | 5394.78
11 | 19.81 | 89 | 1763.09
12 | 2.51 | 89 | 223.39
13 | 28.15 | 80 | 2252
| 383.54 |  | 34279.07
Area-weighted CN |  | 89.3755
C-2 | 135.8
Subbasin | Acreage | CN
1 | 10.38 | 88 | 913.44
2 | 35.64 | 90 | 3207.6
3 | 7.58 | 72 | 545.76
4 | 17.93 | 89 | 1595.77
5 | 15.62 | 83 | 1296.46
6 | 25.35 | 75 | 1901.25
7 | 23.43 | 75 | 1757.25
| 135.93 |  | 11217.53
Area-weighted CN |  | 82.5243
C-3 | 348.55
3 | 23.02 | 89 | 2048.78
4 | 21.09 | 89 | 1877.01
5 | 42.63 | 86 | 3666.18
6 | 24.27 | 86 | 2087.22
7 | 53.99 | 86 | 4643.14
8 | 11.4 | 86 | 980.4
9 | 28.14 | 85 | 2391.9
10 | 32.24 | 85 | 2740.4
11 | 41.25 | 85 | 3506.25
12 | 17.55 | 87 | 1526.85
13 | 25.53 | 85 | 2170.05
14 | 27.44 | 83 | 2277.52
| 348.55 |  | 29915.7
Area-weighted CN |  | 85.829

## Precipitation
Year | Richmond Precip (in) | USU Precip (in) | USU Radio Sta Precip (in) | USU Ex Sta Precip (in) | Cutler Dam Precip (in)
1996 | 23.57 | 22.245 | 21.64 | 23.18 | 18.945
1997 | 22.38 | 22.5 | 20.415 | 22.64 | 19.555
1998 | 26.93 | 27.585 | 25.195 | 29.425 | 12.65
1999 | 20.225 | 16.235 | 14.94 | 15.31 | 14.585
2000 | 19.25 | 12.13 | 16.585 | 15.035 | 15.185
2001 | 14.175 | 10.48 | 12.27 | 8.745 | 12.99
2002 | 14.03 | 11.03 | 12.905 | 11.805 | 13.34
2003 | 16.655 | 16.33 | 13.66 | 13.875 | 11.345
2004 | 21.74 | 18.83 | 18.065 | 17.38 | 20.88
2005 | 26.97 | 26.615 | 23.4 | 23.975 | 27.86
2006 | 21.37 | 21.77 | 16.83 | 19.9 | 18.055
2007 | 10.815 | 9.31 | 4.96 | 8.295 | 8.35
Average(96-06) | 20.6632 | 18.7045 | 17.8095 | 18.2973 | 16.8536
Average (all) | 18.4656
Irrigation Season (May - October)
Date | Richmond Precip (in) | USU Precip (in) | USU Radio Sta Precip (in) | USU Ex Sta Precip (in) | Cutler Dam Precip (in)
1996 | 8.53 | 9.005 | 7.46 | 8.4 | 6.01
1997 | 12.855 | 11.74 | 10.56 | 11.885 | 11.805
1998 | 12.435 | 13.87 | 12.2 | 14.045 | 3.77
1999 | 8.78 | 6.16 | 6.05 | 5.78 | 6.285
2000 | 9.13 | 6.075 | 8.145 | 7.76 | 6.875
2001 | 3.04 | 2.56 | 3.45 | 2.31 | 2.8
2002 | 6.2 | 4.545 | 5.67 | 5.52 | 6.92
2003 | 4.975 | 5.83 | 5.13 | 3.6 | 4.01
2004 | 13.425 | 11.2 | 10.715 | 10.715 | 13.7
2005 | 9.145 | 8.565 | 7.895 | 7.385 | 8.18
2006 | 8.44 | 8.63 | 7.57 | 7.405 | 6.155
2007* | 4.55 | 4.355 | 0.345 | 3.795 | 2.785
Average | 8.4588 | 7.7112 | 7.0992 | 7.3833 | 6.6079
Average All | 7.4521
Percent over .1 inches | 57%
4.2477
*2007 irrigation season does not include October
NonIrrigation Season (November-April, starts in 1996)
Date | Richmond Precip (in) | USU Precip (in) | USU Radio Sta Precip (in) | USU Ex Sta Precip (in) | Cutler Dam Precip (in)
1997 | 14.22 | 13.69 | 13.525 | 16.095 | 13.865
1998 | 13.815 | 14.19 | 13.41 | 15.075 | 8.42
1999 | 12.545 | 10.615 | 9.695 | 10.145 | 9.11
2000 | 9.9 | 6.67 | 7.535 | 8.115 | 7.49
2001 | 6.795 | 6.72 | 6.55 | 4.88 | 6.58
2002 | 11.645 | 6.055 | 9.495 | 6.075 | 9.78
2003 | 8.66 | 7.94 | 6.175 | 7.305 | 5.235
2004 | 11.715 | 11.34 | 8.91 | 10.74 | 8.645
2005 | 16.835 | 15.9 | 14.515 | 13.855 | 18.075
2006 | 13.735 | 14.495 | 11.085 | 14.685 | 14.3
2007 | 8.425 | 7.08 | 6.525 | 6.455 | 7.295
Average | 11.6627 | 10.4268 | 9.7655 | 10.3114 | 9.8905
Average All | 10.4114
Percent over .1 inches | 59%
6.1427

## Q & TP Load
Load coefficient estimates for developed landuses in Cutler Reservoir watershed
Discharge calcs
Q = (Seasonal P - 0.2S)2/(P+0.8S)
S = (1000/CN) - 10
| Value | Units | Notes
S = (1000/CN) - 10 | 1.4943 |  | See equation above. Weighted CN calculated on CN tab.
Summer P Average Precip = | 7.45 | inches | Based on long-term precip data 1996-2006
Winter P Average Precip = | 10.41 | inches | Based on long-term precip data 1996-2007
Summer Q (in) | 5.9152 | inches | See Q equation above.
Winter Q (in) | 8.7919 | inches | See Q equation above.
Summer Volume (ac-ft) | 427.7893 | acre-feet
Summer Volume (L) | 528000000 | liters
Winter Volume (ac-ft) | 635.8356 | acre-feet
Winter Volume (L) | 784000000 | liters
Area of basin included
Acreage (C1-C3) | 867.85 | acres | Comes from City of Logan: Northwest Field Canal; Basin C-1, C-2, and C-3
Area of basin (C1 - C3) | 351.2064 | hectare
Phosphorus load calculations
TP Concentration Summer (mg/L) | 0.27 | mg/l | NSQD
TP Concentration Winter (mg/L) | 0.27 | mg/l | NSQD
Summer Load (kg) | 142.56 | kg
Winter Load (kg) | 211.68 | kg
Summer load coefficient (kg/ha) | 0.40592 | kg/ha/season
Winter load coefficient (kg/ha) | 0.60272 | kg/ha/season
Annual load coefficient (kg/ha) | 1.0086 | kg/ha/year