## Slide 1: Richard Mickelsen Provo City
Utah Lake Education ½-Day
3/30/17

## Slide 2: POTW We Clean The Water

## Slide 3
http://www.mountainland.org/utahlaketrailplan

## Slide 4
American Fork
Facility
1953
http://www.mountainland.org/utahlaketrailplan

## Slide 5
American Fork
Facility
1953
Springville
Facility
1955
http://www.mountainland.org/utahlaketrailplan

## Slide 6
American Fork
Facility
1953
Orem
Facility
1958
Provo Facility
1957
Springville
Facility
1955
Spanish Fork
Facility
http://www.mountainland.org/utahlaketrailplan
Pleasant Grove
Facility
1958
Lehi
Facility
1958

## Slide 7
EPA
Water Quality
Board
DWQ
POTW
CWA 1972

## Slide 8
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
http://www.mountainland.org/utahlaketrailplan
Santaquin Facility

## Slide 9: VOLUME
POTW’s = 70,000,000 Gallons / Day

## Slide 10: VOLUME
Utah Lake Volume = 870,000 acre feet

## Slide 11: VOLUME
Year
  POTW ~ 10% Utah Lake

## Slide 12: VOLUME
POTW’s = 70,000,000 Gallons / Day
Utah Lake Volume = 870,000 acre feet
Year
  POTW ~ 10% Utah Lake

## Slide 13: Provo’s Cleaning Wastewater Numbers
Analytes of Concern | Raw | Limits | Provo | Units | Removal (%)
BOD | 152 | 25 | < 2 | mg/L | 98.7
TSS | 186 | 25 | < 2 | mg/L | 98.9
E. Coli | > 2420 | 126 | 3 | No./100 mL | 99.9
Ammonia | 26.3 | 3 | < 0.02 | mg/L | 99.2
WET | - | Pass | Pass | Pass | 
Oil & Grease |  | 10 | < 10 | mg/L | 
pH | 7.8 | 8 | 7 .2 | S.U. | 
DO | 4.9 | 9 | 8.4 | mg/L | 
Metals | - | List | < MDL |  | 
Organic Toxics | - | List | < MDL |  | 
Other |  |  |  |  | 
TDS | - | - | 600 | mg/L | 
Nutrients |  |  |  |  | 
Phosphate | 4.4 | 1 | 2.7 | mg/L | 38.6
Nitrogen | 32 | - | 25 | mg/L | 21.9

## Slide 14: Provo’s Cleaning Wastewater Numbers
Chart: 
| 99% Removed | 1% Remain
 | 99 | 1
Analytes of Concern | Raw | Limits | Provo | Units | Removal (%)
BOD | 152 | 25 | < 2 | mg/L | 98.7
TSS | 186 | 25 | < 2 | mg/L | 98.9
E. Coli | > 2420 | 126 | 3 | No./100 mL | 99.9
Ammonia | 26.3 | 3 | < 0.02 | mg/L | 99.2
WET | - | Pass | Pass | Pass | 
Oil & Grease | 20.7 | 10 | < 10 | mg/L | 
pH | 7.8 | 8 | 7 .2 | S.U. | 
DO | 4.9 | 9 | 8.4 | mg/L | 
Metals | - | List | < |  | 
Organic Toxics | - | List | < |  | 
Other |  |  |  |  | 
TDS | - | - | 600 | mg/L | 
Nutrients |  |  |  |  | 
Phosphate | 4.4 | 1 | 2.7 | mg/L | 38.6
Nitrogen | 32 | - | 25 | mg/L | 21.9

## Slide 15: Technology Base Phosphorus Effluent Limit (TBPEL)
See if it improves (Adaptive)

## Slide 16: Technology Base Phosphorus Effluent Limit (TBPEL)
See if it improves (Adaptive)
Time to do the science

## Slide 17: Technology Base Phosphorus Effluent Limit (TBPEL)
See if it improves (Adaptive)
Time to do the science
Litigation prevention

## Slide 18: Technology Base Phosphorus Effluent Limit (TBPEL)
See if it improves (Adaptive)
Time to do the science
Litigation prevention
Do Something. . . Hold the line

## Slide 19: DWQ Tier Study
Tier | P (mg/L) | N (mg/L) | Projected State of Utah Total Capital Cost ($ Millions) | Projected State of Utah Total O&M Cost ($ Millions) | 
3 | 4.4 | 32 | - | - | 
2 | 1 | - | 24 | 4.4 | 
2N | 1 | 20 | 142 | 4.4 | 
1 | 0.1 | - | 818 | 14.4 | 
1N | 0.1 | 10 | 1,043 | 16.3 | 
Advancement of Cost Engineering (AACE) International Class 4 estimate with -30% / +50% |  |  |  |  | 

## Slide 20: Water Quality
Site Specific
TMDL
Attainable

## Slide 21
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Santaquin Facility

## Slide 22
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Phosphorus
Recycling
Santaquin Facility

## Slide 23
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Air Deposition
Phosphorus
Recycling
Santaquin Facility

## Slide 24
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Storm Water
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Air Deposition
Phosphorus
Recycling
Santaquin Facility

## Slide 25
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Storm Water
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Air Deposition
Phosphorus
Recycling
Santaquin Facility

## Slide 26
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Storm Water
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Air Deposition
Phosphorus
Recycling
Santaquin Facility

## Slide 27
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Storm Water
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Air Deposition
Phosphorus
Recycling
Santaquin Facility

## Slide 28
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Storm Water
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Carp
Air Deposition
Phosphorus
Recycling
Santaquin Facility
Jordan River

## Slide 29
Timpanogos
Facility
Orem
Plant
Provo Facility
Springville
Facility
Spanish Fork
Facility
Payson Facility
Salem
Ponds
Storm Water
Agriculture
Groundwater
POTW
Run Off
http://www.mountainland.org/utahlaketrailplan
Carp
Air Deposition
Phosphorus
Recycling
Santaquin Facility
Jordan River

## Slide 30: Loop-the-Loop Question