STATE OF UTAH

DIVISION OF WATER QUALITY

DEPARTMENT OF ENVIRONMENTAL QUALITY

SALT LAKE CITY, UTAH

UTAH POLLUTANT DISCHARGE ELIMINATION SYSTEM (UPDES) PERMIT

Major Industrial Facility UPDES Permit No. **UT0022616**

In compliance with provisions of the Utah *Water Quality Act, Title 19, Chapter 5, Utah Code* (the *"Act"*),

**BRONCO UTAH OPERATIONS, LLC**

is hereby authorized to discharge from the

**EMERY UNDERGROUND MINE**

to receiving waters named **Quitchupah Creek and Christiansen Wash** (tributaries to the Colorado River),

in accordance with specific limitations, outfalls, and other conditions set forth herein.

This permit shall become effective on January 1, 2023

This permit expires at midnight on December 31, 2027.

Signed this XXth day of MONTH, 2022.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

John K. Mackey, P.E.

Director

DWQ-2022-028240

Table of Contents

Outline Page Number

[**I. DISCHARGE LIMITATIONS AND REPORTING REQUIREMENTS** 3](#_Toc101781703)

[A. Description of Discharge Points 3](#_Toc101781704)

[B. Narrative Standard 3](#_Toc101781705)

[C. Specific Limitations and Self-Monitoring Requirements 3](#_Toc101781706)

[D. Reporting of Wastewater Monitoring Results 10](#_Toc101781708)

[**II. INDUSTRIAL PRETREATMENT REQUIREMENTS** 12](#_Toc101781709)

[**III. STORM WATER REQUIREMENTS** 14](#_Toc101781710)

[**IV. MONITORING, RECORDING & GENERAL REPORTING REQUIREMENTS** 15](#_Toc101781711)

[A. Representative Sampling 15](#_Toc101781712)

[B. Monitoring Procedures 15](#_Toc101781713)

[C. Penalties for Tampering 15](#_Toc101781714)

[D. Compliance Schedules 15](#_Toc101781715)

[E. Additional Monitoring by the Permittee 15](#_Toc101781716)

[F. Records Contents 15](#_Toc101781717)

[G. Retention of Records 15](#_Toc101781718)

[H. Twenty-four Hour Notice of Noncompliance Reporting 16](#_Toc101781719)

[I. Other Noncompliance Reporting 17](#_Toc101781720)

[J. Inspection and Entry 17](#_Toc101781721)

[**V. COMPLIANCE RESPONSIBILITIES** 18](#_Toc101781722)

[A. Duty to Comply 18](#_Toc101781723)

[B. Penalties for Violations of Permit Conditions 18](#_Toc101781724)

[C. Need to Halt or Reduce Activity not a Defense 18](#_Toc101781725)

[D. Duty to Mitigate 18](#_Toc101781726)

[E. Proper Operation and Maintenance 18](#_Toc101781727)

[F. Removed Substances 18](#_Toc101781728)

[G. Bypass of Treatment Facilities 18](#_Toc101781729)

[H. Upset Conditions 20](#_Toc101781730)

[I. Toxic Pollutants 20](#_Toc101781731)

[J. Changes in Discharge of Toxic Substances 20](#_Toc101781732)

[**VI. GENERAL REQUIREMENTS** 22](#_Toc101781733)

[A. Planned Changes 22](#_Toc101781734)

[B. Anticipated Noncompliance 22](#_Toc101781735)

[C. Permit Actions 22](#_Toc101781736)

[D. Duty to Reapply 22](#_Toc101781737)

[E. Duty to Provide Information 22](#_Toc101781738)

[F. Other Information 22](#_Toc101781739)

[G. Signatory Requirements 22](#_Toc101781740)

[H. Penalties for Falsification of Reports 23](#_Toc101781741)

[I. Availability of Reports 23](#_Toc101781742)

[J. Oil and Hazardous Substance Liability 23](#_Toc101781743)

[K. Property Rights 24](#_Toc101781744)

[L. Severability 24](#_Toc101781745)

[M. Transfers 24](#_Toc101781746)

[N. State or Federal Laws 24](#_Toc101781747)

[O. Water Quality - Reopener Provision 24](#_Toc101781748)

[Q. Toxicity Limitation - Reopener Provision 25](#_Toc101781749)

[**VII. DEFINITIONS** 26](#_Toc101781750)

1. **DISCHARGE LIMITATIONS AND REPORTING REQUIREMENTS**
   1. Description of Discharge Points. The authorization to discharge provided under this permit is limited to those outfalls specifically designated below as discharge locations. Discharges at any location not authorized under a UPDES permit are violations of the *Act* and may be subject to penalties under the *Act*. Knowingly discharging from an unauthorized location or failing to report an unauthorized discharge may be subject to criminal penalties as provided under the *Act*.

Outfall Numbers Location of Discharge Outfalls

001 Discharge of mine water located at latitude 38° 51’ 38” and longitude 111° 16’ 09” from Sediment Pond #1 to Quitchupah Creek.

002 Discharge of storm water located at latitude 38° 51’ 34” and longitude 111° 15’ 24” from Sediment Pond #2 to Quitchupah Creek.

003 Discharge of mine water located at latitude 38° 52’ 33” and longitude 111° 16’ 53” from Sediment Pond #6 to Quitchupah Creek.

004 Discharge of mine water located at latitude 38° 52’ 17” and longitude 111° 17’ 41” from new Sediment Pond #4 to Quitchupah Creek.

005 Discharge of mine water located at latitude 38° 51’ 34” and longitude 111° 15’ 23” from Sediment Pond #3 to Quitchupah Creek.

006 Discharge of storm water located at latitude 38° 51’ 32” and longitude 111° 15’ 30” from Sediment Pond #8 to Quitchupah Creek.

007 Discharge of storm water located at latitude 38° 51’ 45” and longitude 111° 15’ 45” from Sediment Pond #5 to Quitchupah Creek.

008 Slurry pond emergency discharge located at latitude 38° 51’ 45” and longitude 111° 16’ 15” from Sediment Pond #7 to Quitchupah Creek.

009 Discharge of storm water located at latitude 38° 52’ 30” and longitude 111° 14’ 08” from Sediment Pond #9 to Christiansen Wash.

* 1. Narrative Standard. It shall be unlawful, and a violation of this permit, for the permittee to discharge or place any waste or other substance in such a way as will be or may become offensive such as unnatural deposits, floating debris, oil, scum, or other nuisances such as color, odor or taste, or cause conditions which produce undesirable aquatic life or which produce objectionable tastes in edible aquatic organisms; or result in concentrations or combinations of substances which produce undesirable physiological responses in desirable resident fish, or other desirable aquatic life, or undesirable human health effects, as determined by a bioassay or other tests performed in accordance with standard procedures.
  2. Specific Limitations and Self-Monitoring Requirements.
     1. Effective immediately and lasting the duration of this permit, there shall be no acute or chronic toxicity from the discharging Outfalls, as defined in *Part VII* and as determined by test procedures described in *Part I.C.* of this permit.
     2. Effective immediately and lasting the duration of this permit, the permittee is authorized to discharge from all Outfalls listed in this permit. Such discharges shall be limited and monitored by the permittee as specified below:

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Parameter | Effluent Limitations \*a | | | |
| Maximum Monthly Avg | Maximum Weekly Avg | Daily Minimum | Daily Maximum |
| Total Flow \*b | 3.0 | -- | -- | -- |
| TSS, mg/L | -- | -- | -- | 70 |
| Sulfate, mg/L | -- | -- | -- | 3,209 |
| TDS, mg/L \*g | -- | -- | -- | 4,766 |
| Oil & Grease, mg/L\*c | -- | -- | -- | 10.0 |
| pH, Standard Units | -- | -- | 6.5 | 9.0 |
| Total Iron, mg/L | -- | -- | -- | 1.4 |
| WET Chronic Biomonitoring \*d | -- | -- | -- | IC25> 57.6% effluent |
| Sanitary Waste \*c | -- | -- | -- | None |
| Turbidity \*e | -- | -- | -- | Report |

|  |  |  |  |
| --- | --- | --- | --- |
| Self-Monitoring and Reporting Requirements \*a | | | |
| Parameter | Frequency | Sample Type | Units |
| Total Flow \*b | Twice Monthly | Recorded | MGD |
| TSS | Twice Monthly | Grab | mg/L |
| pH | Twice Monthly | Grab | SU |
| Oil & Grease \*c | Twice Monthly | Visual | Yes/No |
| Oil & Grease \*c | When Sheen Observed | Grab | mg/L |
| TDS, mg/L \*g | Twice Monthly | Composite | mg/L |
| Sulfate, mg/L | Twice Monthly | Composite | mg/L |
| Sanitary Waste \*c | Twice Monthly | Visual | Yes/No |
| Turbidity \*e | Twice Monthly | Grab | NTU |
| WET – Biomonitoring \*d  Ceriodaphnia dubia - Chronic  Fathead Minnows - Chronic | Quarterly, Alternating Species each quarter when mine is discharging. | Composite | Pass/Fail |
| Total & Dissolved Metals \*f | Quarterly | Grab | mg/L |

\*a See Permit *Part VII*, for definition of terms. Effluent limits apply to all outfalls unless otherwise stated.

\*b Total Effluent Flow is limited to 3.0 MGD as a thirty-day average from all discharging outfalls combined. Flow measurements of effluent volume shall be made in such a manner that the permittee can affirmatively demonstrate that representative values are being obtained.

\*c A visual inspection for any oil and grease sheen, sanitary wastes, floating solids, and visible foam shall be performed at least twice per month at all Outfalls. There shall be no visible sheen, floating solids, or visible foam in other than trace amounts upon any discharges and there shall be no discharge of any sanitary wastes at any time. If a sheen is observed discharging from any Outfall, then a sample of the effluent shall be collected immediately thereafter and the oil and grease shall not exceed 10 mg/L in concentration.

\*d Chronic WET monitoring is required for mine water discharges from Outfalls 001, 003, 004 and 005 only. The chronic WET testing shall alternate the test species as detailed in the permit.

\*e Turbidity monitoring shall be conducted twice monthly from all discharging Outfalls and from the receiving water whenever possible.

\*f Starting on the effective date of this permit, the following total and dissolved metals shall be monitored quarterly for at least two years and until at least 10 sampling events are competed from all discharging outfalls; Arsenic, Cadmium, Chromium, Copper, Iron, Lead, Mercury, Nickel, Selenium, Silver and Zinc. The permittee is required to utilize the lowest detection limit possible using sufficiently sensitive standard test methods and certified laboratories. Once at least 10 sampling events have been completed, the permittee may request a permit modification based upon a subsequent reasonable potential analysis for a reduction in testing frequency and/or removal of any applicable metals parameters as appropriate. The permit issuing authority may approve or deny the request based on the results and other available information.

\*g Within two years from the effective date of this permit, the permittee shall complete and submit to the Director, a TDS loading evaluation and exemption demonstration report in accordance with the Colorado River Basin Salinity Control Forum NPDES Policies entitled, *“2020 Review, Water Quality Standards for Salinity, Colorado River System, Appendix B.”*

* + 1. Samples collected in compliance with the monitoring requirements specified above shall be collected at all Outfalls prior to mixing with any receiving water.
    2. Should any discharge or increase in the volume of a discharge caused by precipitation within any 24-hour period that is less than or equal to the 10-year, 24-hour precipitation event (or snowmelt of equivalent volume), may at Outfalls 002, 006, 007, 008 and 009 only, substitute the following Settleable Solids limitation for the TSS limitation contained in *Part* *I.C.2.* All other limitations not included below remain unchanged.

|  |  |  |
| --- | --- | --- |
| Parameter, Units | Alternative Effluent Limitations | |
| Daily Minimum | Daily Maximum |
| Settleable Solids (SS), milliliter/liter | -- | 0.5 |
| Total Suspended Solids (TSS), mg/L | -- | Report |

In order to substitute the above limitations, the sample collected during the storm event must be analyzed for all permitted parameters specified under *Part I.C.2*. Such analyses shall be conducted on either grab or composite samples.

* + 1. Should any discharge or increase in the volume of a discharge caused by precipitation within any 24-hour period that is greater than the 10-year, 24-hour precipitation event (or snowmelt of equivalent volume), may at Outfalls 002, 006, 007, 008 and 009 only, comply with the following effluent limitations only instead of the limitations contained in *Part* *I.C.2*:

|  |  |  |
| --- | --- | --- |
| Parameter, Units | Effluent Limitations | |
| Daily Minimum | Daily Maximum |
| pH, SU | 6.5 | 9.0 |

In order to substitute the above limitation, the sample collected during the storm event must be analyzed and reported for all permitted parameters specified under *Part I.C.2*. Such analyses shall be conducted on either grab or composite samples.

* + 1. The operator shall have the burden of proof that the increase in discharge was caused by the applicable precipitation event described in *Part I.C.4* and *I.C.5*. The alternate limitations in *Part I.C.4* and *I.C.5* shall not apply to the mine water discharges (i.e. Outfalls 001, 003, 004 & 005). The alternate limitations shall apply to Outfalls 002, 006, 007, 008 and 009 only.

For rainfall, to waive TSS or any other applicable limitations, the permittee must prove that the discharge occurred during the precipitation event, or within 48 hours after measurable precipitation has stopped. In addition, to waive settleable solids limitations, the permittee must prove that the discharge occurred during the precipitation event, or within 48 hours after precipitation greater than the 10-year, 24-hour event has stopped.

For snowmelt, to waive TSS or any other applicable any limitations, the permittee must prove that the discharge occurred during pond inflow from the snow melt event, or within 48 hours after pond inflow has stopped. In addition, to waive settleable solids limitations, the permittee must prove that the discharge occurred during pond inflow from the snow melt event, or within 48 hours after pond inflow volume greater than the 10-year, 24-hour event has stopped.

The permittee must submit documentation that the treatment facilities were properly operated and maintained prior to and during the storm event with any request for relief from primary limitations. The division shall determine the adequacy of proof. As part of this determination, the division shall evaluate whether the permittee could have controlled the discharge in such a manner that primary limitations could have been met, whether proper sediment storage levels were maintained and the ponds had sufficient water and sediment capacity for the storm event, plus other relevant factors. Any manual pond dewatering that is not part of a storm event discharge must meet all limitations of *Part I.C.2*.

All data and documentation required by the permittee which cannot be reported on applicable discharge monitoring report forms (DMRs) through NetDMR, shall be submitted separately to the Director. Submittal of documentation of containment, maintenance and precipitation records above does not exempt the permittee from the notification requirements of this permit.

* + 1. Whole Effluent Testing - Chronic Toxicity. Starting on the effective date of this permit, the permittee shall quarterly conduct chronic short-term toxicity tests on a composite sample of the final effluent. The sample shall be collected at discharging Outfalls 001, 003, 004 & 005 before mixing with the receiving water.

Three samples are required and samples shall be collected on Monday, Wednesday and Friday of each sampling period or collected on a two-day progression for each sampling period. This may be changed with Director approval. The chronic toxicity tests shall be conducted in general accordance with the procedures set out in the latest revision of *Short-Term Methods for Estimating the Chronic Toxicity of Effluents and Receiving Water to Freshwater Organisms, Fourth Edition*, October 2002, *EPA—821-R-02-013* as per *40 CFR 136.3(a)* TABLE IA-LIST OF APPROVED BIOLOGICAL METHODS. Alternating test species shall consist of *Ceriodaphnia dubia* and *Pimephales promelas* (fathead minnow).

A multi dilution test consisting of at least five concentrations and a control is required at two dilutions below and two above the RWC, if possible. If test acceptability criteria are not met for control survival, growth, or reproduction, the test shall be considered invalid. A valid replacement test is required within the specified sampling period to remain in compliance with this permit. Chronic toxicity occurs when, during a chronic toxicity test, the 25% inhibition concentration (IC25) calculated on the basis of test organism survival and growth or survival and reproduction is less than or equal to 57.6% effluent concentration. If a sample is found to be chronically toxic during a routine test, the monitoring frequency shall become biweekly (see Accelerated Testing below). A CO2 atmosphere may be used (in conjunction with an unmodified test) in order to account for pH drift. If possible, dilution water should be obtained from the receiving stream.

Quarterly test results shall be reported along with the Discharge Monitoring Report (DMR) submitted for the end of the required reporting period (e.g., biomonitoring results for the calendar quarter ending March 31 shall be reported with the DMR due April 28, with the remaining biomonitoring reports submitted with DMRs due each July 28, October 28, and January 28). Monthly test results shall be reported along with the DMR submitted for that month. The format for the report shall be consistent with Appendix C of “Utah Pollutant Discharge Elimination System (UPDES) Permitting and Enforcement Guidance Document for Whole Effluent Toxicity, Utah Division of Water Quality, February, 2018.

If the results for ten consecutive tests indicate no chronic toxicity, the permittee may submit a request to the Director to allow a reduction in chronic toxicity testing by alternating species, frequency, using only the most sensitive species, or potentially changing from chronic to acute testing. The permit issuing authority may approve or deny the request based on the results and other available information and without further public notice. If the request is approved, the test procedures are to be the same as specified above for the test species.

*Accelerated Testing*. When whole effluent toxicity is indicated during routine WET testing as specified in this permit, the permittee shall notify the Director in writing within 5 days after becoming aware of the test result. The permittee shall perform an accelerated schedule of WET testing to establish whether a pattern of toxicity exists unless the permittee notifies the Director and commences a PTI, TIE, or a TRE. Accelerated testing or the PTI, TIE, or TRE will begin within fourteen days after the permittee becomes aware of the test result. Accelerated testing shall be conducted as specified below *Pattern of Toxicity*. If the accelerated testing demonstrates no pattern of toxicity, routine monitoring shall be resumed.

*Pattern of Toxicity*. A pattern of toxicity is defined by the results of a series of up to five biomonitoring tests pursuant to the accelerated testing requirements using a full set of dilutions for acute (five plus the control) and five effluent dilutions for chronic (five plus the control), on the species found to be more sensitive, once every week for up to five consecutive weeks for acute and once every two weeks up to ten consecutive weeks for chronic.

If two (2) consecutive tests (not including the scheduled test which triggered the search for a pattern of toxicity) do not result in an exceedance of the acute or chronic toxicity criteria, no further accelerated testing will be required and no pattern of toxicity will be found to exist. The permittee will provide written verification to the Director within 5 days of determining no pattern of toxicity exists, and resume routine monitoring.

A pattern of toxicity may or may not be established based on the following:

WET tests should be run at least weekly (acute) or every two weeks (chronic) (note that only one test should be run at a time), for up to 5 tests, until either:

1) 2 consecutive tests fail, or 3 out of 5 tests fail, at which point a pattern of toxicity will have been identified, or

2) 2 consecutive tests pass, or 3 out of 5 tests pass, in which case no pattern of toxicity is identified.

*Preliminary Toxicity Investigation*.

* + - * 1. When a pattern of toxicity is detected the permittee will notify the Director in writing within 5 days and begin an evaluation of the possible causes of the toxicity. The permittee will have 15 working days from demonstration of the pattern of toxicity to complete an optional Preliminary Toxicity Investigation (PTI) and submit a written report of the results to the Director. The PTI may include, but is not limited to: additional chemical and biological monitoring, examination of pretreatment program records, examination of discharge monitoring reports, a thorough review of the testing protocol, evaluation of treatment processes and chemical use, inspection of material storage and transfer areas to determine if any spill may have occurred.
        2. If the PTI identifies a probable toxicant and/or a probable source of toxicity, the permittee shall submit, as part of its final results, written notification of that effect to the Director. Within thirty days of completing the PTI the permittee shall submit to the Director for approval a control program to control effluent toxicity and shall proceed to implement such plan in accordance with the Director’s approval. The control program, as submitted to or revised by the Director, will be incorporated into the permit. After final implementation, the permittee must demonstrate successful removal of toxicity by passing a two species WET test as outlined in this permit. With adequate justification, the Director may extend these deadlines.
        3. If no probable explanation for toxicity is identified in the PTI, the permittee shall notify the Director as part of its final report, along with a schedule for conducting a Phase I Toxicity Reduction Evaluation (TRE). See below *Toxicity Reduction Evaluation*.
        4. If toxicity spontaneously disappears during the PTI, the permittee shall submit written notification to that effect to the Director, with supporting testing evidence.

*Toxicity Reduction Evaluation (TRE)*. If a pattern of toxicity is detected the permittee shall initiate a TIE/TRE within 7 days unless the Director has accepted the decision to complete a PTI. With adequate justification, the Director may extend the 7-day deadline. The purpose of the TIE portion of a TRE will be to establish the cause of the toxicity, locate the source(s) of the toxicity, and the TRE will control or provide treatment for the toxicity.

A TRE may include but is not limited to one, all, or a combination of the following:

* + - * 1. Phase I – Toxicity Characterization
        2. Phase II – Toxicity Identification Procedures
        3. Phase III – Toxicity Control Procedures
        4. Any other appropriate procedures for toxicity source elimination and control.

If the TRE establishes that the toxicity cannot be immediately eliminated, the permittee shall submit a proposed compliance plan to the Director. The plan shall include the proposed approach to control toxicity and a proposed compliance schedule for achieving control. If the approach and schedule are acceptable to the Director, this permit may be reopened and modified.

If toxicity spontaneously disappears during the TIE/TRE, the permittee shall submit written notification to that effect to the Director.

If the TRE shows that the toxicity is caused by a toxicant(s) that may be controlled with specific numerical limitations, the permittee shall submit the following:

An alternative control program for compliance with the numerical requirements.

If necessary, as determined by the Director, provide a modified biomonitoring protocol which compensates for the pollutant(s) being controlled numerically.

This permit may be reopened and modified to incorporate any additional numerical limitations, a modified compliance schedule if judged necessary by the Director, and/or modified WET testing requirements without public notice.

Failure to conduct an adequate TIE/TRE plan or program as described above, or the submittal of a plan or program judged inadequate by the Director, shall be considered a violation of this permit. After implementation of TIE/TRE plan, the permittee must demonstrate successful removal of toxicity by passing a two species WET test as outlined in this permit.

* 1. Reporting of Wastewater Monitoring Results. Monitoring results obtained during the previous month shall be summarized for each month and reported by NetDMR, or on a Discharge Monitoring Report Form (EPA No. 3320-1)\* post-marked or entered into NetDMR no later than the 28th day of the month following the completed reporting period. If no discharge occurs during the reporting period, “no discharge” shall be reported. Legible copies of these, and all other reports including whole effluent toxicity (WET) test reports required herein, shall be signed and certified in accordance with the requirements of *Signatory Requirements (see Part VI.G*), and submitted by NetDMR, or to the Division of Water Quality at the following address:

Department of Environmental Quality

Division of Water Quality

PO Box 144870

Salt Lake City, Utah 84114-4870

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

\* Starting January 1, 2017 monitoring results must be submitted using NetDMR unless the permittee has successfully petitioned for an exception.

1. **INDUSTRIAL PRETREATMENT REQUIREMENTS**

**This section of the permit is only applicable if the permittee discharges wastewater to a publicly owned treatment works (POTW).**

* 1. Discharge to POTW. Any wastewaters discharged to the sanitary sewer, either as a direct discharge or as a hauled waste, are subject to Federal, State and local pretreatment regulations. Pursuant to Section 307 of The Water Quality Act of 1987, the permittee shall comply with all applicable federal General Pretreatment Regulations promulgated at 40 CFR 403, the State Pretreatment Requirements at UAC R317-8-8, and any specific local discharge limitations developed by the Publicly Owned Treatment Works (POTW) accepting the wastewaters. At a minimum, the discharge, into a POTW must met the requirements of Part II.C&D of the permit.
  2. Hazardous Waste Notification. The permittee must notify the POTW, the EPA Regional Waste Management Director, the Director and the State hazardous waste authorities in writing, if they discharge any substance into a POTW that, if otherwise disposed of, would be considered a hazardous waste under 40 CFR 261. This notification must include the name of the hazardous waste, the EPA hazardous waste number, and the type of discharge (continuous or batch).
  3. General and Specific Prohibitions.
     1. General Prohibitions. The permittee may not introduce into a POTW any pollutant(s) which cause Pass Through or Interference. These general prohibitions and the specific prohibitions in paragraph 2. of this section apply to the introducing pollutants into a POTW whether or not the permittee is subject to other National Pretreatment Standards or any national, State, or local Pretreatment Requirements.
     2. Specific Prohibitions. The following pollutants shall not be introduced into a POTW:
        1. Pollutants which create a fire or explosion hazard in the publicly owned treatment works (POTW), including, but not limited to, wastestreams with a closed cup flashpoint of less than 140˚F (60˚C);
        2. Pollutants, which will cause corrosive structural damage to the POTW, but in no case, discharges with a pH lower than 5.0;
        3. Solid or viscous pollutants in amounts which will cause obstruction to the flow in the POTW resulting in interference;
        4. Any pollutant, including oxygen demanding pollutants (BOD, etc.), released in a discharge at such volume or strength as to cause interference in the POTW;
        5. Heat in amounts, which will inhibit biological activity in the POTW, resulting in interference, but in no case, heat in such quantities that the influent to the sewage treatment works exceeds 104˚F (40˚C));
        6. Petroleum oil, nonbiodegradable cutting oil, or products of mineral oil origin in amounts that will cause interference or pass through;
        7. Pollutants, which result in the presence of toxic gases, vapor, or fumes within the POTW in a quantity that may cause worker health or safety problems;
        8. Any trucked or hauled pollutants, except at discharge points designated by the POTW;
        9. Any pollutant that causes pass through or interference at the POTW; or
        10. Any specific pollutant which exceeds any local limitation established by the POTW.
  4. Categorical Standards. In addition to the general and specific limitations expressed in *Part II. C.* of this section, applicable National Categorical Pretreatment Standards must be met by all industrial users discharging into a POTW. These standards are published in the federal regulations at *40 CFR 405 through 471*.

1. **STORM WATER REQUIREMENTS** 
   1. Industrial Storm Water Permit.  Based on the type of industrial activities at the facility, the permittee is required to maintain separate coverage or an appropriate exclusion under the UPDES Multi-Sector General Permit (MSGP) for Storm Water Discharges Associated with Industrial Activities (UTR000000). If the facility is not already covered, or obtained the appropriate exclusion, the permittee has 30 days from the effective date of this permit to submit the appropriate Notice of Intent (NOI) for the MSGP or exclusion documentation.
   2. Construction Storm Water Permit.  Any construction at the facility that is not part of active mining activities and disturbs an acre or more of land, including less than an acre if it is part of a common plan of development or sale, is required to obtain coverage under the UPDES Construction General Storm Water Permit (UTRC00000). Permit coverage must be obtained prior to land disturbance. If the site qualifies, a Low Erosivity Waiver (LEW) Certification may be submitted instead of permit coverage.
2. **MONITORING, RECORDING & GENERAL REPORTING REQUIREMENTS**
   1. Representative Sampling. Samples taken in compliance with the monitoring requirements established under *Part I* shall be collected from the effluent stream prior to discharge into the receiving waters. Samples and measurements shall be representative of the volume and nature of the monitored discharge.
   2. Monitoring Procedures. Monitoring must be conducted according to test procedures approved under *Utah Administrative Code ("UAC") R317-2-10 and 40CFR Part 503*, unless other test procedures have been specified in this permit.
   3. Penalties for Tampering. The *Act* provides that any person who falsifies, tampers with, or knowingly renders inaccurate, any monitoring device or method required to be maintained under this permit shall, upon conviction, be punished by a fine of not more than $10,000 per violation, or by imprisonment for not more than six months per violation, or by both.
   4. Compliance Schedules. Reports of compliance or noncompliance with, or any progress reports on, interim and final requirements contained in any Compliance Schedule of this permit shall be submitted no later than 14 days following each schedule date.
   5. Additional Monitoring by the Permittee. If the permittee monitors any parameter more frequently than required by this permit, using test procedures approved under *UAC* *R317-2-10* and *40 CFR 503* or as specified in this permit, the results of this monitoring shall be included in the calculation and reporting of the data submitted in the DMR. Such increased frequency shall also be indicated. Only those parameters required by the permit need to be reported.
   6. Records Contents. Records of monitoring information shall include:
      1. The date, exact place, and time of sampling or measurements:
      2. The individual(s) who performed the sampling or measurements;
      3. The date(s) and time(s) analyses were performed;
      4. The individual(s) who performed the analyses;
      5. The analytical techniques or methods used; and,
      6. The results of such analyses.
   7. Retention of Records. The permittee shall retain records of all monitoring information, including all calibration and maintenance records and all original strip chart recordings for continuous monitoring instrumentation, copies of all reports required by this permit, and records of all data used to complete the application for this permit, for a period of at least five years from the date of the sample, measurement, report or application. This period may be extended by request of the Director at any time. A copy of this UPDES permit must be maintained on site during the duration of activity at the permitted location
   8. Twenty-four Hour Notice of Noncompliance Reporting.
      1. The permittee shall (orally) report any noncompliance including transportation accidents, spills, and uncontrolled runoff from biosolids transfer or land application sites which may seriously endanger health or environment, as soon as possible, but no later than twenty-four (24) hours from the time the permittee first became aware of circumstances. The report shall be made to the Division of Water Quality (DWQ) via the 24-hour answering service (801) 536-4123.
      2. The following occurrences of noncompliance shall initially be reported by telephone to the DWQ via the 24-hour answering service (801) 536-4123 as soon as possible, but no later than 24 hours from the time the permittee becomes aware of the circumstances:
         1. Any noncompliance which may endanger health or the environment;
         2. Any unanticipated bypass, which exceeds any effluent limitation in the permit (See *Part V.G, Bypass of Treatment Facilities.)*;
         3. Any upset which exceeds any effluent limitation in the permit (See *Part V.H*, *Upset Conditions*.); or,
         4. Violation of a maximum daily discharge limitation for any of the pollutants listed in the permit. For other permit violations which will not endanger health or the environment, DWQ may otherwise be notified during business hours (801) 536-4300.
      3. A written submission shall also be provided within five days of the time that the permittee becomes aware of the circumstances (5-day report). The written submission shall contain:
         1. A description of the noncompliance and its cause;
         2. The period of noncompliance, including exact dates and times;
         3. The estimated time noncompliance is expected to continue if it has not been corrected;
         4. Steps taken or planned to reduce, eliminate, and prevent reoccurrence of the noncompliance; and,
         5. Steps taken, if any, to mitigate the adverse impacts on the environment and human health during the noncompliance period.
      4. The Director may waive the written report on a case-by-case basis if the oral report has been received within 24 hours by the Division of Water Quality, (801) 536-4300.
      5. Reports shall be submitted to the addresses in *Part I.E, Reporting of Monitoring Results*.
   9. Other Noncompliance Reporting. Instances of noncompliance not required to be reported within 24 hours shall be reported at the time that monitoring reports for *Part I.E* are submitted. The reports shall contain the information listed in *Part IV.H.*
   10. Inspection and Entry. The permittee shall allow the Director, or an authorized representative, upon the presentation of credentials and other documents as may be required by law, to:
       1. Enter upon the permittee's premises where a regulated facility or activity is located or conducted, or where records must be kept under the conditions of the permit;
       2. Have access to and copy, at reasonable times, any records that must be kept under the conditions of this permit;
       3. Inspect at reasonable times any facilities, equipment (including monitoring and control equipment), practices, or operations regulated or required under this permit, including but not limited to, biosolids treatment, collection, storage facilities or area, transport vehicles and containers, and land application sites;
       4. Sample or monitor at reasonable times, for the purpose of assuring permit compliance or as otherwise authorized by the *Act*, any substances or parameters at any location, including, but not limited to, digested biosolids before dewatering, dewatered biosolids, biosolids transfer or staging areas, any ground or surface waters at the land application sites or biosolids, soils, or vegetation on the land application sites; and,
       5. The permittee shall make the necessary arrangements with the landowner or leaseholder to obtain permission or clearance, the Director, or authorized representative, upon the presentation of credentials and other documents as may be required by law, will be permitted to enter without delay for the purposes of performing their responsibilities.
3. **COMPLIANCE RESPONSIBILITIES**
   1. Duty to Comply. The permittee must comply with all conditions of this permit. Any permit noncompliance constitutes a violation of the Act and is grounds for enforcement action; for permit termination, revocation and reissuance, or modification; or for denial of a permit renewal application. The permittee shall give advance notice to the Director of any planned changes in the permitted facility or activity, which may result in noncompliance with permit requirements.
   2. Penalties for Violations of Permit Conditions. The *Act* provides that any person who violates a permit condition implementing provisions of the *Act* is subject to a civil penalty not to exceed $10,000 per day of such violation. Any person who willfully or negligently violates permit conditions or the Act is subject to a fine not exceeding $25,000 per day of violation. Any person convicted under *UCA 19-5-115(2)* a second time shall be punished by a fine not exceeding $50,000 per day. Except as provided at *Part IV.G*, *Bypass of Treatment Facilities* and *Part IV.H*, *Upset Conditions*, nothing in this permit shall be construed to relieve the permittee of the civil or criminal penalties for noncompliance.
   3. Need to Halt or Reduce Activity not a Defense. It shall not be a defense for a permittee in an enforcement action that it would have been necessary to halt or reduce the permitted activity in order to maintain compliance with the conditions of this permit.
   4. Duty to Mitigate. The permittee shall take all reasonable steps to minimize or prevent any discharge in violation of this permit, which has a reasonable likelihood of adversely affecting human health or the environment. The permittee shall also take all reasonable steps to minimize or prevent any land application in violation of this permit.
   5. Proper Operation and Maintenance. The permittee shall at all times properly operate and maintain all facilities and systems of treatment and control (and related appurtenances) which are installed or used by the permittee to achieve compliance with the conditions of this permit. Proper operation and maintenance also includes adequate laboratory controls and quality assurance procedures. This provision requires the operation of back-up or auxiliary facilities or similar systems, which are installed by a permittee only when the operation is necessary to achieve compliance with the conditions of the permit.
   6. Removed Substances. Collected screening, grit, solids, sludge, or other pollutants removed in the course of treatment shall be disposed of in such a manner so as to prevent any pollutant from entering any waters of the state or creating a health hazard. Sludge/digester supernatant and filter backwash shall not directly enter either the final effluent or waters of the state by any other direct route.
   7. Bypass of Treatment Facilities.
      1. Bypass Not Exceeding Limitations. The permittee may allow any bypass to occur which does not cause effluent limitations to be exceeded, but only if it also is for essential maintenance to assure efficient operation. These bypasses are not subject to paragraph 2and 3 of this section.
      2. Prohibition of Bypass.
         1. Bypass is prohibited, and the Director may take enforcement action against a permittee for bypass, unless:
            1. Bypass was unavoidable to prevent loss of human life, personal injury, or severe property damage;
            2. There were no feasible alternatives to bypass, such as the use of auxiliary treatment facilities, retention of untreated wastes, or maintenance during normal periods of equipment downtime. This condition is not satisfied if adequate backup equipment should have been installed in the exercise of reasonable engineering judgement to prevent a bypass which occurred during normal periods of equipment downtime or preventive maintenance, and
            3. The permittee submitted notices as required under *Part V.G.3*.
         2. The Director may approve an anticipated bypass, after considering its adverse effects, if the Director determines that it will meet the three conditions listed in *Part V.G.2.a (1), (2) and (3)*.
      3. Notice.
         1. *Anticipated bypass*. Except as provided above in *Part V.G.2* and below in *Part V.G.3.b*, if the permittee knows in advance of the need for a bypass, it shall submit prior notice, at least ninety days before the date of bypass. The prior notice shall include the following unless otherwise waived by the Director:
            1. Evaluation of alternative to bypass, including cost-benefit analysis containing an assessment of anticipated resource damages:
            2. A specific bypass plan describing the work to be performed including scheduled dates and times. The permittee must notify the Director in advance of any changes to the bypass schedule;
            3. Description of specific measures to be taken to minimize environmental and public health impacts;
            4. A notification plan sufficient to alert all downstream users, the public and others reasonably expected to be impacted by the bypass;
            5. A water quality assessment plan to include sufficient monitoring of the receiving water before, during and following the bypass to enable evaluation of public health risks and environmental impacts; and,
            6. Any additional information requested by the Director.
         2. *Emergency Bypass*. Where ninety days advance notice is not possible, the permittee must notify the Director, and the Director of the Department of Natural Resources, as soon as it becomes aware of the need to bypass and provide to the Director the information in *Part V.G.3.a.(1) through (6)* to the extent practicable.
         3. *Unanticipated bypass*. The permittee shall submit notice of an unanticipated bypass to the Director as required under *Part IV.H*, Twenty-Four Hour Reporting. The permittee shall also immediately notify the Director of the Department of Natural Resources, the public and downstream users and shall implement measures to minimize impacts to public health and environment to the extent practicable.
   8. Upset Conditions.
      1. Effect of an upset. An upset constitutes an affirmative defense to an action brought for noncompliance with technology-based permit effluent limitations if the requirements of paragraph 2 of this section are met. Director's administrative determination regarding a claim of upset cannot be judiciously challenged by the permittee until such time as an action is initiated for noncompliance.
      2. Conditions necessary for a demonstration of upset. A permittee who wishes to establish the affirmative defense of upset shall demonstrate, through properly signed, contemporaneous operating logs, or other relevant evidence that:
         1. An upset occurred and that the permittee can identify the cause(s) of the upset;
         2. The permitted facility was at the time being properly operated;
         3. The permittee submitted notice of the upset as required under *Part V.H*, *Twenty-four Hour Notice of Noncompliance Reporting*; and,
         4. The permittee complied with any remedial measures required under *Part V.D*, *Duty to Mitigate*.
      3. Burden of proof. In any enforcement proceeding, the permittee seeking to establish the occurrence of an upset has the burden of proof.
   9. Toxic Pollutants. The permittee shall comply with effluent standards or prohibitions established under Section 307(a) of *The Water Quality Act of 1987* for toxic pollutants within the time provided in the regulations that establish those standards or prohibitions, even if the permit has not yet been modified to incorporate the requirement.
   10. Changes in Discharge of Toxic Substances. Notification shall be provided to the Executive Secretary as soon as the permittee knows of, or has reason to believe:
       1. That any activity has occurred or will occur which would result in the discharge, on a routine or frequent basis, of any toxic pollutant which is not limited in the permit, if that discharge will exceed the highest of the following "notification levels":
          1. One hundred micrograms per liter (100 ug/L);
          2. Two hundred micrograms per liter (200 ug/L) for acrolein and acrylonitrile; five hundred micrograms per liter (500 ug/L) for 2,4-dinitrophenol and for 2-methyl-4, 6-dinitrophenol; and one milligram per liter (1 mg/L) for antimony;
          3. Five (5) times the maximum concentration value reported for that pollutant in the permit application in accordance with *UAC R317-8-3.4(7)* or (10); or,
          4. The level established by the Executive Secretary in accordance with *UAC R317-8-4.2(6)*.
       2. That any activity has occurred or will occur which would result in any discharge, on a non-routine or infrequent basis, of a toxic pollutant which is not limited in the permit, if that discharge will exceed the highest of the following "notification levels":\
          1. Five hundred micrograms per liter (500 ug/L);
          2. One milligram per liter (1 mg/L) for antimony:
          3. Ten (10) times the maximum concentration value reported for that pollutant in the permit application in accordance with *UAC* *R317-8-3.4(9)*; or,
          4. The level established by the Executive Secretary in accordance with *UAC* *R317-8-4.2(6)*.
4. **GENERAL REQUIREMENTS**
   1. Planned Changes. The permittee shall give notice to the Director as soon as possible of any planned physical alterations or additions to the permitted facility. Notice is required only when the alteration or addition could significantly change the nature or increase the quantity of parameters discharged or pollutant sold or given away. This notification applies to pollutants, which are not subject to effluent limitations in the permit. In addition, if there are any planned substantial changes to the permittee's existing sludge facilities or their manner of operation or to current sludge management practices of storage and disposal, the permittee shall give notice to the Director of any planned changes at least 30 days prior to their implementation.
   2. Anticipated Noncompliance. The permittee shall give advance notice to the Director of any planned changes in the permitted facility or activity, which may result in noncompliance with permit requirements.
   3. Permit Actions. This permit may be modified, revoked and reissued, or terminated for cause. The filing of a request by the permittee for a permit modification, revocation and reissuance, or termination, or a notification of planned changes or anticipated noncompliance, does not stay any permit condition.
   4. Duty to Reapply. If the permittee wishes to continue an activity regulated by this permit after the expiration date of this permit, the permittee shall apply for and obtain a new permit. The application shall be submitted at least 180 days before the expiration date of this permit.
   5. Duty to Provide Information. The permittee shall furnish to the Director, within a reasonable time, any information which the Director may request to determine whether cause exists for modifying, revoking and reissuing, or terminating this permit, or to determine compliance with this permit. The permittee shall also furnish to the Director, upon request, copies of records required to be kept by this permit.
   6. Other Information. When the permittee becomes aware that it failed to submit any relevant facts in a permit application, or submitted incorrect information in a permit application or any report to the Director, it shall promptly submit such facts or information.
   7. Signatory Requirements. All applications, reports or information submitted to the Director shall be signed and certified.
      1. All permit applications shall be signed by either a principal executive officer or ranking elected official.
      2. All reports required by the permit and other information requested by the Director shall be signed by a person described above or by a duly authorized representative of that person. A person is a duly authorized representative only if:
         1. The authorization is made in writing by a person described above and submitted to the Director, and,
         2. The authorization specifies either an individual or a position having responsibility for the overall operation of the regulated facility, such as the position of plant manager, superintendent, position of equivalent responsibility, or an individual or position having overall responsibility for environmental matters. A duly authorized representative may thus be either a named individual or any individual occupying a named position.
      3. Changes to authorization. If an authorization under *Part VI.G.2* is no longer accurate because a different individual or position has responsibility for the overall operation of the facility, a new authorization satisfying the requirements of *Part VI.G.2.* must be submitted to the Director prior to or together with any reports, information, or applications to be signed by an authorized representative.
      4. Certification. Any person signing a document under this section shall make the following certification:

"I certify under penalty of law that this document and all attachments were prepared under my direction or supervision in accordance with a system designed to assure that qualified personnel properly gather and evaluate the information submitted. Based on my inquiry of the person or persons who manage the system, or those persons directly responsible for gathering the information, the information submitted is, to the best of my knowledge and belief, true, accurate, and complete. I am aware that there are significant penalties for submitting false information, including the possibility of fine and imprisonment for knowing violations."

* 1. Penalties for Falsification of Reports. The *Act* provides that any person who knowingly makes any false statement, representation, or certification in any record or other document submitted or required to be maintained under this permit, including monitoring reports or reports of compliance or noncompliance shall, upon conviction be punished by a fine of not more than $10,000.00 per violation, or by imprisonment for not more than six months per violation, or by both.
  2. Availability of Reports. Except for data determined to be confidential under *UAC R317-8-3.2*, all reports prepared in accordance with the terms of this permit shall be available for public inspection at the office of Director. As required by the *Act*, permit applications, permits and effluent data shall not be considered confidential.

* 1. Oil and Hazardous Substance Liability. Nothing in this permit shall be construed to preclude the permittee of any legal action or relieve the permittee from any responsibilities, liabilities, or penalties to which the permittee is or may be subject under the *Act*.
  2. Property Rights. The issuance of this permit does not convey any property rights of any sort, or any exclusive privileges, nor does it authorize any injury to private property or any invasion of personal rights, nor any infringement of federal, state or local laws or regulations.
  3. Severability. The provisions of this permit are severable, and if any provisions of this permit, or the application of any provision of this permit to any circumstance, is held invalid, the application of such provision to other circumstances, and the remainder of this permit, shall not be affected thereby.
  4. Transfers. This permit may be automatically transferred to a new permittee if:
     1. The current permittee notifies the Director at least 20 days in advance of the proposed transfer date;
     2. The notice includes a written agreement between the existing and new permittee’s containing a specific date for transfer of permit responsibility, coverage, and liability between them; and,
     3. The Director does not notify the existing permittee and the proposed new permittee of his or her intent to modify, or revoke and reissue the permit. If this notice is not received, the transfer is effective on the date specified in the agreement mentioned in paragraph *2* above.
  5. State or Federal Laws. Nothing in this permit shall be construed to preclude the institution of any legal action or relieve the permittee from any responsibilities, liabilities, or penalties established pursuant to any applicable state law or regulation under authority preserved by *UCA* *19-5-117* and *Section 510* of the *Act* or any applicable Federal or State transportation regulations, such as but not limited to the Department of Transportation regulations.
  6. Water Quality - Reopener Provision. This permit may be reopened and modified (following proper administrative procedures) to include the appropriate effluent limitations and compliance schedule, if necessary, if one or more of the following events occurs:
     1. Water Quality Standards for the receiving water(s) to which the permittee discharges are modified in such a manner as to require different effluent limits than contained in this permit.
     2. A final wasteload allocation is developed and approved by the State and/or EPA for incorporation in this permit.
     3. Revisions to the current CWA § 208 areawide treatment management plans or promulgations/revisions to TMDLs (40 CFR 130.7) approved by the EPA and adopted by DWQ which calls for different effluent limitations than contained in this permit.
  7. Toxicity Limitation - Reopener Provision. This permit may be reopened and modified (following proper administrative procedures) to include additional WET testing, a WET limitation, a compliance schedule, a compliance date, additional or modified numerical limitations, or any other conditions related to the control of toxicants if toxicity is detected during the life of this permit.

1. **DEFINITIONS**
   1. Wastewater.
      1. “7-day and weekly average” is the arithmetic average of all samples collected during a consecutive 7-day period or calendar week whichever is applicable. The 7-day and weekly averages are applicable only to those effluent characteristics for which there are 7-day average effluent limitations. The calendar week, beginning on Sunday and ending on Saturday, shall be used for purposes of reporting self- monitoring data on discharge monitoring report forms. Weekly averages shall be calculated for all calendar weeks with Saturdays in the month. If a calendar week overlaps two months (i.e., the Sunday is in one month and the Saturday in the following month), the weekly average calculated for that calendar week shall be included in the data for the month that contains the Saturday.
      2. “10-year, 24-hour precipitation event” means the maximum 24-hour precipitation event with a probable recurrence interval of once in 10 years. This information is available in *Weather Bureau Technical Paper No. 40*, May 1961 and *National Oceanographic and Atmospheric Administration Atlas 2,* 1973 for the 11 Western States, and may be obtained from the National Climatic Center of the Environmental Data Service, National Oceanic and Atmospheric Administration, U.S. Department of Commerce.
      3. “30-day and monthly average” is the arithmetic average of all samples collected during a consecutive 30-day period or calendar month, whichever is applicable. The calendar month shall be used for purposes of reporting self-monitoring data on discharge monitoring report forms.
      4. “Act,” means the *Utah Water Quality Act*.
      5. “Bypass,” means the diversion of waste streams from any portion of a treatment facility.
      6. “Chronic toxicity” occurs when the survival, growth, or reproduction for either test species exposed to a specific percent effluent dilution is significantly less (at the 95 percent confidence level) than the survival, growth, or reproduction of the control specimens. A five-dilution test will be used.
      7. “Coal pile runoff” means the rainfall runoff from or through any coal storage pile.
      8. “Composite Samples” shall be flow proportioned. The composite sample shall, as a minimum, contain at least four (4) samples collected over the compositing period. Unless otherwise specified, the time between the collection of the first sample and the last sample shall not be less than six (6) hours nor more than 24 hours. Acceptable methods for preparation of composite samples are as follows:
         1. Constant time interval between samples, sample volume proportional to flow rate at time of sampling;
         2. Constant time interval between samples, sample volume proportional to total flow (volume) since last sample. For the first sample, the flow rate at the time the sample was collected may be used;
         3. Constant sample volume, time interval between samples proportional to flow (i.e., sample taken every “X” gallons of flow); and,
         4. Continuous sample volume, with sample collection rate proportional to flow rate.
      9. “CWA,” means *The Federal Water Pollution Control Act*, as amended, by *The Clean Water Act of 1987*.
      10. “Daily Maximum” (Daily Max.) is the maximum value allowable in any single sample or instantaneous measurement.
      11. “EPA,” means the United States Environmental Protection Agency.
      12. “Director,” means Director of the Division of the Utah Division of Water Quality.
      13. A “grab” sample, for monitoring requirements, is defined as a single “dip and take” sample collected at a representative point in the discharge stream.
      14. An “instantaneous” measurement, for monitoring requirements, is defined as a single reading, observation, or measurement.
      15. “IC25” is the concentration of toxicant (given in % effluent) that would cause a 25% reduction in mean young per female or a 25% reduction in overall growth for the test population.
      16. “Severe Property Damage,” means substantial physical damage to property, damage to the treatment facilities which causes them to become inoperable, or substantial and permanent loss of natural resources which can reasonably be expected to occur in the absence of a bypass. Severe property damage does not mean economic loss caused by delays in production.
      17. “Storm water” means storm water runoff, snowmelt runoff, and surface runoff and drainage.
      18. “Upset,” means an exceptional incident in which there is unintentional and temporary noncompliance with technology-based permit effluent limitations because of factors beyond the reasonable control of the permittee. An upset does not include noncompliance to the extent caused by operational error, improperly designed treatment facilities, inadequate treatment facilities, lack of preventative maintenance, or careless or improper operation.
   2. Industrial Pretreatment Definitions. The following definitions shall apply only if the permittee discharges wastewater to a POTW:
      1. *Indirect Discharge* means the introduction of pollutants into a POTW from any non-domestic source regulated under section 307(b), (c), or (d) of the CWA.
      2. *Interference* means a discharge which, alone or in conjunction with a discharge or discharges from other sources, both:
         1. Inhibits or disrupts the POTW, its treatment processes or operations, or its sludge processes, use or disposal; and
         2. Therefore is a cause of a violation of any requirement of the POTW's UPDES permit (including an increase in the magnitude or duration of a violation) or of the prevention of sewage sludge use or disposal in compliance with the following statutory provisions and regulations or permits issued thereunder (or more stringent State or local regulations): Section 405 of the Clean Water Act, the Solid Waste Disposal Act (SWDA) including title II, more commonly referred to as the Resource Conservation and Recovery Act (RCRA), and including State regulations contained in any State sludge management plan prepared pursuant to subtitle D of SWDA, the Clean Air Act, the Toxic Substances Control Act, and the Marine Protection Act.
      3. *Pass Through means* a Discharge which exits the POTW into waters of the U.S. in quantities or concentrations which, alone or in conjunction with discharges from other sources, is a cause of a violation of any requirement of the POTW's NPDES permit, including an increase in the magnitude or duration of a violation.
      4. *Publicly Owned Treatment Works* or *POTW* means a treatment works as defined by section 212 of the CWA, which is owned by a State or municipality (as defined by section 502(4) of the CWA). This definition includes any devices and systems used in the storage, treatment, recycling and reclamation of municipal sewage or industrial wastes of a liquid nature. It also includes sewers, pipes and other conveyances only if they convey wastewater to a POTW Treatment Plant. The term also means the municipality as defined in section 502(4) of the CWA, which has jurisdiction over the Indirect Discharges to and the discharges from such a treatment works.
      5. *Significant industrial user (SIU)* is defined as an industrial user discharging to a POTW that satisfies any of the following:
         1. Has a process wastewater flow of 25,000 gallons or more per average work day;
         2. Has a flow greater than five percent of the flow carried by the municipal system receiving the waste;
         3. Is subject to Categorical Pretreatment Standards, or
         4. Has a reasonable potential for adversely affecting the POTW's operation or for violating any pretreatment standard or requirement.
      6. User or Industrial User (IU) means a source of Indirect Discharge.