## Sheet1
Project Name | Sample Number | Station ID | Sample Date | Sample Time | Sample Type | Cost Code | Agency Bill Code | Trip ID | Sample Description | Collector | Sample Received Date | Chain of Custody | Replicate Number | Test Number | Method Agency | Method ID | Method Description | Param Description | CAS Number | Matrix Description | Problem Identifier | Result Code | Result Value | Lower Report Limit | Method Detect Limit | Sample Detect Limit | Sample Report Limit | Units | Dilution Factor | Batch Number | Analysis Date | Project Comment | Sample Comment | Test Comment | Result Comment
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023863 | EPA | 160.1 | EPA 160.1 Total Dissolved Solids (TDS) | Total Dissolved Solids |  | Water |  |  | 352 | 10 | 8 | 8 | 10 | MG-L | 1 | EPA160.1-20160802-1 | 2016-08-01
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10024846 | EPA | 160.2 | EPA 160.2 Total Suspended Solids (TSS) | Total Suspended Solids |  | Water |  |  | 2020 | 4 | 1.691 | 1.691 | 4 | MG-L | 1 | EPA160.2-20160802-2 | 2016-08-01
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023865 | EPA | 120.1 | EPA 120.1 Specific Conductivity | Conductivity |  | Water |  |  | 553 | 2 | 0.083 | 0.083 | 2 | UMHOS-CM | 1 | EPA120.1-20160805-1 | 2016-08-05
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10024138 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Sr | 7440-24-6 | Water, Filtered |  |  | 1030 | 1 | 0.099 | 0.099 | 1 | UG-L | 1 | EPA200.8-20160916-1 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10024172 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Sr | 7440-24-6 | Water, Filtered | < | J | 1 | 1 | 0.099 | 0.099 | 1 | UG-L | 1 | EPA200.8-20160916-1 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10028017 | EPA | 200.7 | EPA Method 200.7 ICP/OES Metals | Ca | 7440-70-2 | Water, Filtered | < | U | 1 | 1 | 0.04 | 0.04 | 1 | MG-L | 1 | EPA200.7-20160818-3 | 2016-08-18
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10028017 | EPA | 200.7 | EPA Method 200.7 ICP/OES Metals | Fe | 7439-89-6 | Water, Filtered | < | U | 20 | 20 | 1.62 | 1.62 | 20 | UG-L | 1 | EPA200.7-20160818-3 | 2016-08-18
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10028017 | EPA | 200.7 | EPA Method 200.7 ICP/OES Metals | K | 2023695 | Water, Filtered | < | J | 1 | 1 | 0.03 | 0.03 | 1 | MG-L | 1 | EPA200.7-20160818-3 | 2016-08-18
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10028017 | EPA | 200.7 | EPA Method 200.7 ICP/OES Metals | Mg | 7439-95-4 | Water, Filtered | < | U | 1 | 1 | 0.07 | 0.07 | 1 | MG-L | 1 | EPA200.7-20160818-3 | 2016-08-18
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10028017 | EPA | 200.7 | EPA Method 200.7 ICP/OES Metals | Na | 7440-23-5 | Water, Filtered | < | U | 1 | 1 | 0.08 | 0.08 | 1 | MG-L | 1 | EPA200.7-20160818-3 | 2016-08-18
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023866 | EPA | 375.2 | EPA Method 375.2 Sulfate | Sulfate | 14808-79-8 | Water |  |  | 141 | 20 | 4.338 | 4.338 | 20 | MG-L | 1 | EPA375.2-20160809-2 | 2016-08-08
C2016-01579 | 2010518 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10024183 | EPA | 353.2 | EPA Method 353.2 Nitrate + Nitrite | Nitrate + Nitrite as Nitrogen |  | Water, Non-filtered |  |  | 0.187 | 0.1 | 0.013 | 0.013 | 0.1 | MG-L | 1 | NO32-20160812-1 | 2016-08-11
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10030077 | EPA | 245.1 | EPA Method 245.1 CVAA Mercury Data | Hg | 7439-97-6 | Water, Filtered | < | U | 0.2 | 0.2 | 0.059 | 0.059 | 0.2 | UG-L | 1 | EPA245.1-20160812-6 | 2016-08-11
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10030078 | EPA | 245.1 | EPA Method 245.1 CVAA Mercury Data | Hg | 7439-97-6 | Water, Filtered | < | U | 0.2 | 0.2 | 0.059 | 0.059 | 0.2 | UG-L | 1 | EPA245.1-20160812-6 | 2016-08-11
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023867 | EPA | 325.2 | EPA Method 325.2 Chloride | Chloride | 16887-00-6 | Water |  |  | 13.7 | 3.5 | 0.704 | 0.704 | 3.5 | MG-L | 1 | EPA325.2-20160815-1 | 2016-08-15
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 1 | 10028017 | EPA | 200.7 | EPA Method 200.7 ICP/OES Metals | B | 7440-42-8 | Water, Filtered | < | J | 30 | 30 | 1.22 | 1.22 | 30 | UG-L | 1 | EPA200.7-20160818-3 | 2016-08-18
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10047449 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data Minerals Fe and B only (from instrument) | Na | 7440-23-5 | Water, Filtered |  |  | 38.6 | 1 | 0.08 | 0.08 | 1 | MG-L | 1 | EPA200.8_M-20160916-1 | 2016-09-15
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10047449 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data Minerals Fe and B only (from instrument) | Mg | 7439-95-4 | Water, Filtered |  |  | 12.9 | 1 | 0.07 | 0.07 | 1 | MG-L | 1 | EPA200.8_M-20160916-1 | 2016-09-15
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10047449 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data Minerals Fe and B only (from instrument) | K | 2023695 | Water, Filtered |  |  | 3.64 | 1 | 0.03 | 0.03 | 1 | MG-L | 1 | EPA200.8_M-20160916-1 | 2016-09-15
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10047449 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data Minerals Fe and B only (from instrument) | Ca | 7440-70-2 | Water, Filtered |  |  | 60.2 | 1 | 0.04 | 0.04 | 1 | MG-L | 1 | EPA200.8_M-20160916-1 | 2016-09-15
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Be | 7440-41-7 | Water, Filtered | < | U | 1 | 1 | 0.217 | 0.217 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Al | 7429-90-5 | Water, Filtered | < | U | 10 | 10 | 2.86 | 2.86 | 10 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | V | 7440-62-2 | Water, Filtered | < | U | 30 | 30 | 0.473 | 0.473 | 30 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Cr | 7440-47-3 | Water, Filtered | < | U | 2 | 2 | 0.239 | 0.239 | 2 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Mn | 7439-96-5 | Water, Filtered | < | U | 5 | 5 | 0.158 | 0.158 | 5 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Co | 7440-48-4 | Water, Filtered | < | U | 30 | 30 | 0.138 | 0.138 | 30 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Ni | 7440-02-0 | Water, Filtered | < | U | 5 | 5 | 0.282 | 0.282 | 5 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Cu | 7440-50-8 | Water, Filtered | < | U | 1 | 1 | 0.187 | 0.187 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Zn | 7440-66-6 | Water, Filtered | < | J | 10 | 10 | 1.894 | 1.894 | 10 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | As | 7440-38-2 | Water, Filtered | < | U | 1 | 1 | 0.29 | 0.29 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Se | 7782-49-2 | Water, Filtered | < | U | 1 | 1 | 0.22 | 0.22 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Mo | 7439-98-7 | Water, Filtered | < | U | 1 | 1 | 0.095 | 0.095 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Ag | 7440-22-4 | Water, Filtered | < | U | 0.5 | 0.5 | 0.092 | 0.092 | 0.5 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Cd | 7440-43-9 | Water, Filtered | < | U | 0.1 | 0.1 | 0.023 | 0.023 | 0.1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Sb | 7440-36-0 | Water, Filtered | < | U | 3 | 3 | 0.145 | 0.145 | 3 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Ba | 7440-39-3 | Water, Filtered | < | J | 100 | 100 | 0.146 | 0.146 | 100 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Tl | 7440-28-0 | Water, Filtered | < | J | 0.1 | 0.1 | 0.029 | 0.029 | 0.1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01578 | 2010514 | 4953852 | 2016-07-25 | 19:00 | 4 | 304 | 1 | GKM072516 |  | AH | 2016-08-01 | F | 2 | 10047565 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Pb | 7439-92-1 | Water, Filtered | < | U | 0.1 | 0.1 | 0.025 | 0.025 | 0.1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Be | 7440-41-7 | Water, Filtered | < | U | 1 | 1 | 0.217 | 0.217 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Al | 7429-90-5 | Water, Filtered | < | J | 10 | 10 | 2.86 | 2.86 | 10 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | V | 7440-62-2 | Water, Filtered | < | J | 30 | 30 | 0.473 | 0.473 | 30 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Cr | 7440-47-3 | Water, Filtered | < | U | 2 | 2 | 0.239 | 0.239 | 2 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Mn | 7439-96-5 | Water, Filtered | < | J | 5 | 5 | 0.158 | 0.158 | 5 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Co | 7440-48-4 | Water, Filtered | < | U | 30 | 30 | 0.138 | 0.138 | 30 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Ni | 7440-02-0 | Water, Filtered | < | J | 5 | 5 | 0.282 | 0.282 | 5 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Cu | 7440-50-8 | Water, Filtered |  |  | 1.39 | 1 | 0.187 | 0.187 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Zn | 7440-66-6 | Water, Filtered | < | J | 10 | 10 | 1.894 | 1.894 | 10 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | As | 7440-38-2 | Water, Filtered |  |  | 1.32 | 1 | 0.29 | 0.29 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Se | 7782-49-2 | Water, Filtered | < | J | 1 | 1 | 0.22 | 0.22 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Mo | 7439-98-7 | Water, Filtered |  |  | 1.95 | 1 | 0.095 | 0.095 | 1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Ag | 7440-22-4 | Water, Filtered | < | U | 0.5 | 0.5 | 0.092 | 0.092 | 0.5 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Cd | 7440-43-9 | Water, Filtered | < | U | 0.1 | 0.1 | 0.023 | 0.023 | 0.1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Sb | 7440-36-0 | Water, Filtered | < | J | 3 | 3 | 0.145 | 0.145 | 3 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Ba | 7440-39-3 | Water, Filtered |  |  | 115 | 100 | 0.146 | 0.146 | 100 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Tl | 7440-28-0 | Water, Filtered | < | U | 0.1 | 0.1 | 0.029 | 0.029 | 0.1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047566 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data (from instrument) | Pb | 7439-92-1 | Water, Filtered | < | U | 0.1 | 0.1 | 0.025 | 0.025 | 0.1 | UG-L | 1 | EPA200.8-20160916-2 | 2016-09-16
C2016-01577 | 2010505 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 2 | 10047628 | EPA | 200.8 | EPA Method 200.8 ICP/MS Metals Data Minerals Fe and B only (from instrument) | Fe | 7439-89-6 | Water, Filtered | < | U | 20 | 20 | 1.62 | 1.62 | 20 | UG-L | 1 | EPA200.8_M-20160916-2 | 2016-09-16
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | pH |  | Water |  |  | 7.108 |  |  |  |  | NONE | 1 | SM2320B-20160805-1 | 2016-08-04
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | Alkalinity as Calcium Carbonate |  | Water |  |  | 116 | 4 | 0.117 | 0.117 | 4 | MG-L | 1 | SM2320B-20160805-1 | 2016-08-04
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | Alkalinity as Carbonate |  | Water |  |  | 69.4 |  |  |  |  | MG-L | 1 | SM2320B-20160805-1 | 2016-08-04
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | Bicarbonate | 71-52-3 | Water |  |  | 141 |  |  |  |  | MG-L | 1 | SM2320B-20160805-1 | 2016-08-04
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | Carbonate | 3812-32-6 | Water |  |  | 0 |  |  |  |  | MG-L | 1 | SM2320B-20160805-1 | 2016-08-04
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | Hydroxide |  | Water |  |  | 0 |  |  |  |  | MG-L | 1 | SM2320B-20160805-1 | 2016-08-04
C2016-01556 | 2010381 |  | 2016-07-25 | 11:30 |  | 304 | 1 | GKM072516 | SAN JUAN RIVER AT MEXICAN HAT INTEGRATED SAMPLE | AH | 2016-08-01 | F | 1 | 10023862 | SM | 2320B | SM 2320 B - Alkalinity, bicarbonate, carbonate, pH | Free Carbon Dioxide | 124-38-9 | Water |  |  | 18 |  |  |  |  | MG-L | 1 | SM2320B-20160805-1 | 2016-08-04